## tres rios july 2017_.xls
OPEN 6.1.4
Fri Jul 21 2017 07:01:34
Unit= | PSC-3149
LightSource= | Sun+Sky | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark= | a lovely if humid am
Obs | HHMMSS | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 07:25:13 | boardwalk | 0 | 400 | typ | 0 | 1434.5 | 0 | 5.7705 | 0.21068 | 320.6233 | 8.3249 | 3.8987 | 38.912 | 5 | 1.6396 | 1 | 3.2791 | 35.6028 | 38.912 | 35.6422 | 399.5954 | 390.5779 | 23.6022 | 31.6595 | 39.508 | 52.9952 | 500.2511 | 290.2691 | 496.8264 | 97.751 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0005 | 0.0083249 | 312.062 | 308.7528 | 55.1511 | -3.6421 | 6.9934 | 71.5433 | 39.8838 | 37.2574 | 6.394 | 0.19796 | 3.0947 | 3.2992 | 0.12481 | 31.3412 | 0.82089 | 44.7676 | 388.2022 | 0.0066545
2 | 07:26:48 | boardwalk | 0 | 350 | typ | 0 | 1543 | 0 | 6.7396 | 0.18855 | 306.3537 | 7.5621 | 3.9332 | 38.8904 | 5 | 1.6396 | 1 | 3.2791 | 35.4693 | 38.8904 | 35.5196 | 399.4798 | 389.7978 | 23.9001 | 31.2222 | 40.3036 | 52.651 | 500.2683 | 267.1608 | 414.8204 | 97.7541 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0005 | 0.0075621 | 312.0404 | 308.6193 | 50.7606 | -3.3563 | 6.9853 | 71.458 | 40.2358 | 37.1799 | 6.367 | 0.17829 | 3.0521 | 3.3149 | 0.11231 | 29.9473 | 0.78593 | 43.873 | 387.0231 | 0.00764
3 | 07:31:00 | boardwalk | 0 | 300 | typ | 0 | 1794 | 0 | -0.41789 | 0.14138 | 377.7975 | 5.4482 | 3.7383 | 37.9287 | 5 | 1.6396 | 1 | 3.2791 | 34.9941 | 37.9287 | 35.0698 | 399.4312 | 397.6834 | 24.3109 | 29.595 | 42.0909 | 51.2394 | 500.2737 | 230.5516 | 496.6314 | 97.7617 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0005 | 0.0054482 | 311.0787 | 308.1441 | 43.8048 | -2.4062 | 6.6316 | 67.8342 | 38.2392 | 36.4614 | 6.1219 | 0.13554 | 2.8933 | 3.2286 | 0.085216 | 36.9341 | 0.95 | 43.191 | 397.8554 | -0.00045365
4 | 07:32:45 | boardwalk | 0 | 400 | typ | 0 | 1901 | 0 | 9.9146 | 0.23173 | 295.7884 | 8.5013 | 3.6213 | 37.9848 | 4 | 1.8591 | 1 | 3.7183 | 34.8949 | 37.9848 | 34.9589 | 399.6399 | 389.0684 | 24.4121 | 30.9984 | 42.4995 | 53.9657 | 500.2964 | 270.7849 | 386.468 | 97.7626 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2507 | 0.0085013 | 311.1348 | 308.0449 | 51.4491 | -3.3441 | 6.6518 | 68.0403 | 37.0419 | 36.4399 | 6.1147 | 0.21814 | 3.0305 | 3.0842 | 0.1375 | 28.9171 | 0.76025 | 46.0828 | 385.4687 | 0.011853
5 | 07:34:14 | boardwalk | 0 | 350 | typ | 0 | 1991 | 0 | 9.5282 | 0.25727 | 304.6175 | 8.8824 | 3.443 | 37.8236 | 4.5 | 1.7493 | 1 | 3.4987 | 34.8056 | 37.8236 | 34.8378 | 399.6091 | 387.9392 | 24.498 | 32.23 | 42.8613 | 56.3891 | 500.2906 | 298.2165 | 672.9876 | 97.764 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1118 | 0.0088824 | 310.9736 | 307.9556 | 56.6611 | -3.6316 | 6.5939 | 67.4471 | 35.2171 | 36.3146 | 6.0728 | 0.23965 | 3.1509 | 2.9219 | 0.15127 | 29.7806 | 0.78522 | 48.8109 | 384.2626 | 0.012103
6 | 07:36:23 | boardwalk | 0 | 300 | typ | 0 | 2115 | 0 | 2.1405 | 0.25122 | 357.4145 | 8.8382 | 3.5016 | 37.9982 | 4.5 | 1.7493 | 1 | 3.4987 | 34.7837 | 37.9982 | 34.8507 | 399.4048 | 394.3445 | 24.5778 | 32.2712 | 43.0544 | 56.5313 | 500.2772 | 231.5965 | 431.4129 | 97.7668 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1117 | 0.0088382 | 311.1482 | 307.9337 | 44.0033 | -3.7595 | 6.6566 | 68.0866 | 35.8154 | 36.3909 | 6.0983 | 0.23439 | 3.1551 | 2.9432 | 0.14792 | 34.9433 | 0.90635 | 48.3285 | 393.5186 | 0.0026287
7 | 07:38:19 | boardwalk | 0 | 0 | hyd | 0 | 2230.5 | 0 | 4.809 | 0.28993 | 341.003 | 9.0119 | 3.1772 | 37.8655 | 6 | 1.42 | 1 | 2.84 | 34.7679 | 37.8655 | 34.8658 | 399.5958 | 389.6178 | 24.6719 | 35.1001 | 43.2578 | 61.5418 | 500.3129 | 191.2897 | 254.7948 | 97.7686 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83385 | 0.0090119 | 311.0155 | 307.9179 | 36.345 | -4.6612 | 6.6089 | 67.5974 | 32.4973 | 36.3167 | 6.0735 | 0.26307 | 3.4317 | 2.6418 | 0.16664 | 33.3394 | 0.87522 | 54.0173 | 387.3318 | 0.0067066
8 | 07:39:54 | boardwalk | 0 | 0 | hyd | 0 | 2333.5 | 0 | 3.2754 | 0.27707 | 350.6921 | 8.7701 | 3.222 | 37.9426 | 6 | 1.42 | 1 | 2.84 | 34.7317 | 37.9426 | 34.8385 | 399.5981 | 391.5515 | 24.7743 | 34.925 | 43.5252 | 61.3588 | 500.2846 | 130.5183 | 255.7585 | 97.77 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83381 | 0.0087701 | 311.0926 | 307.8817 | 24.7985 | -4.6879 | 6.6366 | 67.8798 | 32.9548 | 36.3372 | 6.0803 | 0.25244 | 3.4146 | 2.6657 | 0.15982 | 34.2871 | 0.89565 | 53.3698 | 389.9945 | 0.0044823
9 | 07:41:03 | boardwalk | 0 | 0 | hyd | 0 | 2404.5 | 0 | 4.5879 | 0.16169 | 322.3264 | 5.8056 | 3.5263 | 37.8817 | 6 | 1.42 | 1 | 2.84 | 34.699 | 37.8817 | 34.8057 | 399.6701 | 391.4422 | 24.8452 | 31.5881 | 43.7294 | 55.5973 | 500.281 | 189.0225 | 289.2456 | 97.7705 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.8338 | 0.0058056 | 311.0317 | 307.849 | 35.9143 | -3.0336 | 6.6147 | 67.6557 | 36.0676 | 36.2904 | 6.0647 | 0.15298 | 3.0884 | 2.9764 | 0.096357 | 31.514 | 0.82343 | 46.9276 | 389.2614 | 0.0055309
10 | 07:42:53 | boardwalk | 0 | 0 | hyd | 0 | 2514.5 | 0 | 2.6511 | 0.26279 | 354.2054 | 8.4914 | 3.2737 | 38.0489 | 6 | 1.42 | 1 | 2.84 | 34.6817 | 38.0489 | 34.7674 | 399.6329 | 392.4565 | 24.9576 | 34.7874 | 43.9698 | 61.2877 | 500.2766 | 157.5156 | 236.4969 | 97.771 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83379 | 0.0084914 | 311.1989 | 307.8317 | 29.928 | -4.5079 | 6.6749 | 68.2712 | 33.4838 | 36.3653 | 6.0897 | 0.24053 | 3.4012 | 2.6885 | 0.15218 | 34.631 | 0.90253 | 52.6697 | 391.1963 | 0.0035694
11 | 07:47:51 | boardwalk | 0 | 300 | sac | 0 | 2799.5 | 0 | 2.7232 | 0.29912 | 355.634 | 11.6166 | 3.8519 | 38.5633 | 2.5 | 2.1885 | 1 | 4.377 | 35.0494 | 38.5633 | 35.0853 | 399.4222 | 395.7639 | 25.1717 | 30.7982 | 43.4544 | 53.1675 | 500.2604 | 211.4173 | 268.4015 | 97.7761 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.001 | 0.011617 | 311.7133 | 308.1994 | 40.1693 | -4.1199 | 6.8632 | 70.1933 | 39.3951 | 36.8064 | 6.2386 | 0.27998 | 3.0113 | 3.2272 | 0.17661 | 34.7725 | 0.8986 | 44.6726 | 394.9239 | 0.0030803
12 | 07:49:41 | boardwalk | 0 | 250 | sac | 0 | 2894 | 0 | 3.1413 | 0.26468 | 350.0595 | 10.5457 | 3.9306 | 38.9191 | 3 | 2.0787 | 1 | 4.1574 | 35.2156 | 38.9191 | 35.2511 | 399.5146 | 395.1318 | 25.2268 | 31.353 | 43.1508 | 53.6297 | 500.2336 | 250.6994 | 304.9731 | 97.7756 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6674 | 0.010546 | 312.0691 | 308.3656 | 47.6329 | -3.8776 | 6.9961 | 71.5529 | 40.1999 | 37.0674 | 6.3281 | 0.24883 | 3.0656 | 3.2625 | 0.15687 | 34.2273 | 0.88593 | 44.3155 | 394.1117 | 0.0035321
13 | 07:51:06 | boardwalk | 0 | 200 | sac | 0 | 3002 | 0 | 4.1872 | 0.24685 | 340.752 | 10.0833 | 4.0124 | 39.0903 | 3 | 2.0787 | 1 | 4.1574 | 35.3455 | 39.0903 | 35.392 | 399.4185 | 394.5217 | 25.3195 | 31.178 | 42.9997 | 52.9491 | 500.2379 | 245.2896 | 354.3194 | 97.776 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.010083 | 312.2403 | 308.4955 | 46.605 | -3.7204 | 7.0609 | 72.2147 | 41.0367 | 37.2179 | 6.3803 | 0.23301 | 3.0485 | 3.3318 | 0.14681 | 33.3174 | 0.86371 | 43.4347 | 393.1621 | 0.0046258
14 | 07:52:09 | boardwalk | 0 | 150 | sac | 0 | 3065 | 0 | 0.36515 | 0.13334 | 365.746 | 5.7367 | 4.1355 | 39.0668 | 4 | 1.8591 | 1 | 3.7183 | 35.3442 | 39.0668 | 35.3958 | 399.4482 | 397.3337 | 25.3781 | 29.8282 | 43.1019 | 50.6598 | 500.2745 | 210.7253 | 269.285 | 97.7752 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2507 | 0.0057367 | 312.2168 | 308.4942 | 40.0378 | -2.4008 | 7.0519 | 72.1238 | 42.2957 | 37.2055 | 6.3759 | 0.12872 | 2.9165 | 3.4595 | 0.080852 | 35.7609 | 0.9205 | 40.3461 | 397.2012 | 0.00037091
15 | 07:53:59 | boardwalk | 0 | 300 | sac | 0 | 3169 | 0 | -2.3185 | 0.29674 | 384.0495 | 12.3626 | 4.1142 | 39.1087 | 2 | 2.2983 | 1 | 4.5965 | 35.4038 | 39.1087 | 35.4273 | 399.4189 | 398.3769 | 25.415 | 30.2083 | 43.0226 | 51.1366 | 500.2502 | 226.2353 | 282.5392 | 97.7748 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5013 | 0.012363 | 312.2587 | 308.5538 | 42.9847 | -4.1901 | 7.0679 | 72.287 | 42.0788 | 37.2563 | 6.3936 | 0.27874 | 2.9536 | 3.44 | 0.17574 | 37.5504 | 0.96404 | 42.3657 | 399.0578 | -0.0024614
16 | 07:55:38 | boardwalk | 0 | 250 | sac | 0 | 3275 | 0 | 1.5773 | 0.26081 | 359.8093 | 10.6124 | 4.0075 | 39.201 | 3 | 2.0787 | 1 | 4.1574 | 35.3979 | 39.201 | 35.4171 | 399.3935 | 395.9278 | 25.4971 | 31.66 | 43.1752 | 53.611 | 500.2441 | 228.5081 | 399.9791 | 97.7737 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.010612 | 312.351 | 308.5479 | 43.4165 | -3.9477 | 7.103 | 72.6474 | 40.9874 | 37.2995 | 6.4087 | 0.24542 | 3.0955 | 3.3132 | 0.1547 | 35.1799 | 0.90878 | 43.9897 | 395.4156 | 0.0017548
17 | 07:56:52 | boardwalk | 0 | 200 | sac | 0 | 3352 | 0 | 2.1193 | 0.21847 | 353.8132 | 8.6781 | 3.8974 | 39.0713 | 4 | 1.8591 | 1 | 3.7183 | 35.4261 | 39.0713 | 35.438 | 399.5481 | 395.1121 | 25.5668 | 32.2814 | 43.2261 | 54.5785 | 500.2794 | 564.3256 | 397.259 | 97.7745 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2507 | 0.0086781 | 312.2213 | 308.5761 | 107.2219 | -2.9672 | 7.0537 | 72.1421 | 39.8608 | 37.2487 | 6.391 | 0.20634 | 3.1563 | 3.2347 | 0.13 | 34.5939 | 0.89548 | 44.9383 | 394.3426 | 0.0024151
18 | 07:58:42 | boardwalk | 0 | 250 | scal | 0 | 3461.5 | 0 | 8.1774 | 0.20632 | 303.0345 | 9.2774 | 4.3572 | 39.4968 | 2 | 2.2983 | 1 | 4.5965 | 35.5604 | 39.4968 | 35.5097 | 399.6953 | 394.9613 | 25.6444 | 29.2448 | 43.0379 | 49.0802 | 500.2876 | 279.1812 | 330.8392 | 97.7755 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5014 | 0.0092774 | 312.6468 | 308.7104 | 53.0444 | -3.0994 | 7.2166 | 73.8083 | 44.5636 | 37.5286 | 6.4891 | 0.19746 | 2.8594 | 3.6296 | 0.12418 | 29.6294 | 0.76725 | 39.0771 | 392.5596 | 0.0081401
19 | 07:59:30 | boardwalk | 0 | 200 | scal | 0 | 3514 | 0 | 2.2724 | 0.126 | 339.4976 | 5.7706 | 4.3761 | 39.5129 | 3 | 2.0787 | 1 | 4.1574 | 35.6731 | 39.5129 | 35.6316 | 399.5143 | 396.7784 | 25.7553 | 29.1152 | 42.9566 | 48.5605 | 500.2495 | 603.3682 | 888.2715 | 97.7766 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.0057706 | 312.6629 | 308.8231 | 114.64 | -1.5789 | 7.2229 | 73.8714 | 44.7563 | 37.593 | 6.5118 | 0.1223 | 2.8468 | 3.6651 | 0.076759 | 33.1949 | 0.85564 | 38.0031 | 396.0405 | 0.0021806
20 | 08:01:35 | boardwalk | 0 | 150 | scal | 0 | 3619 | 0 | 2.3942 | 0.12522 | 336.0223 | 5.9895 | 4.5679 | 40.2241 | 3.5 | 1.9689 | 1 | 3.9378 | 35.8997 | 40.2241 | 35.8757 | 399.5634 | 396.228 | 25.9515 | 30.0162 | 42.7477 | 49.4431 | 500.2599 | 276.6236 | 332.6501 | 97.7779 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0059895 | 313.3741 | 309.0497 | 52.5585 | -2.3392 | 7.5029 | 76.7337 | 46.7175 | 38.0619 | 6.6796 | 0.12136 | 2.9349 | 3.7447 | 0.076191 | 32.8555 | 0.84805 | 37.6668 | 395.4072 | 0.0022807
21 | 08:04:00 | boardwalk | 0 | 250 | sac | 0 | 3766.5 | 0 | 8.7483 | 0.2555 | 308.3221 | 12.9927 | 4.9466 | 41.1401 | 1.5 | 2.408 | 1 | 4.8161 | 36.2957 | 41.1401 | 36.2613 | 399.6924 | 395.5279 | 26.1929 | 29.9723 | 42.2175 | 48.3091 | 500.2084 | 156.3279 | 239.1648 | 97.7793 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3347 | 0.012993 | 314.2901 | 309.4457 | 29.7023 | -4.4229 | 7.8773 | 80.562 | 50.5896 | 38.7179 | 6.9207 | 0.24263 | 2.9307 | 3.99 | 0.15275 | 30.1475 | 0.77952 | 36.8792 | 393.0756 | 0.0082079
22 | 08:06:15 | boardwalk | 0 | 200 | scal | 0 | 3900 | 0 | 16.3857 | 0.25301 | 254.9264 | 12.8142 | 4.9294 | 41.4169 | 2 | 2.2983 | 1 | 4.5965 | 36.7142 | 41.4169 | 36.6633 | 399.3834 | 390.83 | 26.3748 | 31.3375 | 41.5473 | 49.3648 | 500.2415 | 845.7365 | 856.9899 | 97.7794 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.012814 | 314.5669 | 309.8642 | 160.6899 | -3.5433 | 7.9936 | 81.7512 | 50.4138 | 39.0655 | 7.0515 | 0.23981 | 3.0642 | 3.9873 | 0.15101 | 24.9265 | 0.65227 | 38.0469 | 386.0175 | 0.01615
23 | 08:07:24 | boardwalk | 0 | 200 | scal | 0 | 3980.5 | 0 | 7.706 | 0.23862 | 308.1005 | 13.1132 | 5.3203 | 42.3741 | 2 | 2.2983 | 1 | 4.5965 | 36.9738 | 42.3741 | 36.9405 | 399.471 | 394.3228 | 26.4929 | 31.5702 | 41.1459 | 49.0313 | 500.2395 | 329.5282 | 670.0291 | 97.7805 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.013113 | 315.5241 | 310.1238 | 62.6104 | -4.4577 | 8.4073 | 85.9809 | 54.4107 | 39.674 | 7.2855 | 0.22684 | 3.087 | 4.1985 | 0.14279 | 30.1262 | 0.78134 | 36.084 | 392.0595 | 0.0070923
24 | 08:08:42 | boardwalk | 0 | 150 | scal | 0 | 4060.5 | 0 | 5.0336 | 0.17702 | 313.4634 | 10.2965 | 5.5621 | 42.9234 | 2.5 | 2.1885 | 1 | 4.377 | 37.1454 | 42.9234 | 37.1555 | 399.1715 | 394.6251 | 26.6268 | 31.6101 | 40.9682 | 48.6355 | 500.2237 | 233.2851 | 952.2092 | 97.7797 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0009 | 0.010296 | 316.0734 | 310.2954 | 44.3242 | -3.8562 | 8.6529 | 88.4937 | 56.8836 | 40.0344 | 7.4273 | 0.17014 | 3.0908 | 4.3365 | 0.10693 | 30.6504 | 0.79433 | 34.2717 | 393.0726 | 0.0043888
25 | 08:24:09 | boardwalk | 0 | 150 | scal | 0 | 4990.5 | 0 | 10.5356 | 0.23185 | 278.3628 | 13.8624 | 5.7728 | 44.6989 | 3.5 | 1.9689 | 1 | 3.9378 | 39.0084 | 44.6989 | 39.0058 | 399.3634 | 388.2267 | 28.6815 | 38.0118 | 39.8963 | 52.8748 | 500.2414 | 1075.705 | 1153.2743 | 97.7858 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.013862 | 317.8489 | 312.1584 | 204.3839 | -4.2038 | 9.4899 | 97.0474 | 59.0356 | 41.8537 | 8.1801 | 0.21896 | 3.717 | 4.4631 | 0.13795 | 27.2199 | 0.71701 | 38.3903 | 384.6148 | 0.010516
26 | 08:24:29 | boardwalk | 0 | 350 | typ | 0 | 5004 | 0 | 10.4643 | 0.22528 | 276.9903 | 13.4902 | 5.7742 | 44.6515 | 3.5 | 1.9689 | 1 | 3.9378 | 39.055 | 44.6515 | 39.0437 | 399.3773 | 388.3901 | 28.6782 | 37.7602 | 39.7923 | 52.394 | 500.2473 | 1161.8281 | 1252.8405 | 97.7865 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.01349 | 317.8015 | 312.205 | 220.7473 | -3.9081 | 9.4667 | 96.8095 | 59.0493 | 41.8532 | 8.1799 | 0.21309 | 3.6924 | 4.4875 | 0.13422 | 27.0859 | 0.71318 | 38.1433 | 384.8027 | 0.010373
27 | 08:26:57 | boardwalk | 0 | 300 | typ | 0 | 5154 | 0 | 3.8051 | 0.17317 | 314.7286 | 12.0607 | 6.616 | 46.3413 | 4 | 1.8591 | 1 | 3.7183 | 39.113 | 46.3413 | 39.1474 | 399.0733 | 392.2476 | 28.6569 | 37.9355 | 39.6385 | 52.4727 | 500.2161 | 1010.6011 | 977.3021 | 97.7857 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2505 | 0.012061 | 319.4913 | 312.263 | 192.0142 | -3.9963 | 10.3255 | 105.5932 | 67.6578 | 42.7271 | 8.5644 | 0.16547 | 3.7095 | 4.8549 | 0.10408 | 30.776 | 0.80237 | 34.0442 | 390.866 | 0.0033142
28 | 08:29:52 | boardwalk | 0 | 250 | typ | 0 | 5329 | 0 | 1.8519 | 0.19742 | 334.7741 | 13.86 | 6.6991 | 46.7118 | 4 | 1.8591 | 1 | 3.7183 | 39.1268 | 46.7118 | 39.1658 | 399.0482 | 393.2096 | 28.4517 | 39.1009 | 39.3255 | 54.0447 | 500.2426 | 979.924 | 1118.976 | 97.7855 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2506 | 0.01386 | 319.8618 | 312.2768 | 186.1856 | -4.8172 | 10.5226 | 107.609 | 68.5081 | 42.9193 | 8.651 | 0.18747 | 3.8235 | 4.8275 | 0.11802 | 32.736 | 0.85139 | 34.7603 | 392.5372 | 0.0016399
29 | 08:32:10 | boardwalk | 0 | 350 | scal | 0 | 5459 | 0 | 9.6263 | 0.20446 | 273.2244 | 16.2182 | 7.5095 | 47.087 | 1.5 | 2.408 | 1 | 4.8161 | 39.1947 | 47.087 | 39.2243 | 400.063 | 395.2543 | 28.1841 | 32.8873 | 38.8142 | 45.2913 | 500.2368 | 227.7432 | 449.8613 | 97.7869 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3349 | 0.016218 | 320.237 | 312.3447 | 43.2712 | -5.6522 | 10.7254 | 109.6817 | 76.7944 | 43.1408 | 8.7518 | 0.19614 | 3.2159 | 5.5359 | 0.12331 | 26.7178 | 0.69126 | 27.6805 | 392.5559 | 0.0067878
30 | 08:34:11 | boardwalk | 0 | 300 | scal | 0 | 5585 | 0 | 24.3622 | 0.2633 | 194.4407 | 20.3468 | 7.4005 | 47.4199 | 2 | 2.2983 | 1 | 4.5965 | 39.4019 | 47.4199 | 39.3814 | 400.3754 | 387.4831 | 28.0282 | 35.8712 | 38.1726 | 48.8542 | 500.2411 | 258.9633 | 1199.3417 | 97.787 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.020347 | 320.5699 | 312.5519 | 49.203 | -7.2375 | 10.9083 | 111.5513 | 75.6801 | 43.4109 | 8.8761 | 0.24904 | 3.5077 | 5.3683 | 0.15687 | 19.0138 | 0.5018 | 30.7261 | 380.3279 | 0.019682
31 | 08:36:17 | boardwalk | 0 | 200 | scal | 0 | 5713.5 | 0 | 19.6356 | 0.4263 | 270.499 | 33.1193 | 7.6354 | 47.5752 | 1 | 2.5178 | 1 | 5.0357 | 39.4775 | 47.5752 | 39.4663 | 400.3512 | 393.8187 | 27.9576 | 34.3508 | 37.9223 | 46.5941 | 500.2467 | 248.6381 | 760.1105 | 97.787 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0025 | 0.033119 | 320.7252 | 312.6275 | 47.2412 | -10.6115 | 10.9945 | 112.4327 | 78.0819 | 43.5263 | 8.9297 | 0.39303 | 3.3591 | 5.5706 | 0.24843 | 26.4513 | 0.68686 | 30.9014 | 388.5546 | 0.015616
32 | 08:38:23 | boardwalk | 0 | 150 | scal | 0 | 5838 | 0 | 11.396 | 0.18016 | 242.9004 | 14.598 | 7.6434 | 47.9357 | 3 | 2.0787 | 1 | 4.1574 | 39.5743 | 47.9357 | 39.5474 | 400.6957 | 390.4425 | 27.9013 | 36.3384 | 37.6501 | 49.0352 | 500.202 | 282.4784 | 379.696 | 97.787 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6673 | 0.014598 | 321.0857 | 312.7243 | 53.6709 | -5.8195 | 11.1968 | 114.502 | 78.1636 | 43.755 | 9.0366 | 0.17268 | 3.5534 | 5.4832 | 0.10857 | 23.7525 | 0.62212 | 29.2342 | 386.7419 | 0.0086144
33 | 08:40:10 | boardwalk | 0 | 100 | scal | 0 | 5950 | 0 | 1.5494 | 0.12364 | 326.5866 | 10.4506 | 7.8794 | 47.9379 | 3 | 2.0787 | 1 | 4.1574 | 39.5443 | 47.9379 | 39.5617 | 400.7647 | 397.3452 | 27.8825 | 33.9372 | 37.6857 | 45.8692 | 500.2358 | 150.1468 | 208.2794 | 97.7882 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.010451 | 321.0879 | 312.6943 | 28.5279 | -4.5204 | 11.1981 | 114.5134 | 80.5762 | 43.7411 | 9.03 | 0.12007 | 3.3187 | 5.7114 | 0.075357 | 31.9363 | 0.82192 | 26.1896 | 396.8421 | 0.0010225
34 | 08:43:54 | boardwalk | 0 | 300 | sac | 0 | 6167 | 0 | 6.8375 | 0.28283 | 308.9575 | 21.3572 | 7.2629 | 47.2433 | 2 | 2.2983 | 1 | 4.5965 | 39.4001 | 47.2433 | 39.4349 | 400.5051 | 394.4037 | 28.0541 | 36.2832 | 38.2117 | 49.4202 | 500.2372 | 545.9294 | 573.2682 | 97.7875 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.021357 | 320.3933 | 312.5501 | 103.7266 | -7.1447 | 10.811 | 110.5558 | 74.2727 | 43.3217 | 8.8349 | 0.26644 | 3.548 | 5.2868 | 0.16792 | 30.2122 | 0.78335 | 31.6984 | 392.3955 | 0.0055235
35 | 08:45:59 | boardwalk | 0 | 250 | sac | 0 | 6301.5 | 0 | 5.3457 | 0.24606 | 313.1783 | 18.0387 | 7.0279 | 47.2131 | 3 | 2.0787 | 1 | 4.1574 | 39.3903 | 47.2131 | 39.4207 | 400.6909 | 393.2308 | 28.1151 | 38.5167 | 38.3149 | 52.4901 | 500.2279 | 643.3509 | 728.5381 | 97.7876 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6674 | 0.018039 | 320.3631 | 312.5403 | 122.2367 | -6.4465 | 10.7944 | 110.386 | 71.8693 | 43.3017 | 8.8256 | 0.23231 | 3.7665 | 5.0592 | 0.14637 | 30.6249 | 0.79642 | 33.5862 | 391.495 | 0.0045861
36 | 08:47:41 | boardwalk | 0 | 200 | sac | 0 | 6399 | 0 | 5.8862 | 0.14352 | 280.8248 | 11.3021 | 7.4004 | 47.5931 | 4 | 1.8591 | 1 | 3.7183 | 39.462 | 47.5931 | 39.5039 | 400.6838 | 392.431 | 28.1515 | 36.8553 | 38.217 | 50.0329 | 500.2627 | 724.9095 | 930.7717 | 97.7868 | 16.033 | -0.24611 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2507 | 0.011302 | 320.7431 | 312.612 | 137.7328 | -4.2994 | 11.0044 | 112.5347 | 75.6794 | 43.5275 | 8.9302 | 0.13819 | 3.604 | 5.3262 | 0.08683 | 27.461 | 0.7156 | 30.0225 | 390.2938 | 0.0045279
37 | 08:49:39 | boardwalk | 0 | 150 | sac | 0 | 6522 | 0 | 7.6319 | 0.34617 | 309.2856 | 28.0358 | 7.8402 | 48.2757 | 1.5 | 2.408 | 1 | 4.8161 | 39.672 | 48.2757 | 39.6671 | 400.7953 | 395.1847 | 28.2068 | 36.3083 | 37.8628 | 48.7376 | 500.2418 | 401.6635 | 576.1714 | 97.7846 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3349 | 0.028036 | 321.4257 | 312.822 | 76.3161 | -9.2576 | 11.3906 | 116.4869 | 80.1786 | 43.9739 | 9.14 | 0.32295 | 3.5504 | 5.5896 | 0.20381 | 30.2434 | 0.78264 | 30.4733 | 393.0454 | 0.0059171
38 | 08:51:06 | boardwalk | 0 | 100 | sac | 0 | 6607.5 | 0 | 6.2671 | 0.2094 | 297.7348 | 16.4098 | 7.4394 | 47.8101 | 3 | 2.0787 | 1 | 4.1574 | 39.7246 | 47.8101 | 39.7282 | 400.4739 | 392.8497 | 28.2319 | 37.7016 | 37.7893 | 50.4649 | 500.2619 | 721.7231 | 279.3031 | 97.7835 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.01641 | 320.9601 | 312.8746 | 137.1274 | -5.7598 | 11.1259 | 113.7814 | 76.0798 | 43.7674 | 9.0424 | 0.19936 | 3.6866 | 5.3558 | 0.12546 | 29.1136 | 0.75788 | 31.1247 | 390.8146 | 0.0049912
39 | 08:53:02 | boardwalk | 0 | 50 | sac | 0 | 6720.5 | 0 | 6.0758 | 0.18316 | 290.6058 | 14.9682 | 7.7123 | 48.3991 | 3.5 | 1.9689 | 1 | 3.9378 | 39.6904 | 48.3991 | 39.7191 | 400.575 | 392.2161 | 28.2724 | 38.3439 | 37.9123 | 51.4178 | 500.2234 | 248.7327 | 455.3229 | 97.7818 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4292 | 0.014968 | 321.5491 | 312.8404 | 47.2592 | -6.3415 | 11.4616 | 117.2165 | 78.8726 | 44.0447 | 9.1737 | 0.17502 | 3.7493 | 5.4244 | 0.11009 | 28.416 | 0.74093 | 30.2798 | 390.1331 | 0.0047157
40 | 08:54:52 | boardwalk | 0 |  | hyd | 0 | 6831.5 | 0 | 3.7691 | 0.15532 | 304.3758 | 12.0973 | 7.3904 | 48.4851 | 6 | 1.42 | 1 | 2.84 | 39.4854 | 48.4851 | 39.5665 | 400.5209 | 390.3365 | 28.2466 | 42.1446 | 38.2957 | 57.1383 | 500.2457 | 166.4013 | 183.5143 | 97.7815 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83374 | 0.012097 | 321.6351 | 312.6354 | 31.6163 | -7.1639 | 11.5114 | 117.7255 | 75.5809 | 43.9853 | 9.1454 | 0.14726 | 4.121 | 5.0244 | 0.092731 | 29.7623 | 0.77978 | 33.8396 | 388.5449 | 0.0032827
41 | 08:59:04 | boardwalk | 0 |  | hyd | 0 | 7088.5 | 0 | 3.1528 | 0.21131 | 331.8903 | 11.7578 | 5.4397 | 44.7385 | 6 | 1.42 | 1 | 2.84 | 38.8951 | 44.7385 | 38.9998 | 400.8411 | 391.5382 | 28.1052 | 41.6204 | 39.3314 | 58.245 | 500.2577 | 166.224 | 208.9744 | 97.7796 | 16.033 | -0.24611 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83376 | 0.011758 | 317.8885 | 312.0451 | 31.5826 | -6.5141 | 9.5093 | 97.2525 | 55.6321 | 41.8168 | 8.1642 | 0.19667 | 4.0696 | 4.0946 | 0.12416 | 32.4521 | 0.84766 | 42.7849 | 390.0395 | 0.0034584
42 | 09:26:19 | boardwalk | 0 | 350 | scal | 0 | 8710 | 0 | -4.1201 | 0.07901 | 405.123 | 9.478 | 10.8582 | 52.6589 | 1.5 | 2.408 | 1 | 4.8161 | 41.7086 | 52.6589 | 41.7567 | 398.6441 | 398.7463 | 31.0234 | 33.7694 | 37.3709 | 40.6787 | 500.2544 | 552.9656 | 595.0803 | 97.7865 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.335 | 0.009478 | 325.8089 | 314.8586 | 105.0635 | -3.3752 | 14.1604 | 144.8093 | 111.0399 | 47.1838 | 10.7783 | 0.077735 | 3.3022 | 7.4761 | 0.048697 | 39.6155 | 1.016 | 17.1609 | 399.9012 | -0.001768
43 | 09:28:10 | boardwalk | 0 | 300 | scal | 0 | 8822 | 0 | -1.1398 | 0.097427 | 347.5683 | 10.9783 | 10.2647 | 52.2993 | 3 | 2.0787 | 1 | 4.1574 | 41.6287 | 52.2993 | 41.6743 | 398.8655 | 396.9357 | 30.9708 | 37.3091 | 37.4662 | 45.1338 | 500.236 | 488.358 | 518.1973 | 97.7889 | 19.6762 | -0.28223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.010978 | 325.4493 | 314.7787 | 92.788 | -4.4555 | 13.9131 | 142.2773 | 104.9682 | 46.964 | 10.6586 | 0.095196 | 3.6484 | 7.0101 | 0.059694 | 33.9883 | 0.87563 | 20.8006 | 397.3058 | -0.00059672
44 | 09:30:26 | boardwalk | 0 | 250 | scal | 0 | 8961 | 0 | -0.11225 | 0.085208 | 333.9909 | 9.3991 | 10.0463 | 52.1023 | 4 | 1.8591 | 1 | 3.7183 | 41.5257 | 52.1023 | 41.5714 | 400.575 | 397.6758 | 30.9437 | 38.1729 | 37.6385 | 46.4318 | 500.2088 | 437.815 | 438.7686 | 97.791 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2505 | 0.0093991 | 325.2523 | 314.6757 | 83.1848 | -4.3543 | 13.7793 | 140.9057 | 102.7328 | 46.814 | 10.5775 | 0.083299 | 3.733 | 6.8445 | 0.05223 | 32.6613 | 0.83986 | 21.7149 | 397.7165 | -6.1286e-05
45 | 09:32:20 | boardwalk | 0 | 200 | typ | 0 | 9070.5 | 0 | -0.25876 | 0.097277 | 338.0956 | 10.5305 | 9.8853 | 51.5384 | 2.5 | 2.1885 | 1 | 4.377 | 41.3142 | 51.5384 | 41.4041 | 400.7578 | 398.7885 | 30.8911 | 35.9643 | 37.9972 | 44.2375 | 500.2624 | 277.6609 | 299.3733 | 97.7914 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.001 | 0.01053 | 324.6884 | 314.4642 | 52.7556 | -4.3656 | 13.4023 | 137.0498 | 101.0855 | 46.4263 | 10.3704 | 0.095162 | 3.517 | 6.8534 | 0.059663 | 33.0628 | 0.84781 | 21.0124 | 398.8683 | -0.00013632
46 | 09:33:49 | boardwalk | 0 | 150 | typ | 0 | 9165 | 0 | -4.9641 | 0.044666 | 503.8753 | 4.8013 | 9.7405 | 51.0225 | 3.5 | 1.9689 | 1 | 3.9378 | 41.1006 | 51.0225 | 41.1885 | 400.9578 | 403.0771 | 30.7518 | 33.9971 | 38.2568 | 42.2941 | 500.2053 | 180.855 | 189.9959 | 97.793 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4292 | 0.0048013 | 324.1725 | 314.2506 | 34.3625 | -2.731 | 13.0652 | 133.6004 | 99.6034 | 46.0616 | 10.1789 | 0.044165 | 3.3247 | 6.8542 | 0.027648 | 49.2755 | 1.2501 | 19.5406 | 404.7789 | -0.0023964
47 | 09:35:18 | boardwalk | 0 | 100 | typ | 0 | 9254.5 | 0 | -8.0256 | 0.047883 | 594.947 | 4.815 | 9.1515 | 50.0574 | 3.5 | 1.9689 | 1 | 3.9378 | 40.8692 | 50.0574 | 40.9552 | 401.0336 | 405.2836 | 30.5177 | 33.773 | 38.4339 | 42.5336 | 500.2193 | 468.9964 | 281.8497 | 97.7914 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4292 | 0.004815 | 323.2074 | 314.0192 | 89.1093 | -2.1712 | 12.4542 | 127.3546 | 93.5817 | 45.4633 | 9.8712 | 0.047308 | 3.3027 | 6.5685 | 0.029618 | 58.1807 | 1.468 | 21.0403 | 408.035 | -0.0041384
48 | 09:37:35 | boardwalk | 0 | 300 | sac | 0 | 9379 | 0 | 3.3341 | 0.14972 | 309.4923 | 13.2743 | 8.2599 | 48.8098 | 2 | 2.2983 | 1 | 4.5965 | 40.5 | 48.8098 | 40.5805 | 401.1169 | 397.6733 | 30.0652 | 35.1858 | 38.616 | 45.193 | 500.2215 | 423.6112 | 510.3089 | 97.7949 | 19.6762 | -0.28223 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5011 | 0.013274 | 321.9598 | 313.65 | 80.4861 | -4.6778 | 11.7009 | 119.6473 | 84.4615 | 44.6549 | 9.4683 | 0.145 | 3.441 | 6.0273 | 0.091036 | 30.2668 | 0.77826 | 25.898 | 396.6941 | 0.0021766
49 | 09:39:13 | boardwalk | 0 | 250 | sac | 0 | 9489 | 0 | 5.2746 | 0.15355 | 291.8057 | 12.6998 | 7.7442 | 48.2356 | 3 | 2.0787 | 1 | 4.1574 | 40.2264 | 48.2356 | 40.2871 | 401.5912 | 395.4161 | 29.7171 | 37.0516 | 38.7283 | 48.2868 | 500.21 | 356.3426 | 438.6953 | 97.7921 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6674 | 0.0127 | 321.3856 | 313.3764 | 67.7051 | -4.9749 | 11.3676 | 116.2425 | 79.1909 | 44.231 | 9.2628 | 0.14808 | 3.6234 | 5.6394 | 0.093025 | 28.5363 | 0.73797 | 28.8473 | 393.7033 | 0.0038648
50 | 09:41:02 | boardwalk | 0 | 200 | sac | 0 | 9596 | 0 | 0.71141 | 0.10709 | 337.8067 | 8.5299 | 7.4204 | 47.4885 | 4 | 1.8591 | 1 | 3.7183 | 39.9206 | 47.4885 | 39.977 | 399.9242 | 396.6497 | 29.4788 | 36.054 | 39.0506 | 47.7607 | 500.2062 | 314.4004 | 389.4127 | 97.793 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2505 | 0.0085299 | 320.6385 | 313.0706 | 59.7361 | -3.8281 | 10.9463 | 111.9329 | 75.8789 | 43.7046 | 9.0129 | 0.1041 | 3.5258 | 5.4871 | 0.065323 | 33.0351 | 0.85165 | 28.8431 | 396.3915 | 0.00051765
51 | 09:43:08 | boardwalk | 0 | 0 | hyd | 0 | 9723.5 | 0 | 3.2841 | 0.15501 | 310.6654 | 11.7711 | 7.2073 | 48.2855 | 6 | 1.42 | 1 | 2.84 | 39.4223 | 48.2855 | 39.5314 | 400.2053 | 390.7492 | 29.3208 | 42.835 | 39.8912 | 58.2774 | 500.2228 | 294.8884 | 374.3901 | 97.7919 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.8337 | 0.011771 | 321.4355 | 312.5723 | 56.0288 | -6.6984 | 11.3962 | 116.5355 | 73.7005 | 43.8539 | 9.0832 | 0.14699 | 4.1889 | 4.8943 | 0.092556 | 30.3806 | 0.79505 | 34.8378 | 389.1881 | 0.0029397
52 | 09:45:30 | boardwalk | 0 | 0 | hyd | 0 | 9870 | 0 | 2.8788 | 0.15266 | 318.7991 | 10.6846 | 6.6669 | 47.0917 | 6 | 1.42 | 1 | 2.84 | 38.8182 | 47.0917 | 38.9518 | 400.4648 | 391.9879 | 29.2446 | 41.5285 | 41.1014 | 58.3656 | 500.212 | 203.6116 | 271.015 | 97.7927 | 19.6762 | -0.28223 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83369 | 0.010685 | 320.2417 | 311.9682 | 38.6862 | -6.2559 | 10.728 | 109.7018 | 68.1733 | 42.9549 | 8.6672 | 0.14488 | 4.0612 | 4.606 | 0.091217 | 31.1762 | 0.81329 | 36.2019 | 390.6195 | 0.002668