## march 2013 m1e et_.xls
OPEN 6.1.4
Mon Mar 18 2013 08:34:01
Unit= | PSC-3149
LightSource= | Sun+Sky |  | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark=
Obs | HHMMSS |  | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in |  | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:45:07 | 2013-03-18 | m1e | 0 | 175 | tlat | 0 | 678 | 0 | -1.8707 | 0.1381 | 24.7593 | 0.902 | 0.65079 | 22.3098 | 5 | 1.6396 | 1 | 3.2791 | 23.7713 | 22.3098 | 23.7203 | 0.58408 | 2.451 | 20.0723 | 20.9546 | 66.5797 | 69.5065 | 500.423 | 128.4484 | 144.94 | 97.9869 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.0008 | 0.000902 | 295.4598 | 296.9213 | 24.4052 | 0.010397 | 2.7041 | 27.5962 | 6.6416 | 23.0406 | 2.8267 | 0.13252 | 2.0533 | 0.77338 | 0.083306 | 2.4261 | 10.1018 | 76.3311 | 3.2211 | -0.4433
2 | 08:47:02 | 2013-03-18 | m1e | 0 | 150 | tlat | 0 | 823 | 0 | -3.1459 | 0.14272 | 40.0256 | 0.99714 | 0.69685 | 22.6479 | 5 | 1.6396 | 1 | 3.2791 | 24.2319 | 22.6479 | 24.2047 | 0.55654 | 3.6963 | 20.0811 | 21.0565 | 64.794 | 67.9411 | 500.4006 | 101.3555 | 103.8602 | 97.9907 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.0008 | 0.00099714 | 295.7979 | 297.3819 | 19.2575 | -0.072394 | 2.7602 | 28.1679 | 7.1114 | 23.4399 | 2.8957 | 0.13677 | 2.0633 | 0.83234 | 0.085995 | 3.9221 | 10.8287 | 75.196 | 4.9914 | -0.47394
3 | 08:49:14 | 2013-03-18 | m1e | 0 | 100 | tlat | 0 | 969.5 | 0 | -8.2908 | 0.20838 | 77.6429 | 1.3603 | 0.66939 | 22.8677 | 6 | 1.42 | 1 | 2.84 | 24.5223 | 22.8677 | 24.5021 | 0.54876 | 10.4729 | 20.1179 | 21.7135 | 63.7963 | 68.8563 | 500.3883 | 145.9543 | 906.5453 | 97.9952 | 7.3584 | -0.8603 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 0.83398 | 0.0013603 | 296.0177 | 297.6723 | 27.7313 | -0.16166 | 2.7972 | 28.5444 | 6.8309 | 23.695 | 2.9405 | 0.19413 | 2.1278 | 0.81271 | 0.12254 | 7.6086 | 7.4137 | 77.1305 | 14.4139 | -0.44365
4 | 08:50:58 | 2013-03-18 | m1e | 0 | 50 | tlat | 0 | 1073.5 | 0 | -68.8908 | 0.20458 | 650.7029 | 1.4285 | 0.7149 | 23.1891 | 6 | 1.42 | 1 | 2.84 | 24.862 | 23.1891 | 24.8414 | 0.5651 | 83.0307 | 20.1334 | 21.809 | 62.5646 | 67.7714 | 500.3697 | 45.7244 | 33.99 | 97.9987 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 0.83395 | 0.0014285 | 296.3391 | 298.012 | 8.6876 | -0.42028 | 2.8522 | 29.104 | 7.295 | 24.0256 | 2.9996 | 0.19083 | 2.1373 | 0.86232 | 0.12043 | 63.7681 | 7.8369 | 76.0082 | 115.7781 | -0.45227
5 | 08:56:53 | 2013-03-18 | m1e | 0 | 125 | sac/stab | 0 | 1403 | 0 | -1114.8955 | -0.99396 | -1004.6319 | -21.3787 | 1.619 | 22.7007 | 2 | 2.2983 | 1 | 4.5965 | 25.4331 | 22.7007 | 25.4812 | 0.42476 | 449.9644 | 20.1805 | 11.7343 | 60.6163 | 35.2466 | 500.2963 | 564.2236 | 787.9268 | 98.0024 | 7.3584 | -0.8603 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5015 | -0.021379 | 295.8507 | 298.5831 | 107.2025 | 8.3605 | 2.769 | 28.2548 | 16.5204 | 24.0669 | 3.007 | -1.2682 | 1.15 | 1.857 | -0.76239 | -98.4564 | -2.2327 | 23.8764 | 777.4096 | -0.34242
6 | 08:57:58 | 2013-03-18 | m1e | 0 | 100 | sac/stab | 0 | 1494 | 0 | -626.1995 | -0.68404 | -871.6355 | -14.8365 | 1.7401 | 23.142 | 3 | 2.0787 | 1 | 4.1574 | 25.5177 | 23.142 | 25.5922 | 0.56096 | 379.388 | 20.0595 | 11.2641 | 59.9511 | 33.6647 | 500.3563 | 144.7555 | 237.1608 | 98.0032 | 7.3584 | -0.8603 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | -0.014836 | 296.292 | 298.6677 | 27.5035 | 6.0036 | 2.8441 | 29.02 | 17.7559 | 24.3299 | 3.0548 | -0.81875 | 1.1039 | 1.9509 | -0.49763 | -85.4231 | -2.2975 | 25.2599 | 582.7293 | -0.27144
7 | 08:59:44 | 2013-03-18 | m1e | 0 | 50 | sac/stab | 0 | 1600.5 | 0 | -508.9972 | -0.53375 | -919.6735 | -11.2605 | 1.7355 | 22.9816 | 4 | 1.8591 | 1 | 3.7183 | 25.5615 | 22.9816 | 25.6585 | 0.4838 | 411.0698 | 19.9331 | 11.0308 | 59.4175 | 32.8813 | 500.3834 | 25.0729 | 26.5302 | 98.0012 | 7.3584 | -0.8603 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.251 | -0.011261 | 296.1316 | 298.7115 | 4.7639 | 4.9705 | 2.8166 | 28.7403 | 17.7095 | 24.2715 | 3.0442 | -0.6232 | 1.081 | 1.9631 | -0.38034 | -90.1291 | -2.2373 | 26.5936 | 595.8729 | -0.22716
8 | 09:03:26 | 2013-03-18 | m1e | 0 | 150 | sac/stab | 0 | 1817.5 | 0 | -5.0943 | 0.84963 | 12.9212 | 5.3079 | 0.70237 | 22.7668 | 1.5 | 2.408 | 1 | 4.8161 | 25.8536 | 22.7668 | 25.8283 | 0.44004 | 1.9642 | 19.645 | 21.2025 | 57.5508 | 62.1136 | 500.3443 | 1069.7666 | 1299.3971 | 97.9973 | 7.3584 | -0.8603 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 3.3356 | 0.0053079 | 295.9168 | 299.0036 | 203.2557 | 0.03106 | 2.7802 | 28.3698 | 7.1672 | 24.3102 | 3.0512 | 0.72222 | 2.0778 | 0.97345 | 0.46133 | 1.2662 | 6.5785 | 77.9791 | 3.3922 | -1.1711
9 | 09:06:20 | 2013-03-18 | m1e | 0 | 100 | sac/stab | 0 | 1998.5 | 0 | -444.9967 | -0.56925 | -828.5108 | -9.93 | 1.4446 | 22.7069 | 3 | 2.0787 | 1 | 4.1574 | 26.1569 | 22.7069 | 26.0988 | 0.31002 | 268.7189 | 19.3989 | 13.5256 | 55.8196 | 38.9196 | 500.3542 | 1234.6263 | 168.7804 | 97.9987 | 7.3584 | -0.8603 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6678 | -0.00993 | 295.8569 | 299.3069 | 234.579 | 6.0309 | 2.7701 | 28.2666 | 14.7409 | 24.4319 | 3.0736 | -0.65956 | 1.3255 | 1.7481 | -0.40303 | -81.193 | -3.0832 | 38.2873 | 413.2195 | -0.41232
10 | 09:14:01 | 2013-03-18 | m1e | 0 | 50 | sac/stab | 0 | 2457.5 | 0 | -1.5199 | -0.056786 | -40.4776 | -0.62708 | 1.0404 | 23.19 | 4 | 1.8591 | 1 | 3.7183 | 25.9318 | 23.19 | 25.9787 | 0.2322 | 1.4481 | 18.9809 | 18.4889 | 55.3516 | 53.9167 | 500.3334 | 5.4357 | 11.8468 | 98.0028 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.2508 | -0.00062708 | 296.34 | 299.0818 | 1.0328 | 0.56066 | 2.8523 | 29.1044 | 10.6155 | 24.5609 | 3.0974 | -0.057667 | 1.812 | 1.2854 | -0.035961 | -3.9669 | -27.9529 | 62.0574 | 1.9999 | -0.47164
11 | 09:16:13 | 2013-03-18 | m1e | 0 | 100 | tlat | 0 | 2580.5 | 0 | -3.9219 | 0.25973 | 28.3404 | 2.0963 | 0.82247 | 22.9813 | 3.5 | 1.9689 | 1 | 3.9378 | 26.0804 | 22.9813 | 26.1008 | 0.29167 | 3.0305 | 18.9107 | 20.3472 | 54.6636 | 58.8159 | 500.377 | 255.4331 | 976.6177 | 98.0019 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.4296 | 0.0020963 | 296.1313 | 299.2304 | 48.5323 | -0.077297 | 2.8165 | 28.7396 | 8.3924 | 24.5309 | 3.0918 | 0.24366 | 1.9941 | 1.0978 | 0.15365 | 2.7774 | 9.3518 | 71.9162 | 4.375 | -0.64468
12 | 09:18:05 | 2013-03-18 | m1e | 0 | 50 | tlat | 0 | 2699 | 0 | -3.1466 | 0.045197 | 114.3737 | 0.46031 | 0.98577 | 23.2748 | 4 | 1.8591 | 1 | 3.7183 | 26.3163 | 23.2748 | 26.3872 | 0.27127 | 2.7858 | 18.8348 | 19.1957 | 53.6899 | 54.7188 | 500.3428 | 26.261 | 59.7482 | 98.0011 | 7.3584 | -0.8603 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.2509 | 0.00046031 | 296.4248 | 299.4663 | 4.9896 | 0.18127 | 2.867 | 29.2544 | 10.0587 | 24.7956 | 3.1411 | 0.044654 | 1.8812 | 1.2599 | 0.027957 | 11.2087 | 41.0555 | 65.186 | 3.9283 | -0.52215
13 | 09:46:19 | 2013-03-18 | m5 | 0 | 200 | scal | 0 | 4381.5 | 0 | -207.8348 | -0.33751 | -830.8576 | -5.2433 | 1.3731 | 25.7021 | 2 | 2.2983 | 1 | 4.5965 | 27.4897 | 25.7021 | 27.4301 | 0.49226 | 83.7499 | 21.869 | 19.8146 | 58.1948 | 52.7277 | 500.3122 | 1565.3728 | 1634.6995 | 98.0174 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5016 | -0.0052433 | 298.8521 | 300.6397 | 297.4208 | 4.2381 | 3.3152 | 33.823 | 14.0084 | 26.5959 | 3.4951 | -0.36426 | 1.9422 | 1.5529 | -0.2251 | -81.4385 | -9.9207 | 54.0692 | 144.791 | -0.77612
14 | 09:49:35 | 2013-03-18 | m5 | 0 | 150 | scal | 0 | 4590 | 0 | -3.1583 | 0.21137 | 26.8879 | 2.7745 | 1.3089 | 26.8591 | 2.5 | 2.1885 | 1 | 4.377 | 28.2635 | 26.8591 | 28.1678 | 0.73703 | 2.312 | 21.5062 | 22.8609 | 54.7029 | 58.1487 | 500.311 | 1430.5001 | 1510.1227 | 98.0178 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0012 | 0.0027745 | 300.0091 | 301.4135 | 271.795 | 1.3365 | 3.5497 | 36.2144 | 13.3535 | 27.5613 | 3.6989 | 0.20164 | 2.2408 | 1.4581 | 0.12686 | 2.6355 | 11.6298 | 63.7546 | 3.2861 | -0.61275
15 | 09:52:05 | 2013-03-18 | m5 | 0 | 100 | scal | 0 | 4740.5 | 0 | -3.4848 | 0.19166 | 32.2482 | 3.0411 | 1.5765 | 28.1532 | 3 | 2.0787 | 1 | 4.1574 | 29.0344 | 28.1532 | 28.9912 | 0.38106 | 2.466 | 21.1982 | 22.9796 | 51.5601 | 55.8932 | 500.3552 | 1253.8256 | 141.6934 | 98.016 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | 0.0030411 | 301.3032 | 302.1844 | 238.2269 | 0.96555 | 3.8289 | 39.0637 | 16.084 | 28.5938 | 3.9282 | 0.18321 | 2.2524 | 1.6758 | 0.11524 | 3.1608 | 13.0773 | 59.3805 | 3.5976 | -0.57519
16 | 09:53:54 | 2013-03-18 | m5 | 0 | 50 | scal | 0 | 4850.5 | 0 | -6.484 | 0.028835 | 361.6878 | 0.57403 | 1.905 | 28.9427 | 4 | 1.8591 | 1 | 3.7183 | 29.1959 | 28.9427 | 29.2335 | 0.21105 | 5.3924 | 21.0114 | 21.4605 | 50.6295 | 51.7116 | 500.3275 | 49.6676 | 43.4386 | 98.0133 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.2508 | 0.00057403 | 302.0927 | 302.3459 | 9.4368 | -0.11975 | 4.0084 | 40.897 | 19.4365 | 29.0693 | 4.0379 | 0.028613 | 2.1034 | 1.9345 | 0.017903 | 35.4502 | 67.0734 | 51.3224 | 7.7466 | -0.42958
17 | 09:56:46 | 2013-03-18 | m5 | 0 | 150 | scal | 0 | 5021 | 0 | -15.8672 | 0.17163 | 156.9081 | 3.1245 | 1.7934 | 28.6724 | 2 | 2.2983 | 1 | 4.5965 | 29.5619 | 28.6724 | 29.5186 | 0.38147 | 6.7153 | 20.7424 | 21.9639 | 48.9371 | 51.8188 | 500.3665 | 917.7761 | 1254.066 | 98.0137 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5018 | 0.0031245 | 301.8224 | 302.7119 | 174.3774 | 0.36293 | 3.9462 | 40.2612 | 18.2974 | 29.1171 | 4.0491 | 0.16545 | 2.1528 | 1.8963 | 0.10394 | 15.3791 | 23.3656 | 54.7824 | 11.3755 | -0.76413
18 | 09:58:48 | 2013-03-18 | m5 | 0 | 100 | scal | 0 | 5144 | 0 | -2.538 | 0.016471 | 245.2958 | 0.3555 | 2.0577 | 29.3182 | 3.5 | 1.9689 | 1 | 3.9378 | 29.9328 | 29.3182 | 29.9228 | 0.38336 | 2.1583 | 20.5573 | 20.8008 | 47.4745 | 48.0369 | 500.3103 | 168.0785 | 519.124 | 98.0106 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.4295 | 0.0003555 | 302.4682 | 303.0828 | 31.9349 | 0.20869 | 4.0964 | 41.7956 | 20.9948 | 29.6255 | 4.1696 | 0.016403 | 2.0387 | 2.131 | 0.010258 | 24.0416 | 113.6497 | 48.3609 | 3.0285 | -0.40529
19 | 10:00:00 | 2013-03-18 | m5 | 0 | 50 | scal | 0 | 5214.5 | 0 | -1.8435 | -0.0063356 | -454.5145 | -0.14713 | 2.2001 | 29.7191 | 4.5 | 1.7493 | 1 | 3.4987 | 30.0719 | 29.7191 | 30.0954 | 0.27581 | 1.9341 | 20.455 | 20.3254 | 46.8611 | 46.5641 | 500.3348 | 16.1405 | 12.2594 | 98.0078 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.1119 | -0.00014713 | 302.8691 | 303.2219 | 3.0667 | 0.13531 | 4.1922 | 42.774 | 22.4486 | 29.8955 | 4.2349 | -0.0063471 | 1.992 | 2.2429 | -0.0039659 | -44.546 | -234.996 | 45.7101 | 2.6455 | -0.31854
20 | 10:06:48 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 5618 | 0 | -5.2964 | 0.2818 | 34.1319 | 5.6015 | 2.0046 | 29.9948 | 2.5 | 2.1885 | 1 | 4.377 | 30.4251 | 29.9948 | 30.4044 | 0.38787 | 3.0257 | 20.27 | 23.0044 | 45.5054 | 51.6439 | 500.3611 | 122.2538 | 1010.4465 | 98.0058 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0014 | 0.0056015 | 303.1448 | 303.5751 | 23.2282 | -1.7561 | 4.2592 | 43.4584 | 20.4541 | 30.2099 | 4.3121 | 0.26475 | 2.2546 | 2.0575 | 0.16692 | 3.3451 | 11.2807 | 54.2611 | 4.6593 | -0.61681
21 | 10:08:51 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 5752 | 0 | -5.385 | 0.17919 | 51.7472 | 4.0691 | 2.2386 | 30.6248 | 2.5 | 2.1885 | 1 | 4.377 | 30.6516 | 30.6248 | 30.6639 | 0.32488 | 3.0092 | 20.2269 | 22.2148 | 44.8233 | 49.2284 | 500.3761 | 85.0921 | 909.1546 | 98.004 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0015 | 0.0040691 | 303.7748 | 303.8016 | 16.1675 | -1.3082 | 4.4158 | 45.0569 | 22.8422 | 30.6382 | 4.4191 | 0.17215 | 2.1771 | 2.242 | 0.1082 | 5.0714 | 17.1961 | 49.6025 | 4.6702 | -0.57195
22 | 10:10:26 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 5845 | 0 | -5.0574 | 0.095714 | 86.5663 | 2.3813 | 2.406 | 30.8521 | 2 | 2.2983 | 1 | 4.5965 | 30.7731 | 30.8521 | 30.8263 | 0.29799 | 2.3172 | 20.1644 | 21.0961 | 44.3751 | 46.4255 | 500.3746 | 87.1195 | 943.5087 | 98.0032 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5019 | 0.0023813 | 304.0021 | 303.9231 | 16.5527 | -0.68659 | 4.4735 | 45.6462 | 24.5501 | 30.8126 | 4.4634 | 0.093762 | 2.0675 | 2.3959 | 0.058773 | 8.4838 | 37.3575 | 45.4947 | 3.8026 | -0.60508
23 | 10:12:34 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 5971.5 | 0 | -5.8512 | 0.16836 | 59.5758 | 3.8518 | 2.2507 | 30.5727 | 2.5 | 2.1885 | 1 | 4.377 | 30.8956 | 30.5727 | 30.9338 | 0.40848 | 3.3255 | 20.0754 | 21.9576 | 43.8722 | 47.9855 | 500.3777 | 103.1802 | 1022.9458 | 98.0052 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0015 | 0.0038518 | 303.7227 | 304.0456 | 19.6042 | -1.175 | 4.4026 | 44.9224 | 22.9648 | 30.7342 | 4.4435 | 0.16212 | 2.152 | 2.2915 | 0.10187 | 5.8387 | 17.915 | 49.0693 | 5.1302 | -0.55966
24 | 10:15:52 | 2013-03-18 | m5 | 0 | 100 | tlat | 0 | 6160.5 | 0 | -3.7011 | 0.18633 | 37.085 | 3.5567 | 1.9161 | 30.3264 | 5.5 | 1.5298 | 1 | 3.0596 | 31.2364 | 30.3264 | 31.245 | 0.26042 | 4.312 | 20.9293 | 24.7422 | 44.8585 | 53.031 | 500.3352 | 1298.7341 | 1299.6447 | 98.0049 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 0.9097 | 0.0035567 | 303.4764 | 304.3864 | 246.7595 | 1.113 | 4.341 | 44.2936 | 19.5514 | 30.7814 | 4.4555 | 0.17564 | 2.4249 | 2.0306 | 0.11069 | 3.6345 | 8.6003 | 56.906 | 5.9451 | -0.35427
25 | 10:17:41 | 2013-03-18 | m5 | 0 | 50 | tlat | 0 | 6275 | 0 | -4.4487 | 0.029056 | 247.4655 | 0.73794 | 2.4308 | 30.8597 | 6 | 1.42 | 1 | 2.84 | 31.2131 | 30.8597 | 31.298 | 0.20427 | 5.5339 | 19.9956 | 20.862 | 42.9137 | 44.7732 | 500.3643 | 23.1268 | 36.5602 | 98.004 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 0.83394 | 0.00073794 | 304.0097 | 304.3631 | 4.3941 | -0.28042 | 4.4754 | 45.6656 | 24.8036 | 31.0364 | 4.5207 | 0.028762 | 2.0446 | 2.4762 | 0.018002 | 24.2526 | 44.7184 | 44.3844 | 7.6485 | -0.25815
26 | 10:19:13 | 2013-03-18 | m5 | 0 | 50 | tlat | 0 | 6370.5 | 0 | -2.5932 | 0.054031 | 79.7365 | 1.2686 | 2.2675 | 30.4179 | 6 | 1.42 | 1 | 2.84 | 31.0243 | 30.4179 | 31.1138 | 0.17565 | 3.2802 | 19.9011 | 21.3898 | 43.1727 | 46.4021 | 500.3655 | 57.9919 | 68.63 | 98.0039 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 0.83394 | 0.0012686 | 303.5679 | 304.1743 | 11.0185 | -0.44207 | 4.3638 | 44.5268 | 23.1371 | 30.7211 | 4.4401 | 0.053023 | 2.0963 | 2.3439 | 0.033228 | 7.8145 | 24.3084 | 47.2702 | 4.5129 | -0.27162
27 | 10:22:58 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 6592 | 0 | -4.5387 | 0.461 | 18.9587 | 9.4701 | 2.1394 | 30.6411 | 2 | 2.2983 | 1 | 4.5965 | 30.955 | 30.6411 | 31.0358 | 0.42601 | 2.2316 | 19.5717 | 23.2688 | 42.6265 | 50.6785 | 500.3894 | 133.6375 | 842.2685 | 98.0044 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5019 | 0.0094701 | 303.7911 | 304.105 | 25.3911 | -2.9831 | 4.4199 | 45.0988 | 21.8301 | 30.7981 | 4.4597 | 0.41898 | 2.2804 | 2.1793 | 0.26534 | 1.858 | 8.4954 | 54.4502 | 3.5646 | -0.69329
28 | 10:25:32 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 6750 | 0 | -5.847 | 0.53137 | 21.5081 | 10.8748 | 2.1598 | 30.9057 | 2 | 2.2983 | 1 | 4.5965 | 31.2536 | 30.9057 | 31.3064 | 0.2677 | 2.5934 | 19.5048 | 23.748 | 41.7639 | 50.8495 | 500.3982 | 168.1501 | 1303.1641 | 98.0038 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.502 | 0.010875 | 304.0557 | 304.4036 | 31.9485 | -3.4044 | 4.4872 | 45.7857 | 22.0376 | 31.0797 | 4.5319 | 0.47631 | 2.3274 | 2.2045 | 0.30219 | 2.1079 | 8.2936 | 55.3014 | 4.3106 | -0.75012
29 | 10:27:15 | 2013-03-18 | m5 | 0 | 50 | sam | 0 | 6856 | 0 | -5.103 | 0.50035 | 19.6713 | 10.5261 | 2.2066 | 31.0173 | 2 | 2.2983 | 1 | 4.5965 | 31.363 | 31.0173 | 31.3881 | 0.20481 | 2.2351 | 19.4551 | 23.5633 | 41.3987 | 50.1405 | 500.3762 | 210.6505 | 1432.8397 | 98.0029 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5019 | 0.010526 | 304.1673 | 304.513 | 40.0236 | -3.2242 | 4.5158 | 46.0786 | 22.5153 | 31.1902 | 4.5605 | 0.45123 | 2.3093 | 2.2513 | 0.28606 | 1.9278 | 8.8012 | 54.3441 | 3.7338 | -0.74272
30 | 10:36:40 | 2013-03-18 | m5 | 0 | 200 | sac/stab | 0 | 7405.5 | 0 | -19.402 | 0.23524 | 144.6796 | 6.1611 | 2.6072 | 32.1939 | 2.5 | 2.1885 | 1 | 4.377 | 31.4507 | 32.1939 | 31.4965 | 0.37088 | 10.0334 | 19.651 | 22.6594 | 41.6039 | 47.9731 | 500.3947 | 111.4452 | 155.3893 | 97.9942 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0016 | 0.0061611 | 305.3439 | 304.6007 | 21.1746 | -2.081 | 4.8277 | 49.2655 | 26.606 | 31.8223 | 4.7273 | 0.22324 | 2.2205 | 2.5068 | 0.14056 | 14.1778 | 14.4199 | 46.8372 | 16.0176 | -0.56734
31 | 10:38:21 | 2013-03-18 | m5 | 0 | 150 | sac/stab | 0 | 7519 | 0 | -81.0836 | 0.25962 | 560.9059 | 7.2028 | 2.7782 | 33.2663 | 3 | 2.0787 | 1 | 4.1574 | 32.0271 | 33.2663 | 32.1241 | 0.33418 | 48.7359 | 19.7675 | 23.9822 | 40.5031 | 49.139 | 500.3903 | 77.3426 | 120.0256 | 97.9908 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.668 | 0.0072028 | 306.4163 | 305.1771 | 14.6951 | -2.6687 | 5.1282 | 52.3334 | 28.3512 | 32.6467 | 4.9527 | 0.24436 | 2.35 | 2.6026 | 0.15403 | 54.9636 | 11.5091 | 46.9872 | 75.0656 | -0.50754
32 | 10:39:57 | 2013-03-18 | m5 | 0 | 100 | sac/stab | 0 | 7613.5 | 0 | -8.4071 | 0.065693 | 208.0646 | 2.2344 | 3.2595 | 34.0498 | 3.5 | 1.9689 | 1 | 3.9378 | 32.3731 | 34.0498 | 32.5306 | 0.42229 | 6.2929 | 19.8853 | 21.4147 | 39.9545 | 43.0274 | 500.3874 | 23.3302 | 59.2619 | 97.9882 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.4297 | 0.0022344 | 307.1998 | 305.5231 | 4.4327 | -1.0104 | 5.3579 | 54.6788 | 33.2641 | 33.2115 | 5.1124 | 0.064615 | 2.0984 | 3.0141 | 0.04048 | 20.3879 | 33.0634 | 37.7961 | 9.1751 | -0.34633
33 | 10:41:39 | 2013-03-18 | m5 | 0 | 50 | sac/stab | 0 | 7715 | 0 | -33.419 | -0.019347 | -2647.8117 | -0.71095 | 3.4492 | 34.0519 | 4 | 1.8591 | 1 | 3.7183 | 32.4315 | 34.0519 | 32.6296 | 0.26319 | 26.9931 | 20.0433 | 19.4861 | 40.1382 | 39.0223 | 500.3863 | 5.9723 | 15.8821 | 97.9847 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.251 | -0.00071095 | 307.2019 | 305.5815 | 1.1347 | 0.11478 | 5.3585 | 54.6871 | 35.201 | 33.2417 | 5.1211 | -0.019448 | 1.9093 | 3.2118 | -0.012146 | -259.4451 | -98.0923 | 32.8032 | 39.1266 | -0.28018
34 | 10:44:15 | 2013-03-18 | m5 | 0 | 200 | sac/stab | 0 | 7872.5 | 0 | -8.9665 | 0.32376 | 49.5227 | 10.0115 | 3.1133 | 34.4649 | 2 | 2.2983 | 1 | 4.5965 | 32.7884 | 34.4649 | 32.8975 | 0.37265 | 3.9407 | 20.2822 | 24.1869 | 39.8064 | 47.4699 | 500.3851 | 110.084 | 150.7825 | 97.9809 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5019 | 0.010011 | 307.6149 | 305.9384 | 20.916 | -3.3782 | 5.4831 | 55.9612 | 31.7743 | 33.6266 | 5.2327 | 0.30245 | 2.3699 | 2.8629 | 0.19084 | 4.8523 | 12.567 | 44.7426 | 6.5742 | -0.61024
35 | 10:46:01 | 2013-03-18 | m5 | 0 | 150 | sac/stab | 0 | 7978.5 | 0 | -5.0529 | 0.22767 | 39.3895 | 7.7635 | 3.3752 | 35.5541 | 3 | 2.0787 | 1 | 4.1574 | 33.3342 | 35.5541 | 33.4468 | 0.42358 | 3.4371 | 20.4552 | 24.9935 | 38.9328 | 47.5706 | 500.371 | 81.7465 | 119.6626 | 97.9782 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | 0.0077635 | 308.7041 | 306.4842 | 15.5318 | -2.9675 | 5.824 | 59.4418 | 34.4483 | 34.4441 | 5.4768 | 0.21585 | 2.4488 | 3.028 | 0.13592 | 3.8593 | 11.4601 | 42.634 | 5.0779 | -0.42424
36 | 10:47:14 | 2013-03-18 | m5 | 0 | 100 | sac/stab | 0 | 8050.5 | 0 | -1.5594 | 0.038707 | 64.4264 | 1.5462 | 3.7918 | 35.8742 | 4 | 1.8591 | 1 | 3.7183 | 33.5737 | 35.8742 | 33.7264 | 0.27242 | 1.5171 | 20.5904 | 21.7994 | 38.6673 | 40.9378 | 500.3846 | 19.2099 | 54.0757 | 97.9766 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.251 | 0.0015462 | 309.0242 | 306.7237 | 3.6499 | -0.86322 | 5.9276 | 60.5005 | 38.7011 | 34.724 | 5.5626 | 0.038308 | 2.1358 | 3.4268 | 0.023978 | 6.3123 | 42.4664 | 33.9739 | 2.0833 | -0.25431
37 | 10:48:19 | 2013-03-18 | m5 | 0 | 50 | sac/stab | 0 | 8115.5 | 0 | -4.3448 | -0.0028742 | -2333.6339 | -0.12149 | 3.9689 | 36.0512 | 5 | 1.6396 | 1 | 3.2791 | 33.5706 | 36.0512 | 33.7828 | 0.18104 | 4.5229 | 20.702 | 20.5831 | 38.8842 | 38.6609 | 500.3958 | 5.7834 | 14.0342 | 97.9777 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.0008 | -0.00012149 | 309.2012 | 306.7206 | 1.0989 | -0.25527 | 5.9856 | 61.0915 | 40.5083 | 34.8109 | 5.5895 | -0.0028767 | 2.0167 | 3.5728 | -0.0017977 | -228.6442 | -515.9541 | 30.8085 | 6.3117 | -0.21208
38 | 10:54:33 | 2013-03-18 | m5 | 0 | 175 | scal | 0 | 8474.5 | 0 | 0.28424 | 0.041066 | -10.8529 | 1.5924 | 3.6793 | 35.653 | 3 | 2.0787 | 1 | 4.1574 | 33.6792 | 35.653 | 33.7393 | 0.14537 | -0.025031 | 21.2822 | 22.2158 | 39.7297 | 41.4725 | 500.3629 | 893.7446 | 1131.8645 | 97.9727 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | 0.0015924 | 308.803 | 306.8292 | 169.8115 | 0.62558 | 5.8559 | 59.7704 | 37.5546 | 34.6661 | 5.5448 | 0.040665 | 2.1765 | 3.3682 | 0.025451 | -1.0633 | 433.5843 | 35.1236 | -0.11733 | -0.8509
39 | 10:56:08 | 2013-03-18 | m5 | 0 | 150 | scal | 0 | 8586 | 0 | -0.041246 | 0.059734 | 1.2192 | 2.2904 | 3.6529 | 35.7198 | 3 | 2.0787 | 1 | 4.1574 | 33.9502 | 35.7198 | 33.9526 | 0.11862 | 0.14315 | 21.3644 | 22.7064 | 39.2832 | 41.7508 | 500.3635 | 1500.6438 | 1508.7383 | 97.9704 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | 0.0022904 | 308.8698 | 307.1002 | 285.1223 | 1.3538 | 5.8775 | 59.9922 | 37.2858 | 34.835 | 5.597 | 0.058888 | 2.2246 | 3.3724 | 0.03688 | 0.11945 | 8.5172 | 36.0865 | 0.15654 | -0.095081
40 | 10:58:17 | 2013-03-18 | m5 | 0 | 100 | scal | 0 | 8714.5 | 0 | -0.82657 | 0.064179 | 20.9526 | 2.6545 | 3.9422 | 36.831 | 4 | 1.8591 | 1 | 3.7183 | 34.3837 | 36.831 | 34.3804 | 0.11166 | 0.77073 | 21.4525 | 23.5245 | 38.5039 | 42.2228 | 500.4161 | 1031.4379 | 1103.0845 | 97.9703 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.251 | 0.0026545 | 309.981 | 307.5337 | 195.9732 | 0.44159 | 6.2469 | 63.7637 | 40.2392 | 35.6073 | 5.8411 | 0.06309 | 2.3047 | 3.5364 | 0.039528 | 2.0527 | 27.1852 | 35.1329 | 1.0708 | -0.27119
41 | 11:01:25 | 2013-03-18 | m5 | 0 | 50 | scal | 0 | 8904.5 | 0 | -10.5032 | 0.01599 | 1028.8638 | 0.70873 | 4.1732 | 37.1675 | 5 | 1.6396 | 1 | 3.2791 | 34.5823 | 37.1675 | 34.64 | 0.0086172 | 10.4964 | 21.657 | 22.3494 | 38.4444 | 39.6735 | 500.3802 | 909.7504 | 601.7964 | 97.9709 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.0008 | 0.00070873 | 310.3175 | 307.7323 | 172.8526 | 1.1191 | 6.3627 | 64.9452 | 42.5959 | 35.8749 | 5.9279 | 0.015912 | 2.1896 | 3.7383 | 0.0099521 | 100.7987 | 98.0209 | 31.7521 | 14.8205 | -0.22502
42 | 11:03:49 | 2013-03-18 | m5 | 0 | 175 | scal | 0 | 9043.5 | 0 | -1.11 | 0.20779 | 8.8965 | 8.5723 | 4.0269 | 37.3059 | 1.5 | 2.408 | 1 | 4.8161 | 34.7554 | 37.3059 | 34.6875 | 0.018438 | 0.35029 | 21.827 | 24.3343 | 38.3752 | 42.7835 | 500.3589 | 841.7751 | 1030.127 | 97.9701 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 3.3357 | 0.0085723 | 310.4559 | 307.9054 | 159.9373 | -1.8335 | 6.4109 | 65.4376 | 41.1033 | 36.0307 | 5.9789 | 0.19919 | 2.384 | 3.5948 | 0.12524 | 0.87159 | 25.3976 | 36.9551 | 0.66142 | -0.62016
43 | 11:05:50 | 2013-03-18 | m5 | 0 | 150 | scal | 0 | 9166.5 | 0 | -1.7809 | 0.18539 | 16.0217 | 8.4202 | 4.4078 | 38.6268 | 2 | 2.2983 | 1 | 4.5965 | 35.1752 | 38.6268 | 35.1012 | 0.042292 | 0.75163 | 22.0231 | 25.3037 | 37.8298 | 43.465 | 500.3424 | 121.995 | 153.1459 | 97.9692 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.5017 | 0.0084202 | 311.7768 | 308.3252 | 23.1791 | -2.9917 | 6.8868 | 70.2954 | 44.9918 | 36.901 | 6.2709 | 0.1782 | 2.479 | 3.7919 | 0.112 | 1.5696 | 21.3159 | 35.3892 | 1.2747 | -0.49443
44 | 11:08:22 | 2013-03-18 | m5 | 0 | 100 | scal | 0 | 9317 | 0 | -3.0433 | 0.086528 | 56.3442 | 4.3458 | 4.7732 | 39.35 | 2.5 | 2.1885 | 1 | 4.377 | 35.3984 | 39.35 | 35.3855 | -0.03717 | 1.4801 | 22.245 | 24.3634 | 37.7426 | 41.3367 | 500.3794 | 106.5262 | 115.1542 | 97.9692 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 2.0015 | 0.0043458 | 312.5 | 308.5484 | 20.24 | -1.7701 | 7.16 | 73.0847 | 48.7213 | 37.3742 | 6.4348 | 0.084851 | 2.3869 | 4.0479 | 0.05318 | 5.52 | 38.0673 | 31.2798 | 2.4188 | -0.39356
45 | 11:10:02 | 2013-03-18 | m5 | 0 | 50 | scal | 0 | 9421 | 0 | -6.0875 | 0.0044201 | 2119.3472 | 0.23334 | 4.9306 | 39.2863 | 3 | 2.0787 | 1 | 4.1574 | 35.401 | 39.2863 | 35.4267 | -0.13225 | 3.5171 | 22.3704 | 22.5071 | 37.9501 | 38.1821 | 500.3587 | 43.7996 | 27.9036 | 97.97 | 8.0168 | -0.88907 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111105 | 1.6679 | 0.00023334 | 312.4363 | 308.551 | 8.3219 | -0.4341 | 7.1356 | 72.8348 | 50.3277 | 37.3437 | 6.4241 | 0.0044154 | 2.205 | 4.2191 | 0.00276 | 207.6324 | 602.5808 | 27.5198 | 5.4939 | -0.30493