## tres rios boardwalk 3-26-15_.xl
OPEN 6.1.4
Thr Mar 26 2015 07:58:29
Unit= | PSC-3149
LightSource= | Sun+Sky |  | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark=
Obs | HHMMSS | date | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in |  | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:01:02 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 161.5 | 0 | -1.5732 | 0.68913 | 403.4833 | 2.0852 | 0.35927 | 14.2305 | 5.5 | 1.5298 | 1 | 3.0596 | 21.7498 | 14.2305 | 21.7608 | 400.6413 | 401.4504 | 10.6413 | 12.9036 | 40.0513 | 48.5659 | 500.4023 | 47.9785 | 68.2588 | 98.3574 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.90982 | 0.0020852 | 287.3805 | 294.8998 | 9.1159 | -0.032249 | 1.6284 | 16.5563 | 3.6527 | 17.9901 | 2.07 | 0.56245 | 1.2692 | 0.80083 | 0.36107 | 39.6856 | 1.0051 | 81.7243 | 402.1446 | -0.0031972
2 | 08:02:00 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 224.5 | 0 | 6.3624 | -6.0293 | 390.3662 | 4.7256 | 0.073623 | 14.1793 | 5.5 | 1.5298 | 1 | 3.0596 | 21.9455 | 14.1793 | 21.9419 | 400.8923 | 391.8639 | 10.6401 | 15.7523 | 39.5723 | 58.5856 | 500.398 | 603.8376 | 896.0596 | 98.3611 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.90981 | 0.0047256 | 287.3293 | 295.0955 | 114.7292 | -0.12388 | 1.623 | 16.5008 | 0.74849 | 18.0624 | 2.0794 | 6.2117 | 1.5494 | 0.53 | 5.4823 | 38.3969 | 0.99618 | 104.75 | 389.0565 | 0.01713
3 | 08:03:11 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 296 | 0 | 0.094252 | 0.30989 | 396.9933 | 1.3834 | 0.47986 | 14.7723 | 6 | 1.42 | 1 | 2.84 | 22.2147 | 14.7723 | 22.2439 | 401.4177 | 400.6402 | 10.6286 | 12.267 | 38.8863 | 44.8805 | 500.42 | 31.1553 | 43.7307 | 98.361 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83403 | 0.0013834 | 287.9223 | 295.3647 | 5.9195 | 0.29395 | 1.6864 | 17.1455 | 4.8785 | 18.4935 | 2.1364 | 0.2794 | 1.2066 | 0.92985 | 0.17713 | 39.0487 | 0.9909 | 73.9627 | 400.5954 | 0.00017402
4 | 08:04:36 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 380.5 | 0 | 15.7474 | 6.4302 | 368.4499 | 4.5224 | 0.21101 | 15.2374 | 5.5 | 1.5298 | 1 | 3.0596 | 22.641 | 15.2374 | 22.6394 | 399.8003 | 380.5994 | 10.6274 | 15.5211 | 37.8875 | 55.3341 | 500.3784 | 119.5526 | 237.1784 | 98.3619 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.90978 | 0.0045224 | 288.3874 | 295.791 | 22.715 | -1.0926 | 1.7377 | 17.6664 | 2.1452 | 18.9392 | 2.1968 | 2.0731 | 1.5267 | 0.67014 | 1.4355 | 36.2414 | 0.96808 | 96.0189 | 373.651 | 0.040467
5 | 08:07:34 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 560 | 0 | -1.1586 | 2.7738 | 398.6753 | 4.5087 | 0.29025 | 15.5687 | 5 | 1.6396 | 1 | 3.2791 | 23.1255 | 15.5687 | 23.1782 | 399.9535 | 399.3122 | 10.6573 | 15.0944 | 36.8969 | 52.2587 | 500.3976 | 36.7838 | 42.6912 | 98.3663 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0008 | 0.0045087 | 288.7187 | 296.2755 | 6.9889 | -1.1659 | 1.775 | 18.0452 | 2.9507 | 19.3471 | 2.2534 | 1.5027 | 1.4848 | 0.76862 | 1.0054 | 39.2162 | 0.9984 | 90.9921 | 399.7892 | -0.0026369
6 | 08:09:00 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 646 | 0 | 22.0959 | -5.4524 | 375.3709 | 7.1444 | 0.070725 | 15.2888 | 4.5 | 1.7493 | 1 | 3.4987 | 23.4606 | 15.2888 | 23.4794 | 400.101 | 377.803 | 10.689 | 17.0047 | 36.266 | 57.694 | 500.3934 | 92.8491 | 697.4955 | 98.368 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.112 | 0.0071444 | 288.4388 | 296.6106 | 17.6413 | -2.0873 | 1.7434 | 17.7237 | 0.71899 | 19.3747 | 2.2573 | 9.7643 | 1.6727 | 0.58455 | 10.1912 | 36.9245 | 0.99356 | 107.3931 | 369.2771 | 0.064259
7 | 08:14:36 | 2015-03-26 | bw | 0 | 250 | sac/stab | 0 | 955 | 0 | -24.9595 | 0.58424 | 476.7596 | 3.997 | 0.74276 | 16.8706 | 1.5 | 2.408 | 1 | 4.8161 | 24.7687 | 16.8706 | 24.7846 | 399.6479 | 406.6423 | 10.8709 | 12.0545 | 34.1019 | 37.8151 | 500.4188 | 539.805 | 1421.5837 | 98.3793 | 17.7094 | -0.51277 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3361 | 0.003997 | 290.0206 | 297.9187 | 102.5629 | 0.095105 | 1.9287 | 19.6045 | 7.55 | 20.8197 | 2.4684 | 0.52103 | 1.1859 | 1.2825 | 0.33079 | 46.9033 | 1.1724 | 65.1026 | 413.6387 | -0.039284
8 | 08:17:38 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 1164 | 0 | -18.7239 | 0.15165 | 607.4716 | 1.1672 | 0.7725 | 16.9096 | 3 | 2.0787 | 1 | 4.1574 | 25.4853 | 16.9096 | 25.4917 | 399.2711 | 410.2108 | 11.1089 | 11.8005 | 33.3934 | 35.4723 | 500.3374 | 1052.4392 | 1143.9629 | 98.3819 | 17.7094 | -0.51277 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6678 | 0.0011672 | 290.0596 | 298.6353 | 199.9634 | 2.0684 | 1.9335 | 19.6525 | 7.852 | 21.1975 | 2.5264 | 0.14631 | 1.161 | 1.3654 | 0.091909 | 59.7642 | 1.4809 | 60.8359 | 416.2908 | -0.027363
10 | 08:20:56 | 2015-03-26 | b3w | 0 | 150 | scal | 0 | 1360 | 0 | -13.8553 | 0.011694 | 2290.5339 | 0.1085 | 0.90104 | 17.641 | 4 | 1.8591 | 1 | 3.7183 | 25.5864 | 17.641 | 25.6708 | 398.7223 | 409.7641 | 11.3385 | 11.4243 | 33.8795 | 34.1357 | 500.3143 | 21.2983 | 32.4106 | 98.3817 | 17.7094 | -0.51277 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2508 | 0.0001085 | 290.791 | 298.7364 | 4.0467 | 0.81922 | 2.025 | 20.5829 | 9.1586 | 21.6137 | 2.5916 | 0.011657 | 1.1239 | 1.4677 | 0.0072889 | 225.3466 | 5.5899 | 54.9219 | 414.7946 | -0.018345
11 | 08:23:30 | 2015-03-26 | b3w | 0 | 200 | scal | 0 | 1504.5 | 0 | 59.7382 | 14.7703 | 366.2562 | 26.361 | 0.65746 | 17.7444 | 0.5 | 2.6276 | 1 | 5.2552 | 25.7506 | 17.7444 | 25.7309 | 398.991 | 391.9887 | 11.4373 | 14.0346 | 33.8438 | 41.5293 | 500.3489 | 300.3816 | 1430.6523 | 98.3826 | 17.7094 | -0.51277 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.007 | 0.026361 | 290.8944 | 298.9006 | 57.0725 | -6.9814 | 2.0382 | 20.7173 | 6.6827 | 21.7475 | 2.6129 | 3.8761 | 1.3808 | 1.2322 | 2.7099 | 36.0333 | 0.93435 | 91.3853 | 376.6427 | 0.14494
12 | 08:25:08 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 1611.5 | 0 | -0.32064 | 0.59851 | 394.0335 | 4.532 | 0.82731 | 18.4468 | 2 | 2.2983 | 1 | 4.5965 | 26.068 | 18.4468 | 26.075 | 399.0099 | 398.4164 | 11.455 | 13.2426 | 33.2665 | 38.4576 | 500.3555 | 53.7711 | 77.217 | 98.3865 | 17.7094 | -0.51277 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5018 | 0.004532 | 291.5968 | 299.218 | 10.2165 | -0.81488 | 2.1302 | 21.6513 | 8.4088 | 22.2574 | 2.6954 | 0.52956 | 1.3029 | 1.3926 | 0.33655 | 38.7676 | 0.989 | 65.027 | 398.5105 | -0.00052321
13 | 08:33:13 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 2090 | 0 | -30.2306 | 0.35093 | 547.4625 | 3.3849 | 1.0005 | 19.0622 | 1.5 | 2.408 | 1 | 4.8161 | 26.4048 | 19.0622 | 26.508 | 400.2237 | 408.8717 | 11.3292 | 12.3314 | 32.2543 | 35.1077 | 500.3445 | 120.9334 | 273.3173 | 98.3906 | 20.0158 | -0.45858 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3356 | 0.0033849 | 292.2122 | 299.5548 | 22.9773 | -0.32949 | 2.2138 | 22.4997 | 10.1682 | 22.7335 | 2.7746 | 0.32709 | 1.2133 | 1.5613 | 0.20645 | 53.8652 | 1.339 | 57.1299 | 417.3456 | -0.041382
14 | 08:35:06 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 2213.5 | 0 | -53.5419 | 0.066366 | 1714.7772 | 0.75714 | 1.1197 | 19.4544 | 2.5 | 2.1885 | 1 | 4.377 | 26.6094 | 19.4544 | 26.7715 | 400.4035 | 426.9971 | 11.3022 | 11.6762 | 31.7913 | 32.843 | 500.2957 | 43.9853 | 82.1151 | 98.3889 | 20.0158 | -0.45858 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0012 | 0.00075714 | 292.6044 | 299.7594 | 8.3572 | 0.44684 | 2.2685 | 23.0565 | 11.3803 | 23.0319 | 2.8252 | 0.065375 | 1.1488 | 1.6764 | 0.040947 | 168.7151 | 4.0159 | 50.5196 | 443.5113 | -0.060989
15 | 09:10:52 | 2015-03-26 | bw | 0 | 200 | sac/stab | 0 | 4347 | 0 | -10.5363 | 0.93518 | 414.9698 | 10.5539 | 1.2969 | 23.0631 | 1.5 | 2.408 | 1 | 4.8161 | 28.1682 | 23.0631 | 28.1305 | 400.669 | 402.554 | 12.4684 | 15.5831 | 32.0201 | 40.019 | 500.3392 | 366.5988 | 905.5505 | 98.415 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3356 | 0.010554 | 296.2131 | 301.3182 | 69.6538 | -2.4975 | 2.8305 | 28.761 | 13.1779 | 25.6156 | 3.2983 | 0.78312 | 1.5336 | 1.7647 | 0.50116 | 40.8393 | 1.0308 | 60.7616 | 405.5075 | -0.015788
16 | 09:13:17 | 2015-03-26 | bw | 0 | 150 | sac/stab | 0 | 4501.5 | 0 | -54.8062 | 0.32356 | 695.2482 | 4.6843 | 1.4916 | 23.5304 | 2 | 2.2983 | 1 | 4.5965 | 28.8929 | 23.5304 | 28.8567 | 400.4928 | 421.6109 | 12.5821 | 14.4275 | 30.9816 | 35.5258 | 500.3398 | 1108.6904 | 1226.7227 | 98.4184 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5017 | 0.0046843 | 296.6804 | 302.0429 | 210.6512 | 0.51067 | 2.9115 | 29.5831 | 15.1556 | 26.2116 | 3.4167 | 0.30228 | 1.4199 | 1.9968 | 0.19073 | 68.4252 | 1.649 | 51.0616 | 437.7075 | -0.063935
17 | 09:14:56 | 2015-03-26 | bw | 0 | 100 | sac/stab | 0 | 4603.5 | 0 | -58.2811 | 0.25379 | 790.9257 | 4.2636 | 1.7046 | 24.6597 | 2 | 2.2983 | 1 | 4.5965 | 29.1779 | 24.6597 | 29.1918 | 400.6352 | 423.2112 | 12.6586 | 14.3385 | 30.6599 | 34.7288 | 500.3243 | 123.9461 | 423.3971 | 98.4177 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5016 | 0.0042636 | 297.8097 | 302.3279 | 23.5498 | -0.86376 | 3.1157 | 31.6583 | 17.3199 | 26.9188 | 3.5621 | 0.24051 | 1.4112 | 2.151 | 0.15146 | 77.8411 | 1.8689 | 46.9334 | 440.3283 | -0.06212
18 | 09:16:55 | 2015-03-26 | bw | 0 | 150 | sac/stab | 0 | 4721 | 0 | 56.0036 | 4.8952 | 352.5524 | 37.8589 | 1.4352 | 24.3372 | 0.5 | 2.6276 | 1 | 5.2552 | 29.5511 | 24.3372 | 29.4948 | 400.8443 | 393.7575 | 12.7486 | 16.4699 | 30.2204 | 39.0416 | 500.3046 | 1349.3474 | 1466.1614 | 98.4186 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.0061 | 0.037859 | 297.4872 | 302.7011 | 256.376 | -9.238 | 3.0562 | 31.0529 | 14.5831 | 26.9442 | 3.5674 | 2.5344 | 1.6209 | 1.9465 | 1.702 | 34.6977 | 0.89535 | 75.0943 | 379.3709 | 0.11086
19 | 09:18:57 | 2015-03-26 | bw | 0 | 100 | sac/stab | 0 | 4844.5 | 0 | 20.89 | 1.5081 | 355.5955 | 17.555 | 1.4661 | 25.2998 | 1.5 | 2.408 | 1 | 4.8161 | 29.9466 | 25.2998 | 29.8796 | 400.8648 | 392.5361 | 12.8242 | 17.9925 | 29.716 | 41.6919 | 500.3359 | 902.8024 | 1258.1185 | 98.4197 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3356 | 0.017555 | 298.4498 | 303.0966 | 171.5325 | -4.0536 | 3.237 | 32.8893 | 14.8968 | 27.6232 | 3.7123 | 1.1485 | 1.7708 | 1.9415 | 0.74327 | 34.9976 | 0.90589 | 64.6068 | 386.6804 | 0.034903
20 | 09:22:21 | 2015-03-26 | bw | 0 | 50 | sac/stab | 0 | 5047.5 | 0 | -17.2511 | 0.67299 | 437.2386 | 11.8019 | 1.9157 | 26.7974 | 1.5 | 2.408 | 1 | 4.8161 | 30.2745 | 26.7974 | 30.2748 | 400.7996 | 404.5401 | 12.9897 | 16.4696 | 29.5407 | 37.4545 | 500.3418 | 101.4561 | 304.1248 | 98.4276 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3356 | 0.011802 | 299.9474 | 303.4245 | 19.2767 | -3.3976 | 3.5368 | 35.9329 | 19.4633 | 28.5359 | 3.915 | 0.59048 | 1.6211 | 2.294 | 0.37567 | 43.0363 | 1.0808 | 51.1966 | 409.3758 | -0.021574
21 | 09:24:38 | 2015-03-26 | bw | 0 | 100 | sac/stab | 0 | 5182.5 | 0 | 41.5027 | 2.664 | 343.1499 | 33.3464 | 1.8294 | 27.8571 | 1 | 2.5178 | 1 | 5.0357 | 30.7796 | 27.8571 | 30.7537 | 400.9306 | 390.0357 | 13.1134 | 19.6475 | 28.9736 | 43.4106 | 500.3153 | 265.8544 | 1208.2266 | 98.4317 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0032 | 0.033346 | 301.0071 | 303.9296 | 50.5123 | -9.8125 | 3.7633 | 38.2331 | 18.5856 | 29.3183 | 4.0965 | 1.7423 | 1.9339 | 2.1625 | 1.1459 | 33.7768 | 0.87979 | 67.2602 | 378.9093 | 0.073672
22 | 09:26:13 | 2015-03-26 | bw | 0 | 50 | sac/stab | 0 | 5281 | 0 | -24.7583 | 0.70659 | 456.8851 | 13.3702 | 2.0864 | 28.4891 | 2 | 2.2983 | 1 | 4.5965 | 31.0452 | 28.4891 | 31.0906 | 400.5487 | 408.2633 | 13.2237 | 18.4694 | 28.7781 | 40.1941 | 500.3444 | 108.7956 | 159.3047 | 98.4324 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5017 | 0.01337 | 301.6391 | 304.1952 | 20.6712 | -4.1424 | 3.9044 | 39.6658 | 21.1965 | 29.7671 | 4.2038 | 0.61244 | 1.818 | 2.3858 | 0.39025 | 44.9723 | 1.1191 | 52.2958 | 415.5348 | -0.031159
23 | 09:28:33 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 5415 | 0 | 19.8922 | 0.90225 | 337.4131 | 15.3816 | 1.9486 | 28.2976 | 2 | 2.2983 | 1 | 4.5965 | 31.2287 | 28.2976 | 31.2509 | 400.5598 | 390.2094 | 13.4008 | 19.4296 | 28.8609 | 41.8449 | 500.3532 | 1005.6248 | 1039.7175 | 98.4341 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5018 | 0.015382 | 301.4476 | 304.3787 | 191.0687 | -3.4798 | 3.8612 | 39.2259 | 19.7963 | 29.7631 | 4.2028 | 0.75421 | 1.9125 | 2.2903 | 0.48277 | 33.213 | 0.8647 | 56.5388 | 384.3671 | 0.029261
24 | 09:30:15 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 5524 | 0 | 20.9167 | 0.44671 | 291.5635 | 9.4033 | 2.2251 | 29.3364 | 3 | 2.0787 | 1 | 4.1574 | 31.5917 | 29.3364 | 31.6186 | 400.5471 | 385.8311 | 13.524 | 19.0543 | 28.5319 | 40.1995 | 500.3699 | 776.9261 | 945.9102 | 98.4366 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6679 | 0.0094033 | 302.4864 | 304.7417 | 147.616 | -2.0196 | 4.1007 | 41.6585 | 22.6042 | 30.464 | 4.3753 | 0.40337 | 1.8756 | 2.4997 | 0.25567 | 28.7005 | 0.75568 | 49.4701 | 379.039 | 0.027299
25 | 09:31:45 | 2015-03-26 | bw | 0 | 150 | typ | 0 | 5612.5 | 0 | 16.0729 | 0.373 | 301.4826 | 8.1342 | 2.2693 | 29.2542 | 3 | 2.0787 | 1 | 4.1574 | 31.7034 | 29.2542 | 31.7318 | 400.2248 | 388.6913 | 13.6202 | 18.4078 | 28.5537 | 38.5907 | 500.317 | 872.2145 | 994.0088 | 98.438 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6677 | 0.0081342 | 302.4042 | 304.8534 | 165.7207 | -1.3763 | 4.0813 | 41.4607 | 23.0529 | 30.4788 | 4.379 | 0.34229 | 1.812 | 2.567 | 0.21649 | 29.6774 | 0.77564 | 47.4015 | 383.4721 | 0.019868
26 | 09:33:29 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 5716.5 | 0 | 11.2798 | 0.43021 | 326.6287 | 8.3886 | 2.1005 | 29.9902 | 5 | 1.6396 | 1 | 3.2791 | 31.877 | 29.9902 | 31.9268 | 400.1562 | 385.6514 | 13.7181 | 21.9172 | 28.4779 | 45.4986 | 500.3497 | 637.5538 | 910.9586 | 98.4396 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0007 | 0.0083886 | 303.1402 | 305.027 | 121.1352 | -2.3468 | 4.2581 | 43.2555 | 21.3383 | 30.9336 | 4.4943 | 0.38031 | 2.1575 | 2.3368 | 0.24173 | 32.1532 | 0.84695 | 54.9215 | 381.0076 | 0.01626
27 | 09:34:54 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 5803 | 0 | 2.5419 | 0.16337 | 354.1426 | 3.993 | 2.4571 | 29.9172 | 5.5 | 1.5298 | 1 | 3.0596 | 32.047 | 29.9172 | 32.1054 | 400.0349 | 395.5047 | 13.804 | 18.1139 | 28.3826 | 37.244 | 500.3418 | 1065.3912 | 1094.5935 | 98.4425 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.90971 | 0.003993 | 303.0672 | 305.197 | 202.4243 | 0.57544 | 4.2402 | 43.0733 | 24.9594 | 30.9821 | 4.5068 | 0.15509 | 1.7832 | 2.7236 | 0.09764 | 34.8627 | 0.89542 | 43.2548 | 394.3831 | 0.0027879
28 | 09:36:33 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 5900.5 | 0 | 12.7027 | 0.51489 | 335.0937 | 13.0009 | 2.6655 | 30.6022 | 1.5 | 2.408 | 1 | 4.8161 | 32.1201 | 30.6022 | 32.1823 | 399.6063 | 394.2617 | 13.8928 | 17.7212 | 28.4483 | 36.2877 | 500.3619 | 626.9285 | 844.8176 | 98.4462 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3357 | 0.013001 | 303.7522 | 305.2701 | 119.1164 | -3.2076 | 4.4101 | 44.7966 | 27.0755 | 31.3611 | 4.6051 | 0.46516 | 1.7446 | 2.8605 | 0.29482 | 32.9887 | 0.84993 | 43.6349 | 390.701 | 0.014187
29 | 09:38:41 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 6029.5 | 0 | 56.8933 | 1.698 | 308.6982 | 36.9935 | 2.7481 | 30.8931 | 0.5 | 2.6276 | 1 | 5.2552 | 32.333 | 30.8931 | 32.3599 | 399.8854 | 392.7481 | 14.0007 | 17.6323 | 28.3262 | 35.6737 | 500.3463 | 943.8239 | 1164.4371 | 98.4452 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.0069 | 0.036994 | 304.0431 | 305.483 | 179.3265 | -9.7474 | 4.484 | 45.5478 | 27.9155 | 31.6131 | 4.6715 | 1.2833 | 1.7358 | 2.9357 | 0.83127 | 30.3898 | 0.786 | 52.1674 | 378.1329 | 0.07849
30 | 09:42:01 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 6222 | 0 | 18.6478 | 0.23693 | 245.3807 | 7.2795 | 3.0723 | 31.6401 | 1.5 | 2.408 | 1 | 4.8161 | 32.715 | 31.6401 | 32.6891 | 399.4149 | 392.9662 | 14.1702 | 16.3171 | 28.0593 | 32.3106 | 500.2943 | 548.4286 | 1567.2018 | 98.4488 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3353 | 0.0072795 | 304.7901 | 305.865 | 104.2014 | -1.4976 | 4.6787 | 47.5239 | 31.2068 | 32.1775 | 4.8233 | 0.22582 | 1.6064 | 3.2169 | 0.1421 | 24.1574 | 0.62443 | 35.3499 | 387.739 | 0.017001
31 | 09:43:21 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 6308 | 0 | -5.0689 | 0.054864 | 524.6088 | 1.8957 | 3.3326 | 32.1148 | 2 | 2.2983 | 1 | 4.5965 | 32.7044 | 32.1148 | 32.7358 | 399.4048 | 401.1271 | 14.2219 | 14.9683 | 28.1784 | 29.6575 | 500.3041 | 191.8303 | 1017.9527 | 98.4492 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5015 | 0.0018957 | 305.2648 | 305.8544 | 36.4478 | -0.30605 | 4.8062 | 48.819 | 33.8506 | 32.4096 | 4.8869 | 0.054217 | 1.4736 | 3.4133 | 0.033943 | 51.6473 | 1.3078 | 29.2214 | 402.6158 | -0.0036789
32 | 09:49:09 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 6658 | 0 | 41.5852 | 0.58026 | 251.7445 | 17.2575 | 3.147 | 31.8341 | 0.5 | 2.6276 | 1 | 5.2552 | 32.2535 | 31.8341 | 32.2937 | 398.9049 | 394.0694 | 14.3868 | 16.0837 | 29.2394 | 32.6882 | 500.321 | 321.65 | 1070.2108 | 98.449 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.0064 | 0.017258 | 304.9841 | 305.4035 | 61.1135 | -4.7175 | 4.7304 | 48.0494 | 31.9657 | 32.0438 | 4.7869 | 0.52256 | 1.5834 | 3.2035 | 0.33134 | 24.784 | 0.63883 | 38.1037 | 383.3867 | 0.04133
33 | 09:50:32 | 2015-03-26 | bw | 0 | 100 | scal | 0 | 6740 | 0 | 6.8089 | 0.21911 | 324.7221 | 6.8745 | 3.1291 | 32.1461 | 2 | 2.2983 | 1 | 4.5965 | 32.2209 | 32.1461 | 32.2675 | 399.0885 | 395.2801 | 14.4202 | 17.1214 | 29.361 | 34.861 | 500.2775 | 179.9423 | 644.7832 | 98.448 | 20.2358 | -0.5062 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5014 | 0.0068745 | 305.2961 | 305.3709 | 34.189 | -2.0558 | 4.8147 | 48.906 | 31.7846 | 32.1835 | 4.8249 | 0.20914 | 1.6856 | 3.1393 | 0.13158 | 31.9682 | 0.8215 | 35.848 | 393.2804 | 0.0062064
34 | 09:52:44 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 6872 | 0 | 42.8722 | 0.68186 | 265.4335 | 19.3574 | 3.0571 | 31.5513 | 0.5 | 2.6276 | 1 | 5.2552 | 32.1232 | 31.5513 | 32.1106 | 398.894 | 393.8477 | 14.3304 | 16.2334 | 29.3385 | 33.2346 | 500.3344 | 1062.3428 | 1285.376 | 98.4438 | 20.2358 | -0.5062 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.0067 | 0.019357 | 304.7013 | 305.2732 | 201.8451 | -4.3791 | 4.6552 | 47.2874 | 31.054 | 31.8372 | 4.7313 | 0.60355 | 1.5981 | 3.1332 | 0.38355 | 26.1303 | 0.67395 | 39.9646 | 382.8344 | 0.044755
35 | 09:54:46 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 6993 | 0 | -8.6695 | 0.16213 | 466.0544 | 5.3687 | 3.2635 | 32.3546 | 2 | 2.2983 | 1 | 4.5965 | 32.1486 | 32.3546 | 32.1893 | 398.9906 | 401.5946 | 14.2265 | 16.3377 | 29.0827 | 33.3987 | 500.2683 | 217.9241 | 612.7648 | 98.4394 | 20.2358 | -0.5062 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5013 | 0.0053687 | 305.5046 | 305.2986 | 41.4056 | -1.5173 | 4.8718 | 49.4901 | 33.1523 | 32.2516 | 4.8435 | 0.15661 | 1.6083 | 3.2352 | 0.098363 | 45.8781 | 1.1605 | 33.0923 | 404.1409 | -0.0070989
36 | 10:14:10 | 2015-03-26 | bw | 0 | 150 | sac/stab | 0 | 8152.5 | 0 | 40.705 | 0.64135 | 255.0277 | 24.6228 | 4.0922 | 35.9705 | 1 | 2.5178 | 1 | 5.0357 | 34.5348 | 35.9705 | 34.4612 | 399.6628 | 389.6085 | 14.1319 | 18.9605 | 25.2785 | 33.9157 | 500.2633 | 1452.1814 | 1493.8915 | 98.4616 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0026 | 0.024623 | 309.1205 | 307.6848 | 275.9145 | -5.8257 | 5.9591 | 60.5223 | 41.5618 | 35.2527 | 5.7279 | 0.56889 | 1.8669 | 3.861 | 0.36143 | 25.1104 | 0.65457 | 36.5653 | 378.696 | 0.039303
37 | 10:16:39 | 2015-03-26 | bw | 0 | 100 | sac/stab | 0 | 8305 | 0 | 31.4576 | 0.49995 | 253.1051 | 18.7744 | 3.9305 | 36.1735 | 2 | 2.2983 | 1 | 4.5965 | 34.5977 | 36.1735 | 34.53 | 399.5395 | 384.0812 | 13.9365 | 21.2821 | 24.8416 | 37.9351 | 500.2933 | 1446.0752 | 1621.3322 | 98.46 | 22.9719 | -0.46268 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5015 | 0.018774 | 309.3235 | 307.7477 | 274.7543 | -4.379 | 6.026 | 61.2021 | 39.92 | 35.3856 | 5.7701 | 0.4509 | 2.0954 | 3.6747 | 0.28585 | 24.9207 | 0.65899 | 38.6414 | 374.8421 | 0.032429
38 | 10:18:55 | 2015-03-26 | bw | 0 | 200 | sac/stab | 0 | 8439.5 | 0 | 25.0887 | 0.47814 | 275.8131 | 18.9706 | 4.121 | 36.1914 | 1.5 | 2.408 | 1 | 4.8161 | 34.811 | 36.1914 | 34.702 | 399.5682 | 389.8284 | 13.83 | 19.4077 | 24.3612 | 34.1861 | 500.2758 | 1846.1012 | 1950.4788 | 98.4581 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3352 | 0.018971 | 309.3414 | 307.961 | 350.7592 | -3.6866 | 6.0319 | 61.2634 | 41.8558 | 35.5012 | 5.807 | 0.43496 | 1.9108 | 3.8962 | 0.27542 | 27.156 | 0.70752 | 35.2371 | 382.7958 | 0.023095
39 | 10:21:49 | 2015-03-26 | bw | 0 | 150 | sac/stab | 0 | 8616 | 0 | 20.2295 | 0.42054 | 280.8318 | 16.042 | 3.9454 | 36.2992 | 2.5 | 2.1885 | 1 | 4.377 | 34.7783 | 36.2992 | 34.7236 | 399.3646 | 386.1593 | 13.7111 | 21.5552 | 24.1955 | 38.0376 | 500.2574 | 1615.7556 | 1600.8516 | 98.4571 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.001 | 0.016042 | 309.4492 | 307.9283 | 306.9936 | -3.351 | 6.0677 | 61.6278 | 40.0726 | 35.5388 | 5.8191 | 0.38367 | 2.1223 | 3.6968 | 0.24286 | 27.6499 | 0.72724 | 38.1018 | 379.9198 | 0.020288
40 | 10:23:58 | 2015-03-26 | bw | 0 | 250 | sac/stab | 0 | 8739 | 0 | 30.0444 | 0.42435 | 247.3004 | 17.9955 | 4.3497 | 36.1893 | 1 | 2.5178 | 1 | 5.0357 | 34.5452 | 36.1893 | 34.4782 | 399.4265 | 392.0105 | 13.5424 | 17.0783 | 24.2085 | 30.5291 | 500.2573 | 1672.913 | 1699.6328 | 98.4553 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0026 | 0.017995 | 309.3393 | 307.6952 | 317.8535 | -3.4926 | 6.0312 | 61.2582 | 44.1799 | 35.3673 | 5.7643 | 0.39137 | 1.6814 | 4.0828 | 0.24737 | 24.348 | 0.63085 | 30.7728 | 383.9559 | 0.02408
41 | 10:25:37 | 2015-03-26 | bw | 0 | 200 | sac/stab | 0 | 8844 | 0 | 23.3265 | 0.2761 | 221.4367 | 11.5971 | 4.2184 | 36.3806 | 2.5 | 2.1885 | 1 | 4.377 | 34.6978 | 36.3806 | 34.6744 | 399.2982 | 385.4079 | 13.3733 | 19.0582 | 23.7049 | 33.7816 | 500.2786 | 1771.3513 | 1800.6464 | 98.4569 | 22.9719 | -0.46268 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0011 | 0.011597 | 309.5306 | 307.8478 | 336.5567 | -1.5663 | 6.0948 | 61.9034 | 42.8452 | 35.5392 | 5.8192 | 0.25972 | 1.8764 | 3.9428 | 0.16372 | 21.802 | 0.57455 | 32.1472 | 378.2132 | 0.019827
42 | 10:28:32 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 9013.5 | 0 | 29.8412 | 0.64836 | 284.5258 | 27.2249 | 4.4741 | 36.9736 | 1 | 2.5178 | 1 | 5.0357 | 34.983 | 36.9736 | 34.861 | 399.595 | 391.4978 | 13.1601 | 18.5025 | 22.9607 | 32.2818 | 500.1679 | 1779.3429 | 1779.9644 | 98.4558 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0017 | 0.027225 | 310.1236 | 308.133 | 338.0751 | -6.2409 | 6.2958 | 63.9452 | 45.4427 | 35.9783 | 5.9617 | 0.57441 | 1.8217 | 4.14 | 0.36499 | 28.0132 | 0.72676 | 34.3342 | 383.4977 | 0.026717
43 | 10:31:24 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 9189 | 0 | -5.3594 | 0.16434 | 420.4792 | 8.3335 | 4.972 | 38.4453 | 3.5 | 1.9689 | 1 | 3.9378 | 35.5364 | 38.4453 | 35.4211 | 399.5375 | 400.9496 | 13.0445 | 18.7659 | 22.0733 | 31.7547 | 500.2279 | 1602.8336 | 1723.7916 | 98.4553 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4292 | 0.0083335 | 311.5953 | 308.6864 | 304.5384 | -0.87855 | 6.8196 | 69.2664 | 50.5005 | 36.9909 | 6.3017 | 0.15775 | 1.8476 | 4.4541 | 0.099168 | 41.3984 | 1.0487 | 26.7907 | 402.7869 | -0.0035647
44 | 10:33:44 | 2015-03-26 | bw | 0 | 250 | scal | 0 | 9328.5 | 0 | 20.3461 | 0.25015 | 227.4357 | 13.683 | 5.4128 | 39.1674 | 1.5 | 2.408 | 1 | 4.8161 | 35.8895 | 39.1674 | 35.759 | 399.3669 | 391.6586 | 13.004 | 17.0373 | 21.5802 | 28.2735 | 500.2109 | 1299.0474 | 1370.6556 | 98.4524 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3347 | 0.013683 | 312.3174 | 309.0395 | 246.819 | -2.9142 | 7.0902 | 72.0162 | 54.9789 | 37.5284 | 6.489 | 0.2378 | 1.6774 | 4.8117 | 0.14968 | 22.3916 | 0.5807 | 24.045 | 385.9554 | 0.012676
45 | 10:35:41 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 9449.5 | 0 | -10.0028 | 0.078348 | 565.0018 | 4.5357 | 5.5496 | 39.0601 | 2.5 | 2.1885 | 1 | 4.377 | 35.9764 | 39.0601 | 35.8727 | 399.037 | 403.1225 | 13.0016 | 15.234 | 21.4729 | 25.1599 | 500.2063 | 1238.9775 | 1314.5243 | 98.4506 | 22.9719 | -0.46268 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0008 | 0.0045357 | 312.2101 | 309.1264 | 235.4057 | -0.035541 | 7.0494 | 71.6033 | 56.3694 | 37.5182 | 6.4854 | 0.076971 | 1.4998 | 4.9856 | 0.048229 | 55.6248 | 1.4016 | 19.1495 | 406.2077 | -0.0047155
46 | 10:38:02 | 2015-03-26 | bw | 0 | 200 | scal | 0 | 9587.5 | 0 | 54.2276 | 0.63315 | 213.8188 | 32.6071 | 5.4319 | 39.0125 | 0.5 | 2.6276 | 1 | 5.2552 | 36.0034 | 39.0125 | 35.8365 | 399.25 | 392.5498 | 13.0395 | 16.2461 | 21.5034 | 26.7913 | 500.1884 | 1803.5594 | 1932.4313 | 98.4497 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 10.0038 | 0.032607 | 312.1625 | 309.1534 | 342.6763 | -7.6547 | 7.0314 | 71.4209 | 55.1748 | 37.508 | 6.4818 | 0.56507 | 1.5994 | 4.8824 | 0.35872 | 21.0504 | 0.54469 | 27.8929 | 378.6194 | 0.03995
47 | 10:40:50 | 2015-03-26 | bw | 0 | 150 | scal | 0 | 9752.5 | 0 | 4.2352 | 0.043881 | 209.9262 | 2.775 | 6.0047 | 39.954 | 2 | 2.2983 | 1 | 4.5965 | 36.0519 | 39.954 | 35.924 | 398.6802 | 396.547 | 13.0328 | 14.1266 | 21.4348 | 23.2337 | 500.2326 | 458.4389 | 768.7333 | 98.4479 | 22.9719 | -0.46268 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.002775 | 313.104 | 309.2019 | 87.1034 | -0.65416 | 7.3954 | 75.1204 | 60.9938 | 38.003 | 6.6583 | 0.043466 | 1.3907 | 5.2676 | 0.027203 | 20.6668 | 0.52939 | 15.8165 | 395.3031 | 0.0016945
48 | 10:43:41 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 9921 | 0 | 20.4379 | 0.33005 | 257.9719 | 15.8659 | 4.8503 | 38.2064 | 2 | 2.2983 | 1 | 4.5965 | 35.6724 | 38.2064 | 35.6388 | 400.2167 | 389.5739 | 12.8926 | 19.1149 | 21.6515 | 32.101 | 500.2233 | 1528.1362 | 239.2754 | 98.4468 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5011 | 0.015866 | 311.3564 | 308.8224 | 290.3459 | -3.3697 | 6.7321 | 68.3831 | 49.2683 | 36.9394 | 6.284 | 0.30794 | 1.8818 | 4.4023 | 0.19433 | 25.3965 | 0.66219 | 29.704 | 383.5713 | 0.015827
49 | 10:45:39 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 10047 | 0 | 17.0968 | 0.36971 | 280.7918 | 16.8283 | 4.6541 | 38.5839 | 3 | 2.0787 | 1 | 4.1574 | 35.7843 | 38.5839 | 35.75 | 400.7226 | 386.5686 | 12.6539 | 22.5185 | 21.1189 | 37.5824 | 500.2543 | 1493.697 | 1504.2927 | 98.441 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.016828 | 311.7339 | 308.9343 | 283.8024 | -4.1233 | 6.8708 | 69.7965 | 47.278 | 37.1841 | 6.3685 | 0.33951 | 2.2167 | 4.1518 | 0.21472 | 27.6414 | 0.72637 | 34.7847 | 381.0169 | 0.015608
50 | 10:46:50 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 10118.5 | 0 | 13.7081 | 0.25453 | 268.6664 | 12.8714 | 5.0508 | 39.3181 | 3.5 | 1.9689 | 1 | 3.9378 | 35.9404 | 39.3181 | 35.9418 | 400.706 | 387.6245 | 12.4889 | 21.3025 | 20.6647 | 35.248 | 500.2521 | 883.0366 | 909.2415 | 98.4388 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.012871 | 312.4681 | 309.0904 | 167.777 | -3.8789 | 7.1478 | 72.6118 | 51.3093 | 37.6293 | 6.5247 | 0.23908 | 2.097 | 4.4277 | 0.15074 | 26.4472 | 0.69311 | 30.3575 | 382.925 | 0.010867
51 | 10:48:08 | 2015-03-26 | bw | 0 | 150 | typ | 0 | 10195 | 0 | 10.0738 | 0.23924 | 291.55 | 12.2232 | 5.078 | 38.9136 | 3 | 2.0787 | 1 | 4.1574 | 35.9614 | 38.9136 | 35.9988 | 400.4477 | 391.5357 | 12.2763 | 19.4644 | 20.2892 | 32.1691 | 500.214 | 1399.4666 | 1489.9235 | 98.4381 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6674 | 0.012223 | 312.0636 | 309.1114 | 265.8986 | -2.5951 | 6.994 | 71.0501 | 51.5857 | 37.4375 | 6.457 | 0.22623 | 1.916 | 4.541 | 0.14251 | 28.6996 | 0.74463 | 28.0917 | 388.2645 | 0.0072886
52 | 10:50:31 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 10334.5 | 0 | 14.4168 | 0.3084 | 275.3179 | 13.5523 | 4.505 | 38.8832 | 5 | 1.6396 | 1 | 3.2791 | 36.1572 | 38.8832 | 36.1416 | 400.6407 | 381.0688 | 11.9646 | 25.1697 | 19.562 | 41.1521 | 500.2345 | 1732.983 | 1782.7831 | 98.4358 | 22.9719 | -0.46268 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0005 | 0.013552 | 312.0332 | 309.3072 | 329.2668 | -3.1183 | 6.9826 | 70.9358 | 45.7661 | 37.5202 | 6.4861 | 0.28189 | 2.4776 | 4.0085 | 0.17839 | 27.1011 | 0.72249 | 38.0518 | 375.1334 | 0.014624
53 | 10:51:55 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 10424.5 | 0 | 23.9516 | 0.3958 | 253.6379 | 19.5329 | 5.0482 | 39.3219 | 2.5 | 2.1885 | 1 | 4.377 | 36.299 | 39.3219 | 36.284 | 400.8607 | 385.131 | 11.7913 | 21.3448 | 19.1289 | 34.6275 | 500.2356 | 1275.1832 | 1548.583 | 98.4342 | 22.9719 | -0.46268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0009 | 0.019533 | 312.4719 | 309.449 | 242.2848 | -5.2397 | 7.1493 | 72.63 | 51.2852 | 37.8105 | 6.5892 | 0.36297 | 2.1011 | 4.4881 | 0.22959 | 24.9667 | 0.65858 | 32.0514 | 377.7435 | 0.020323
54 | 10:53:28 | 2015-03-26 | bw | 0 | 50 | typ | 0 | 10515.5 | 0 | 14.8405 | 0.3105 | 278.5791 | 16.6219 | 5.3773 | 39.7756 | 2.5 | 2.1885 | 1 | 4.377 | 36.4034 | 39.7756 | 36.4057 | 400.728 | 390.0704 | 11.6468 | 19.7899 | 18.7862 | 31.9209 | 500.2094 | 1282.7026 | 1393.1165 | 98.4323 | 22.9719 | -0.46268 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0008 | 0.016622 | 312.9256 | 309.5534 | 243.7135 | -4.2415 | 7.3252 | 74.4189 | 54.6291 | 38.0895 | 6.6896 | 0.28994 | 1.948 | 4.7417 | 0.18295 | 27.4212 | 0.71418 | 28.0668 | 385.4931 | 0.010805
55 | 11:12:28 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 11654.5 | 0 | 13.6406 | 0.15393 | 203.6786 | 12.1031 | 7.5609 | 44.6866 | 3 | 2.0787 | 1 | 4.1574 | 38.5021 | 44.6866 | 38.5132 | 399.376 | 388.3768 | 12.4191 | 19.5356 | 17.8706 | 28.1108 | 500.2505 | 556.918 | 1053.2952 | 98.433 | 25.6614 | -0.37247 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6675 | 0.012103 | 317.8366 | 311.6521 | 105.8144 | -4.2346 | 9.4838 | 96.3481 | 76.8125 | 41.5944 | 8.0689 | 0.14844 | 1.9229 | 6.146 | 0.093252 | 20.0487 | 0.52444 | 18.3941 | 383.9474 | 0.0065349
56 | 11:14:10 | 2015-03-26 | bw | 0 | 100 | typ | 0 | 11746.5 | 0 | 12.6266 | 0.2352 | 260.0862 | 18.0176 | 7.4725 | 44.4487 | 2 | 2.2983 | 1 | 4.5965 | 38.2899 | 44.4487 | 38.36 | 399.2902 | 391.4223 | 12.1908 | 19.2556 | 17.7435 | 28.0263 | 500.2375 | 238.715 | 391.4257 | 98.4283 | 25.6614 | -0.37247 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.018018 | 317.5987 | 311.4399 | 45.3559 | -6.3046 | 9.3678 | 95.1741 | 75.9184 | 41.3693 | 7.9735 | 0.22375 | 1.8953 | 6.0782 | 0.14083 | 25.5998 | 0.66446 | 19.5097 | 387.7138 | 0.0063537
57 | 11:17:39 | 2015-03-26 | bw | 0 | 150 | sac/stab | 0 | 11953 | 0 | 21.4113 | 0.46181 | 273.4816 | 31.3987 | 6.9196 | 42.9474 | 1 | 2.5178 | 1 | 5.0357 | 37.4896 | 42.9474 | 37.573 | 399.3073 | 392.5621 | 11.5532 | 17.7195 | 17.5613 | 26.9343 | 500.1721 | 361.4636 | 893.1116 | 98.4276 | 25.6614 | -0.37247 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0017 | 0.031399 | 316.0974 | 310.6396 | 68.6781 | -9.7072 | 8.6637 | 88.0214 | 70.3019 | 40.2185 | 7.5006 | 0.42301 | 1.7441 | 5.7565 | 0.26761 | 26.9181 | 0.69666 | 22.7563 | 386.822 | 0.012596
58 | 11:19:54 | 2015-03-26 | bw | 0 | 200 | sac/stab | 0 | 12097 | 0 | 17.0822 | 0.38838 | 280.3799 | 22.4628 | 5.8655 | 41.0626 | 2 | 2.2983 | 1 | 4.5965 | 36.549 | 41.0626 | 36.5802 | 399.3835 | 389.0589 | 11.31 | 20.111 | 18.097 | 32.1793 | 500.1949 | 290.1232 | 280.6999 | 98.4268 | 25.6614 | -0.37247 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.501 | 0.022463 | 314.2126 | 309.699 | 55.1234 | -7.5631 | 7.845 | 79.7039 | 59.593 | 38.8058 | 6.9536 | 0.35812 | 1.9795 | 4.9741 | 0.22636 | 27.5969 | 0.72066 | 27.4359 | 384.0419 | 0.012203
59 | 11:23:04 | 2015-03-26 | bw | 0 | 200 | sac/stab | 0 | 12288.5 | 0 | 20.3211 | 0.45018 | 280.5181 | 25.1754 | 5.731 | 40.3878 | 1.5 | 2.408 | 1 | 4.8161 | 36.1763 | 40.3878 | 36.1367 | 400.0139 | 390.9687 | 11.2627 | 18.6711 | 18.3926 | 30.4908 | 500.2181 | 1125.3655 | 1382.7333 | 98.4223 | 25.6614 | -0.37247 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3348 | 0.025175 | 313.5378 | 309.3263 | 213.8194 | -6.9405 | 7.5686 | 76.8996 | 58.2285 | 38.2821 | 6.7597 | 0.4117 | 1.8376 | 4.9221 | 0.26051 | 27.6092 | 0.7175 | 27.2776 | 385.2725 | 0.014387
60 | 11:25:23 | 2015-03-26 | bw | 0 | 250 | sac/stab | 0 | 12426.5 | 0 | 13.1773 | 0.34359 | 293.6352 | 19.2853 | 5.6542 | 40.2495 | 2 | 2.2983 | 1 | 4.5965 | 35.7431 | 40.2495 | 35.7058 | 399.9564 | 391.6675 | 11.3225 | 18.8879 | 18.9348 | 31.5864 | 500.2043 | 211.3915 | 1266.3667 | 98.4156 | 25.6614 | -0.37247 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.501 | 0.019285 | 313.3995 | 308.8931 | 40.1644 | -6.6122 | 7.5131 | 76.3401 | 57.4523 | 37.9963 | 6.6559 | 0.31969 | 1.8589 | 4.7971 | 0.20183 | 28.8983 | 0.74971 | 26.4752 | 387.7973 | 0.0089962