## may 2013 m1w_1.xls
OPEN 6.1.4
Thr May 30 2013 08:10:25
Unit= | PSC-3149
LightSource= | Sun+Sky | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark=
Obs | HHMMSS | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:12:20 | m1w | 0 | test | test | 0 | 102.5 | 0 | 0.15241 | -0.0096883 | 419.1713 | -0.094925 | 0.92043 | 27.0639 | 6 | 1.42 | 1 | 2.84 | 29.4007 | 27.0639 | 29.4409 | 400.6175 | 400.4803 | 27.547 | 27.4363 | 65.1839 | 64.9219 | 500.2517 | 118.5716 | 166.9426 | 97.3956 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83375 | -9.4925e-05 | 300.2139 | 302.5507 | 22.5286 | 0.64127 | 3.5926 | 36.8867 | 9.4504 | 28.2323 | 3.8465 | -0.0097215 | 2.6722 | 1.1744 | -0.0060729 | 40.8255 | 1.0467 | 73.4379 | 400.4079 | 0.00027954
2 | 08:21:36 | m1w | 0 | 150 | sam | 0 | 646.5 | 0 | 6.0037 | 0.65647 | 375.2079 | 6.2574 | 1.0184 | 28.4971 | 1.5 | 2.408 | 1 | 4.8161 | 30.0359 | 28.4971 | 30.0207 | 400.6809 | 398.1338 | 27.8208 | 29.6414 | 63.4872 | 67.6419 | 500.2633 | 110.3977 | 785.2395 | 97.4246 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3351 | 0.0062574 | 301.6471 | 303.1859 | 20.9756 | -1.7451 | 3.9062 | 40.0948 | 10.4534 | 29.2665 | 4.0842 | 0.57772 | 2.8878 | 1.1964 | 0.36741 | 36.5545 | 0.94242 | 76.2268 | 396.4509 | 0.011543
3 | 08:23:29 | m1w | 0 | 100 | sam | 0 | 783 | 0 | 1.4892 | 0.29353 | 383.4853 | 3.4993 | 1.1896 | 28.7768 | 1.5 | 2.408 | 1 | 4.8161 | 30.3355 | 28.7768 | 30.3447 | 400.7532 | 399.8871 | 27.5206 | 28.5398 | 61.7339 | 64.0202 | 500.3006 | 34.8997 | 231.8481 | 97.4273 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3353 | 0.0034993 | 301.9268 | 303.4855 | 6.6309 | -0.95153 | 3.9701 | 40.7496 | 12.2098 | 29.5562 | 4.153 | 0.27667 | 2.7806 | 1.3725 | 0.17436 | 37.3619 | 0.95898 | 70.7447 | 399.4697 | 0.0026372
4 | 08:24:58 | m1w | 0 | 50 | sam | 0 | 874 | 0 | -21.4338 | 0.033692 | 1409.5707 | 0.49575 | 1.3936 | 29.2159 | 1.5 | 2.408 | 1 | 4.8161 | 30.4214 | 29.2159 | 30.4537 | 400.7433 | 407.1097 | 27.3492 | 27.4938 | 61.0491 | 61.3718 | 500.2466 | 8.7922 | 11.6325 | 97.4284 | 8.1218 | -1.1872 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.335 | 0.00049575 | 302.3659 | 303.5714 | 1.6705 | -0.042345 | 4.0723 | 41.7977 | 14.3039 | 29.8186 | 4.2163 | 0.033458 | 2.6787 | 1.5376 | 0.020932 | 137.3322 | 3.4624 | 64.7963 | 413.1178 | -0.033618
5 | 08:28:52 | m1w | 0 | 280 | tlat | 0 | 1101 | 0 | 20.4935 | 0.98806 | 334.1019 | 6.8443 | 0.83313 | 29.1563 | 4.5 | 1.7493 | 1 | 3.4987 | 30.9239 | 29.1563 | 30.8785 | 401.0031 | 380.2281 | 27.1497 | 33.1025 | 58.8886 | 71.8003 | 500.2698 | 1408.8683 | 1481.4769 | 97.4294 | 8.1218 | -1.1872 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1117 | 0.0068443 | 302.3063 | 304.0739 | 267.685 | -0.12687 | 4.0583 | 41.6536 | 8.5511 | 30.0401 | 4.2703 | 0.77047 | 3.2252 | 1.0451 | 0.49729 | 32.5513 | 0.87869 | 83.3701 | 372.3205 | 0.045889
6 | 08:31:19 | m1w | 0 | 250 | tlat | 0 | 1255 | 0 | 6.5331 | 0.55674 | 363.5213 | 6.5464 | 1.2757 | 30.8419 | 4.5 | 1.7493 | 1 | 3.4987 | 31.659 | 30.8419 | 31.6513 | 401.1307 | 392.9402 | 27.098 | 32.7936 | 56.3705 | 68.2186 | 500.2696 | 721.8735 | 791.7891 | 97.4321 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1117 | 0.0065464 | 303.9919 | 304.809 | 137.156 | -1.388 | 4.4709 | 45.887 | 13.0934 | 31.2504 | 4.5762 | 0.48031 | 3.1951 | 1.3811 | 0.30624 | 35.4186 | 0.92513 | 74.3751 | 390.4194 | 0.012446
7 | 08:33:11 | m1w | 0 | 200 | tlat | 0 | 1372 | 0 | 2.5128 | 0.2512 | 368.9352 | 3.8416 | 1.5578 | 31.4592 | 6 | 1.42 | 1 | 2.84 | 32.292 | 31.4592 | 32.3109 | 401.0618 | 396.2229 | 27.078 | 31.5398 | 54.3475 | 63.3027 | 500.308 | 596.0157 | 571.6845 | 97.4349 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83385 | 0.0038416 | 304.6092 | 305.442 | 113.243 | -0.53996 | 4.6308 | 47.5276 | 15.9878 | 31.8756 | 4.7416 | 0.23078 | 3.0731 | 1.6685 | 0.14595 | 35.9472 | 0.93113 | 67.8225 | 395.0284 | 0.0043142
8 | 08:34:34 | m1w | 0 | 150 | tlat | 0 | 1453.5 | 0 | -0.65333 | 0.062514 | 403.9235 | 1.3643 | 2.0876 | 32.3883 | 6 | 1.42 | 1 | 2.84 | 32.5385 | 32.3883 | 32.6001 | 401.0816 | 401.2086 | 27.0808 | 28.67 | 53.6017 | 56.7473 | 500.3138 | 30.8852 | 45.6568 | 97.434 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83386 | 0.0013643 | 305.5383 | 305.6885 | 5.8682 | -0.61504 | 4.881 | 50.0959 | 21.4259 | 32.4634 | 4.9018 | 0.061168 | 2.7934 | 2.1083 | 0.038349 | 39.3559 | 1.0068 | 56.4357 | 401.5192 | -0.0009183
9 | 08:36:22 | m1w | 0 | 100 | tlat | 0 | 1564.5 | 0 | -2.1527 | 0.22322 | 405.6073 | 4.005 | 1.8082 | 32.4586 | 6 | 1.42 | 1 | 2.84 | 32.6684 | 32.4586 | 32.7847 | 400.8495 | 401.5028 | 27.0852 | 31.7359 | 53.2202 | 62.3584 | 500.295 | 7.9377 | 22.2454 | 97.4349 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83382 | 0.004005 | 305.6086 | 305.8184 | 1.5082 | -2.0229 | 4.9004 | 50.2944 | 18.5585 | 32.5635 | 4.9295 | 0.20695 | 3.0922 | 1.8373 | 0.13071 | 39.5203 | 1.0102 | 64.326 | 402.5261 | -0.0034402
10 | 08:41:48 | m1w | 0 | 250 | sac/stab | 0 | 1874 | 0 | 4.6618 | 0.49377 | 367.9823 | 11.1153 | 2.3104 | 33.2608 | 1 | 2.5178 | 1 | 5.0357 | 33.1728 | 33.2608 | 33.2192 | 401.1545 | 399.3355 | 26.7454 | 28.903 | 51.0848 | 55.2058 | 500.2952 | 90.4825 | 266.087 | 97.4382 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.003 | 0.011115 | 306.4108 | 306.3228 | 17.1917 | -3.343 | 5.1266 | 52.6141 | 23.7111 | 33.2168 | 5.114 | 0.44967 | 2.8163 | 2.2977 | 0.2847 | 35.8555 | 0.92149 | 57.2143 | 398.0857 | 0.0067001
11 | 08:44:06 | m1w | 0 | 200 | sac/stab | 0 | 2027 | 0 | 0.43154 | 0.41478 | 381.3667 | 9.9207 | 2.4322 | 34.1332 | 2 | 2.2983 | 1 | 4.5965 | 33.8405 | 34.1332 | 33.9136 | 401.0063 | 399.2505 | 26.4361 | 30.2815 | 48.6425 | 55.7181 | 500.3442 | 93.8604 | 577.7611 | 97.4402 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5017 | 0.0099207 | 307.2832 | 306.9905 | 17.8335 | -3.2405 | 5.3828 | 55.2426 | 24.9611 | 33.9869 | 5.3391 | 0.38045 | 2.9506 | 2.3885 | 0.24064 | 37.1604 | 0.95521 | 56.704 | 399.1238 | 0.00061309
12 | 08:47:06 | m1w | 0 | 150 | sac/stab | 0 | 2203 | 0 | 5.4336 | 0.35398 | 354.5034 | 8.8527 | 2.5199 | 34.4533 | 2.5 | 2.1885 | 1 | 4.377 | 34.4533 | 34.4533 | 34.5462 | 401.3078 | 396.8376 | 26.0853 | 30.3742 | 46.3861 | 54.0126 | 500.3593 | 872.3605 | 1017.5142 | 97.4409 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0014 | 0.0088527 | 307.6033 | 307.6033 | 165.7485 | -1.7968 | 5.4796 | 56.2353 | 25.8611 | 34.4533 | 5.4796 | 0.32749 | 2.9597 | 2.5199 | 0.20691 | 34.5431 | 0.89332 | 55.5277 | 395.1617 | 0.0076353
13 | 08:48:47 | m1w | 0 | 100 | sac/stab | 0 | 2306.5 | 0 | 0.53621 | 0.14123 | 374.059 | 4.3184 | 2.9467 | 35.2057 | 3 | 2.0787 | 1 | 4.1574 | 34.6661 | 35.2057 | 34.7885 | 401.1477 | 399.7909 | 25.8743 | 28.3902 | 45.4703 | 49.8917 | 500.2972 | 32.9509 | 325.7388 | 97.4412 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6677 | 0.0043184 | 308.3557 | 307.8161 | 6.2607 | -1.5984 | 5.713 | 58.6306 | 30.2403 | 34.9359 | 5.6284 | 0.13659 | 2.7664 | 2.862 | 0.085772 | 36.4488 | 0.93564 | 47.8476 | 399.6168 | 0.00064202
14 | 08:50:01 | m1w | 0 | 50 | sac/stab | 0 | 2381.5 | 0 | -9.7285 | 0.0058689 | 2972.0898 | 0.19825 | 3.159 | 34.989 | 3.5 | 1.9689 | 1 | 3.9378 | 34.7071 | 34.989 | 34.8707 | 401.1825 | 407.9311 | 25.3773 | 25.5124 | 44.4954 | 44.7324 | 500.3524 | 49.6995 | 544.2068 | 97.4412 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4296 | 0.00019825 | 308.139 | 307.8571 | 9.4429 | -0.025039 | 5.6449 | 57.9318 | 32.4194 | 34.8481 | 5.601 | 0.0058601 | 2.486 | 3.1151 | 0.0036634 | 289.604 | 7.2858 | 41.6891 | 411.2663 | -0.0098615
15 | 08:57:04 | m1w | 0 | 200 | scal | 0 | 2797 | 0 | 20.5737 | 0.41759 | 293.0871 | 11.4086 | 2.7687 | 34.7527 | 1.5 | 2.408 | 1 | 4.8161 | 34.8368 | 34.7527 | 34.7554 | 401.4132 | 393.8983 | 25.4416 | 28.7634 | 44.2892 | 50.0718 | 500.354 | 989.4272 | 1051.4885 | 97.4427 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3357 | 0.011409 | 307.9027 | 307.9868 | 187.9912 | -2.3034 | 5.5715 | 57.1768 | 28.4134 | 34.7947 | 5.5845 | 0.38427 | 2.8028 | 2.7817 | 0.24295 | 28.5592 | 0.74407 | 52.2178 | 388.1313 | 0.027679
16 | 08:59:54 | m1w | 0 | 150 | scal | 0 | 2972.5 | 0 | 22.448 | 0.31259 | 249.7916 | 9.4429 | 3.0106 | 35.8779 | 2.5 | 2.1885 | 1 | 4.377 | 35.5393 | 35.8779 | 35.4125 | 401.1214 | 388.0752 | 25.3716 | 29.9481 | 42.4844 | 50.1477 | 500.3865 | 1209.521 | 739.9528 | 97.4426 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0015 | 0.0094429 | 309.0279 | 308.6893 | 229.809 | -1.5249 | 5.9288 | 60.8444 | 30.8963 | 35.7086 | 5.8738 | 0.29176 | 2.9182 | 2.9556 | 0.18411 | 24.3403 | 0.64367 | 50.3518 | 381.1514 | 0.029655
17 | 09:01:50 | m1w | 0 | 100 | scal | 0 | 3092 | 0 | 14.2549 | 0.14682 | 214.0868 | 5.0989 | 3.344 | 36.4211 | 3 | 2.0787 | 1 | 4.1574 | 36.0092 | 36.4211 | 35.8578 | 401.2074 | 391.4636 | 25.3987 | 28.3692 | 41.4427 | 46.2897 | 500.3456 | 1231.3134 | 1213.1721 | 97.441 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6678 | 0.0050989 | 309.5711 | 309.1592 | 233.9495 | 0.032038 | 6.1084 | 62.6878 | 34.3185 | 36.2151 | 6.0397 | 0.14181 | 2.7643 | 3.2754 | 0.089069 | 20.8608 | 0.54689 | 44.5999 | 386.8347 | 0.016435
18 | 09:02:52 | m1w | 0 | 50 | scal | 0 | 3152 | 0 | 0.96215 | -0.0027362 | 916.8312 | -0.11916 | 4.0447 | 37.5989 | 4 | 1.8591 | 1 | 3.7183 | 36.177 | 37.5989 | 36.0657 | 401.1577 | 400.4266 | 25.4336 | 25.3407 | 41.1181 | 40.968 | 500.3194 | 332.6339 | 1108.6819 | 97.4397 | 8.1218 | -1.1872 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2508 | -0.00011916 | 310.7489 | 309.327 | 63.2004 | 0.46266 | 6.5139 | 66.851 | 41.5103 | 36.888 | 6.2664 | -0.0027382 | 2.4692 | 3.7972 | -0.0017112 | 89.3357 | 2.2896 | 34.8578 | 400.0773 | 0.00083829
19 | 09:21:55 | m1w | 0 | 200 | scal | 0 | 4290 | 0 | 53.2578 | 0.2922 | 64.241 | 9.0239 | 3.0467 | 35.9536 | 1.5 | 2.408 | 1 | 4.8161 | 35.0241 | 35.9536 | 34.908 | 399.6309 | 382.6298 | 27.2082 | 29.8328 | 46.8745 | 51.3961 | 500.3554 | 1425.1006 | 1572.0708 | 97.4401 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3357 | 0.0090239 | 309.1036 | 308.1741 | 270.7691 | -1.018 | 5.9536 | 61.0998 | 31.2671 | 35.4888 | 5.8031 | 0.27548 | 2.9069 | 2.8962 | 0.17361 | 6.2596 | 0.16789 | 49.4554 | 367.701 | 0.071631
20 | 09:24:27 | m1w | 0 | 150 | scal | 0 | 4447 | 0 | 25.5801 | 0.24387 | 190.7815 | 9.1355 | 3.6583 | 38.2973 | 2.5 | 2.1885 | 1 | 4.377 | 35.6321 | 38.2973 | 35.597 | 399.2222 | 384.6844 | 27.4676 | 31.8868 | 45.7576 | 53.1195 | 500.324 | 93.282 | 368.0958 | 97.439 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0013 | 0.0091355 | 311.4473 | 308.7821 | 17.7236 | -3.3417 | 6.7653 | 69.431 | 37.5442 | 36.9647 | 6.2927 | 0.231 | 3.107 | 3.1857 | 0.14548 | 18.5895 | 0.49594 | 46.0465 | 376.7947 | 0.03126
21 | 09:26:59 | m1w | 0 | 100 | scal | 0 | 4601.5 | 0 | 17.2375 | 0.11034 | 111.5445 | 4.9215 | 4.232 | 39.5977 | 3.5 | 1.9689 | 1 | 3.9378 | 36.0605 | 39.5977 | 36.0888 | 399.0424 | 385.6548 | 27.6961 | 31.0325 | 45.063 | 50.4914 | 500.2687 | 55.5438 | 72.4976 | 97.4388 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0049215 | 312.7477 | 309.2105 | 10.5533 | -2.206 | 7.2558 | 74.4652 | 43.4327 | 37.8291 | 6.5959 | 0.10734 | 3.0238 | 3.5721 | 0.067349 | 10.8688 | 0.28923 | 40.1042 | 379.7453 | 0.018204
22 | 09:28:09 | m1w | 0 | 50 | scal | 0 | 4667.5 | 0 | 12.0277 | 0.010061 | -1487.9147 | 0.48949 | 4.5105 | 39.6243 | 5 | 1.6396 | 1 | 3.2791 | 36.1886 | 39.6243 | 36.2142 | 399.0667 | 386.8584 | 27.8059 | 28.2812 | 44.9243 | 45.6922 | 500.3594 | 64.3486 | 117.1175 | 97.4384 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0007 | 0.00048949 | 312.7743 | 309.3386 | 12.2262 | -0.55325 | 7.2661 | 74.5715 | 46.2903 | 37.9064 | 6.6236 | 0.01003 | 2.7557 | 3.8679 | 0.0062718 | -144.9801 | -3.8461 | 34.7598 | 381.9067 | 0.010947
23 | 09:34:18 | m1w | 0 | 250 | sac/stab | 0 | 5025.5 | 0 | 90.0804 | 0.53987 | 74.1581 | 20.6229 | 3.9066 | 39.0025 | 1 | 2.5178 | 1 | 5.0357 | 36.4996 | 39.0025 | 36.4646 | 400.3871 | 380.8132 | 28.0394 | 32.0292 | 44.5367 | 50.874 | 500.3299 | 1392.3252 | 1366.296 | 97.4411 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0033 | 0.020623 | 312.1525 | 309.6496 | 264.5418 | -4.7525 | 7.0276 | 72.1215 | 40.0923 | 37.7511 | 6.568 | 0.4876 | 3.121 | 3.447 | 0.30905 | 7.226 | 0.19474 | 47.0346 | 356.6637 | 0.11879
24 | 09:36:29 | m1w | 0 | 200 | sac/stab | 0 | 5170.5 | 0 | 47.0675 | 0.43495 | 177.0652 | 18.4237 | 4.2527 | 40.1857 | 1.5 | 2.408 | 1 | 4.8161 | 36.8322 | 40.1857 | 36.8191 | 400.3176 | 384.0835 | 27.8562 | 33.1968 | 43.4487 | 51.7789 | 500.2775 | 613.5583 | 886.0277 | 97.4432 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3352 | 0.018424 | 313.3357 | 309.9822 | 116.5761 | -5.3978 | 7.4875 | 76.84 | 43.6431 | 38.509 | 6.8431 | 0.39892 | 3.2348 | 3.6083 | 0.25233 | 17.2538 | 0.46101 | 44.8742 | 370.89 | 0.056947
25 | 09:38:54 | m1w | 0 | 150 | sac/stab | 0 | 5311.5 | 0 | 27.7 | 0.27044 | 188.678 | 12.7711 | 4.6052 | 41.2023 | 2.5 | 2.1885 | 1 | 4.377 | 37.185 | 41.2023 | 37.2234 | 400.3002 | 384.0084 | 27.6805 | 33.846 | 42.3522 | 51.7857 | 500.3168 | 693.8723 | 973.6143 | 97.4453 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0013 | 0.012771 | 314.3523 | 310.335 | 131.8357 | -3.8461 | 7.9033 | 81.1052 | 47.2591 | 39.1937 | 7.1002 | 0.2547 | 3.2981 | 3.8021 | 0.16053 | 18.3858 | 0.49134 | 41.7753 | 375.4648 | 0.03082
26 | 09:41:19 | m1w | 0 | 100 | sac/stab | 0 | 5454 | 0 | 22.6544 | 0.14035 | 97.492 | 7.5965 | 5.1343 | 42.0153 | 3 | 2.0787 | 1 | 4.1574 | 37.4073 | 42.0153 | 37.4849 | 400.0343 | 384.6977 | 27.5653 | 31.9747 | 41.6684 | 48.3338 | 500.3086 | 37.8352 | 209.1601 | 97.4454 | -0.84217 | -0.72432 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6677 | 0.0075965 | 315.1653 | 310.5573 | 7.1887 | -3.2296 | 8.2501 | 84.6635 | 52.6888 | 39.7113 | 7.3001 | 0.13577 | 3.1158 | 4.1843 | 0.085256 | 9.5001 | 0.25343 | 36.0709 | 377.3413 | 0.021656
27 | 09:43:12 | m1w | 0 | 50 | sac/stab | 0 | 5570 | 0 | 16.2859 | 0.011359 | -1844.1927 | 0.65423 | 5.3179 | 41.525 | 3.5 | 1.9689 | 1 | 3.9378 | 37.3029 | 41.525 | 37.4305 | 399.8174 | 388.2472 | 27.4838 | 27.9287 | 41.7818 | 42.4581 | 500.3356 | 7.7227 | 9.5617 | 97.4449 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4295 | 0.00065423 | 314.675 | 310.4529 | 1.4673 | -0.72359 | 8.0394 | 82.5021 | 54.5735 | 39.414 | 7.1847 | 0.011326 | 2.7215 | 4.4632 | 0.0070818 | -179.7072 | -4.75 | 30.1876 | 382.6639 | 0.012848
28 | 09:50:54 | m1w | 0 | 200 | sam | 0 | 6029 | 0 | 8.2295 | 0.21506 | 300.8651 | 10.8381 | 4.8579 | 41.4177 | 2.5 | 2.1885 | 1 | 4.377 | 37.6771 | 41.4177 | 37.7209 | 400.0989 | 393.8539 | 26.9412 | 32.1824 | 40.1319 | 47.9392 | 500.3301 | 1230.1978 | 1245.8197 | 97.4455 | -0.84217 | -0.72432 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0013 | 0.010838 | 314.5677 | 310.8271 | 233.7376 | -2.3312 | 7.9939 | 82.0348 | 49.8524 | 39.5474 | 7.2363 | 0.20499 | 3.136 | 4.1002 | 0.12899 | 29.3179 | 0.7639 | 38.5679 | 391.3157 | 0.008111
29 | 09:54:15 | m1w | 0 | 150 | sam | 0 | 6235.5 | 0 | 25.0842 | 0.2556 | 192.2234 | 14.5376 | 5.5018 | 43.2465 | 2.5 | 2.1885 | 1 | 4.377 | 38.1407 | 43.2465 | 38.2488 | 399.984 | 384.6562 | 26.8321 | 33.8501 | 38.9768 | 49.1713 | 500.3372 | 60.9789 | 295.1315 | 97.4445 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0013 | 0.014538 | 316.3965 | 311.2907 | 11.586 | -5.5301 | 8.8003 | 90.3105 | 56.4604 | 40.6936 | 7.6928 | 0.2415 | 3.2985 | 4.3943 | 0.15214 | 18.7311 | 0.49973 | 37.0216 | 376.9194 | 0.024638
30 | 09:56:26 | m1w | 0 | 100 | sam | 0 | 6368.5 | 0 | 29.5978 | 0.14318 | 23.7232 | 8.3189 | 5.5017 | 42.5944 | 2.5 | 2.1885 | 1 | 4.377 | 38.3315 | 42.5944 | 38.3999 | 399.5718 | 383.1902 | 26.7934 | 30.8219 | 38.5202 | 44.3119 | 500.3395 | 760.9722 | 863.0634 | 97.4431 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0014 | 0.0083189 | 315.7444 | 311.4815 | 144.5847 | -2.2129 | 8.505 | 87.2821 | 56.4602 | 40.463 | 7.599 | 0.13864 | 3.0034 | 4.5956 | 0.087046 | 2.3117 | 0.06191 | 33.4309 | 374.0613 | 0.026452
31 | 09:59:04 | m1w | 0 | 50 | sam | 0 | 6525.5 | 0 | 26.5963 | 0.13309 | 37.6637 | 7.3062 | 5.1982 | 41.7791 | 2.5 | 2.1885 | 1 | 4.377 | 38.3502 | 41.7791 | 38.4111 | 399.4672 | 384.7733 | 26.732 | 30.2721 | 38.3926 | 43.477 | 500.3357 | 225.9795 | 756.1667 | 97.4419 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0013 | 0.0073062 | 314.9291 | 311.5002 | 42.9361 | -2.5778 | 8.148 | 83.6188 | 53.3466 | 40.0646 | 7.4393 | 0.12916 | 2.9498 | 4.4895 | 0.081068 | 3.67 | 0.097885 | 34.3465 | 376.5701 | 0.024258
32 | 10:01:46 | m1w | 0 | 250 | tlat | 0 | 6683 | 0 | 30.1983 | 0.27162 | 161.6247 | 12.7357 | 4.6074 | 41.8283 | 4 | 1.8591 | 1 | 3.7183 | 38.3349 | 41.8283 | 38.3546 | 399.8292 | 371.8993 | 26.7431 | 36.5529 | 38.4401 | 52.5406 | 500.3199 | 1140.8701 | 1255.1494 | 97.4408 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2508 | 0.012736 | 314.9783 | 311.4849 | 216.7653 | -3.5876 | 8.1691 | 83.837 | 47.2841 | 40.0816 | 7.446 | 0.25313 | 3.5617 | 3.8843 | 0.15977 | 15.7488 | 0.43459 | 44.0731 | 360.9351 | 0.036875
33 | 10:03:12 | m1w | 0 | 200 | tlat | 0 | 6773 | 0 | 20.5078 | 0.16878 | 151.5546 | 8.3267 | 4.7555 | 41.7783 | 5 | 1.6396 | 1 | 3.2791 | 38.4157 | 41.7783 | 38.4364 | 399.9157 | 376.2893 | 26.7806 | 34.8124 | 38.3264 | 49.821 | 500.3094 | 1419.1948 | 1352.7089 | 97.4412 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0006 | 0.0083267 | 314.9283 | 311.5657 | 269.647 | -1.454 | 8.1476 | 83.6159 | 48.8035 | 40.097 | 7.4521 | 0.16051 | 3.3922 | 4.06 | 0.10103 | 14.7677 | 0.40276 | 40.997 | 367.8464 | 0.022856
34 | 10:04:39 | m1w | 0 | 150 | tlat | 0 | 6861 | 0 | 15.1061 | 0.10719 | 127.4499 | 5.8403 | 5.1595 | 42.1845 | 5 | 1.6396 | 1 | 3.2791 | 38.3983 | 42.1845 | 38.4415 | 399.4013 | 382.0746 | 26.8274 | 32.4745 | 38.4298 | 46.5192 | 500.3135 | 539.8269 | 328.7485 | 97.442 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0006 | 0.0058403 | 315.3345 | 311.5483 | 102.5671 | -2.0988 | 8.3239 | 85.4239 | 52.9493 | 40.2914 | 7.5298 | 0.1038 | 3.1644 | 4.3655 | 0.065171 | 12.419 | 0.33357 | 36.2179 | 375.8555 | 0.014556
35 | 10:05:41 | m1w | 0 | 100 | tlat | 0 | 6925 | 0 | 17.9662 | -0.0027228 | 10389.496 | -0.17146 | 5.7854 | 42.3298 | 5 | 1.6396 | 1 | 3.2791 | 38.2819 | 42.3298 | 38.3784 | 399.4618 | 381.5721 | 26.8729 | 26.7061 | 38.7384 | 38.498 | 500.3107 | 19.8735 | 23.5903 | 97.4431 | -0.84217 | -0.72432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0006 | -0.00017146 | 315.4798 | 311.4319 | 3.776 | -0.43339 | 8.3877 | 86.0778 | 59.3716 | 40.3058 | 7.5356 | -0.002725 | 2.6023 | 4.9333 | -0.0017029 | 1012.3852 | 27.2281 | 26.8428 | 374.1756 | 0.012889
36 | 10:40:44 | m1w | 0 | 200 | tlat | 0 | 9023 | 0 | 11.6968 | 0.43551 | 323.8261 | 12.5684 | 2.954 | 38.2802 | 3.5 | 1.9689 | 1 | 3.9378 | 35.4963 | 38.2802 | 35.3622 | 400.4832 | 388.8811 | 30.599 | 39.0482 | 51.3608 | 65.5429 | 500.3047 | 1560.7649 | 1479.1917 | 97.4458 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4294 | 0.012568 | 311.4302 | 308.6463 | 296.5453 | -2.5694 | 6.759 | 69.362 | 30.3138 | 36.8882 | 6.2665 | 0.39214 | 3.8051 | 2.4614 | 0.24864 | 31.5555 | 0.83271 | 58.393 | 384.8711 | 0.017746
37 | 10:42:48 | m1w | 0 | 150 | tlat | 0 | 9149.5 | 0 | -2.113 | 0.070501 | 420.2788 | 3.0848 | 4.1067 | 39.6994 | 3.5 | 1.9689 | 1 | 3.9378 | 35.9925 | 39.6994 | 35.8326 | 400.1556 | 400.769 | 30.6356 | 32.7229 | 50.0366 | 53.4458 | 500.3235 | 700.3597 | 654.0732 | 97.447 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4295 | 0.0030848 | 312.8494 | 309.1425 | 133.0683 | -0.44598 | 7.2954 | 74.8654 | 42.1425 | 37.8459 | 6.6019 | 0.069261 | 3.1887 | 3.4131 | 0.043398 | 40.9549 | 1.0487 | 41.555 | 401.4934 | -0.002187
38 | 10:49:06 | m1w | 0 | 100 | tlat | 0 | 9528.5 | 0 | -0.043023 | 0.0063403 | 377.1133 | 0.34128 | 4.9586 | 41.3567 | 4.5 | 1.7493 | 1 | 3.4987 | 36.4252 | 41.3567 | 36.3727 | 399.8282 | 399.7442 | 30.5882 | 30.8857 | 48.7844 | 49.2589 | 500.2819 | 74.5764 | 249.5083 | 97.4429 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1117 | 0.00034128 | 314.5067 | 309.5752 | 14.1695 | -0.63348 | 7.9682 | 81.7727 | 50.887 | 38.891 | 6.9855 | 0.0063289 | 3.0096 | 3.9759 | 0.0039566 | 36.747 | 0.94339 | 34.1749 | 399.7608 | -3.6779e-05
39 | 10:54:35 | m1w | 0 | 200 | sam | 0 | 9855 | 0 | 11.0269 | 0.28856 | 298.0471 | 13.3226 | 4.5158 | 41.9912 | 3 | 2.0787 | 1 | 4.1574 | 37.0392 | 41.9912 | 36.9428 | 399.4609 | 389.735 | 30.5316 | 38.2153 | 47.0864 | 58.9363 | 500.2861 | 1556.2017 | 1461.1554 | 97.4434 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6676 | 0.013323 | 315.1412 | 310.1892 | 295.6783 | -2.9674 | 8.2396 | 84.5578 | 46.3425 | 39.5152 | 7.2238 | 0.26983 | 3.7238 | 3.5 | 0.17023 | 29.0427 | 0.76474 | 45.3998 | 386.1543 | 0.012964
40 | 10:57:23 | m1w | 0 | 150 | sam | 0 | 10025.5 | 0 | -15.0404 | 0.02164 | 1434.7294 | 1.3446 | 5.7168 | 43.2397 | 3.5 | 1.9689 | 1 | 3.9378 | 37.6612 | 43.2397 | 37.5432 | 399.4415 | 409.5788 | 30.7008 | 31.6118 | 45.7711 | 47.1293 | 500.268 | 1329.9895 | 1083.8197 | 97.444 | 11.0749 | -1.0225 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0013446 | 316.3897 | 310.8112 | 252.698 | 1.0384 | 8.7971 | 90.2789 | 58.6672 | 40.4505 | 7.5939 | 0.021522 | 3.0804 | 4.5136 | 0.013462 | 139.8058 | 3.5029 | 31.1764 | 414.7351 | -0.011306
41 | 11:00:15 | m1w | 0 | 100 | sam | 0 | 10199.5 | 0 | 0.29789 | 0.1186 | 351.6095 | 7.9026 | 6.2318 | 45.2574 | 3.5 | 1.9689 | 1 | 3.9378 | 38.1907 | 45.2574 | 38.0891 | 399.0474 | 396.646 | 30.9527 | 36.2811 | 44.8408 | 52.56 | 500.2582 | 64.7983 | 433.9572 | 97.4446 | 11.0749 | -1.0225 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0079026 | 318.4074 | 311.3407 | 12.3117 | -3.7465 | 9.7672 | 100.2338 | 63.9527 | 41.7241 | 8.1244 | 0.11514 | 3.5354 | 4.589 | 0.072263 | 34.2624 | 0.88646 | 33.5245 | 396.5438 | 0.00025184
42 | 11:02:12 | m1w | 0 | 50 | sam | 0 | 10316.5 | 0 | -0.85666 | 0.011571 | 467.3161 | 0.86308 | 6.8045 | 45.5081 | 3.5 | 1.9689 | 1 | 3.9378 | 38.3226 | 45.5081 | 38.2607 | 400.1151 | 400.4727 | 31.1193 | 31.704 | 44.7627 | 45.6037 | 500.2774 | 49.5444 | 25.4219 | 97.4467 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4294 | 0.00086308 | 318.6581 | 311.4726 | 9.4134 | -1.0899 | 9.894 | 101.5321 | 69.8282 | 41.9153 | 8.2067 | 0.011537 | 3.0894 | 5.1173 | 0.0072134 | 45.5384 | 1.1669 | 26.5328 | 400.7663 | -0.00056715
43 | 11:06:40 | m1w | 0 | 200 | sac/stab | 0 | 10575 | 0 | -0.88007 | 0.18001 | 363.2268 | 12.214 | 6.3995 | 45.8237 | 2.5 | 2.1885 | 1 | 4.377 | 38.4513 | 45.8237 | 38.4259 | 399.8871 | 397.8982 | 31.6438 | 37.5186 | 45.2019 | 53.5939 | 500.2594 | 57.5791 | 69.555 | 97.4471 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.001 | 0.012214 | 318.9737 | 311.6013 | 10.94 | -4.9598 | 10.0556 | 103.1899 | 65.6713 | 42.1375 | 8.3033 | 0.1729 | 3.6561 | 4.6472 | 0.10868 | 35.3954 | 0.91286 | 34.2468 | 398.1696 | -0.00075696
44 | 11:09:19 | m1w | 0 | 150 | sac/stab | 0 | 10742 | 0 | 0.0069262 | 0.12661 | 352.5251 | 9.1658 | 6.7508 | 46.6214 | 3.5 | 1.9689 | 1 | 3.9378 | 38.9497 | 46.6214 | 38.9186 | 399.7846 | 397.2324 | 32.0415 | 38.2092 | 44.5559 | 53.1326 | 500.2561 | 244.9992 | 492.7247 | 97.4462 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0091658 | 319.7714 | 312.0997 | 46.5499 | -4.0066 | 10.4742 | 107.4869 | 69.2776 | 42.7855 | 8.5907 | 0.12267 | 3.7233 | 4.8673 | 0.077012 | 34.3522 | 0.88745 | 32.6492 | 397.23 | 5.6928e-06
45 | 11:11:59 | m1w | 0 | 100 | sac/stab | 0 | 10903.5 | 0 | -0.51593 | 0.086268 | 359.2662 | 6.7982 | 7.265 | 47.3359 | 3.5 | 1.9689 | 1 | 3.9378 | 39.121 | 47.3359 | 39.1044 | 399.6964 | 398.1637 | 32.3307 | 36.9113 | 44.5454 | 50.8565 | 500.2712 | 81.1908 | 391.0367 | 97.4457 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4293 | 0.0067982 | 320.4859 | 312.271 | 15.4263 | -3.4362 | 10.8619 | 111.4661 | 74.5548 | 43.2285 | 8.792 | 0.084419 | 3.5968 | 5.1951 | 0.052925 | 35.0089 | 0.90231 | 29.3034 | 398.3405 | -0.00037953
46 | 11:14:35 | m1w | 0 | 50 | sac/stab | 0 | 11059 | 0 | -0.0055565 | 0.0027321 | 352.5845 | 0.22669 | 7.5145 | 47.05 | 4.5 | 1.7493 | 1 | 3.4987 | 39.1067 | 47.05 | 39.1085 | 399.3449 | 399.2685 | 32.5475 | 32.7447 | 44.8776 | 45.1495 | 500.2722 | 23.1937 | 25.084 | 97.4435 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1117 | 0.00022669 | 320.2 | 312.2567 | 4.4068 | -1.094 | 10.7053 | 109.8616 | 77.1169 | 43.0784 | 8.7233 | 0.0027299 | 3.1908 | 5.5325 | 0.0017064 | 34.3571 | 0.88308 | 24.475 | 399.2706 | -3.4061e-06
47 | 11:20:37 | m1w | 0 | 200 | scal | 0 | 11411 | 0 | 10.0164 | 0.096495 | 189.3942 | 7.2589 | 6.9419 | 46.7106 | 2 | 2.2983 | 1 | 4.5965 | 39.2747 | 46.7106 | 39.1913 | 399.3662 | 394.2175 | 33.9473 | 36.7428 | 46.3831 | 50.2027 | 500.2457 | 1104.1871 | 1159.5004 | 97.4348 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5012 | 0.0072589 | 319.8606 | 312.4247 | 209.7956 | -1.6001 | 10.522 | 107.9898 | 71.247 | 42.9926 | 8.6843 | 0.094511 | 3.58 | 5.1043 | 0.059244 | 18.4536 | 0.48043 | 30.3398 | 391.2757 | 0.0077668
48 | 11:23:28 | m1w | 0 | 150 | scal | 0 | 11592.5 | 0 | 14.1686 | 0.14311 | 189.9699 | 11.2281 | 7.2837 | 47.898 | 2.5 | 2.1885 | 1 | 4.377 | 39.6124 | 47.898 | 39.5511 | 399.5152 | 390.2445 | 34.5565 | 39.9437 | 46.3671 | 53.5956 | 500.2402 | 1473.7999 | 1441.2523 | 97.433 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.001 | 0.011228 | 321.048 | 312.7624 | 280.022 | -2.5941 | 11.1755 | 114.6996 | 74.7559 | 43.7552 | 9.0367 | 0.13858 | 3.8918 | 5.1449 | 0.08701 | 18.5093 | 0.4868 | 31.5994 | 385.8744 | 0.011603
49 | 11:26:49 | m1w | 0 | 100 | scal | 0 | 11795 | 0 | 8.4231 | 0.085227 | 191.0614 | 7.2604 | 7.7961 | 48.7339 | 3 | 2.0787 | 1 | 4.1574 | 39.89 | 48.7339 | 39.8839 | 399.1907 | 392.4302 | 35.4364 | 39.6183 | 46.8477 | 52.3762 | 500.212 | 1303.2466 | 1241.3827 | 97.4357 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6674 | 0.0072604 | 321.8839 | 313.04 | 247.6168 | -1.6047 | 11.6563 | 119.6312 | 80.0129 | 44.312 | 9.3017 | 0.083515 | 3.8602 | 5.4415 | 0.052348 | 18.6162 | 0.48687 | 28.7906 | 389.6951 | 0.0062229
50 | 11:29:22 | m1w | 0 | 100 | scal | 0 | 11951 | 0 | 2.5662 | 0.0091816 | -76.5036 | 0.88485 | 8.6497 | 49.7104 | 4.5 | 1.7493 | 1 | 3.4987 | 39.8639 | 49.7104 | 39.9156 | 399.0348 | 396.4105 | 36.0878 | 36.8545 | 47.7744 | 48.7894 | 500.1765 | 182.3947 | 478.0263 | 97.4335 | 11.0749 | -1.0225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1115 | 0.00088485 | 322.8604 | 313.0139 | 34.655 | -1.3481 | 12.2405 | 125.6297 | 88.7751 | 44.7871 | 9.5332 | 0.0091575 | 3.5909 | 5.9424 | 0.0057256 | -7.454 | -0.19299 | 23.2886 | 395.4203 | 0.0015114
Remark= | "11:29:43 was at 50 cm"