## tres rios boardwalk nov 2014_.x
OPEN 6.1.4
Wed Nov 19 2014 07:59:07
Unit= | PSC-3149
LightSource= | Sun+Sky |  | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark= | chilly AM!
Obs | HHMMSS | date | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in |  | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:03:42 | 2014-11-19 | bw | 0 | 300 | tlat | 0 | 297.5 | 0 | 5.0909 | -0.12932 | 458.086 | 0.1602 | -0.11693 | 2.8635 | 4 | 1.8591 | 1 | 3.7183 | 10.4814 | 2.8635 | 10.5213 | 400.2709 | 396.1526 | 8.7024 | 8.8292 | 67.4185 | 68.4014 | 500.6248 | 380.5222 | 289.1914 | 98.6052 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2516 | 0.0001602 | 276.0135 | 283.6314 | 72.2992 | 1.3111 | 0.75368 | 7.6434 | -1.1859 | 6.6725 | 0.98338 | -0.13398 | 0.87061 | 0.11277 | -0.083305 | 45.1697 | 1.1563 | 116.2074 | 394.3042 | 0.015004
2 | 08:07:02 | 2014-11-19 | bw | 0 | 250 | tlat | 0 | 503.5 | 0 | 2.8245 | -0.15031 | 427.8124 | 0.1727 | -0.10719 | 3.0852 | 5 | 1.6396 | 1 | 3.2791 | 10.727 | 3.0852 | 10.7646 | 401.0868 | 398.1972 | 8.6811 | 8.852 | 66.1575 | 67.4603 | 500.6289 | 70.0656 | 311.0761 | 98.5993 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0013 | 0.0001727 | 276.2352 | 283.877 | 13.3125 | 0.83596 | 0.76561 | 7.7649 | -1.0872 | 6.9061 | 0.99929 | -0.15753 | 0.8728 | 0.12649 | -0.097782 | 42.182 | 1.0744 | 114.7965 | 397.0343 | 0.0081667
3 | 08:12:07 | 2014-11-19 | bw | 0 | 200 | tlat | 0 | 809.5 | 0 | 1.9664 | -0.037002 | 482.4926 | 0.037989 | -0.099171 | 3.0976 | 5.5 | 1.5298 | 1 | 3.0596 | 10.9629 | 3.0976 | 11.0099 | 399.8056 | 397.6286 | 8.7366 | 8.778 | 65.5407 | 65.851 | 500.6097 | 19.9602 | 73.5534 | 98.5936 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.9102 | 3.7989e-05 | 276.2476 | 284.1129 | 3.7924 | 0.87417 | 0.76628 | 7.7721 | -1.0059 | 7.0303 | 1.0078 | -0.037455 | 0.86545 | 0.14239 | -0.023368 | 47.5707 | 1.2134 | 113.2096 | 396.761 | 0.0056108
4 | 08:14:20 | 2014-11-19 | bw | 0 | 150 | tlat | 0 | 944 | 0 | -2.1705 | 1.4668 | 406.1122 | -0.39021 | -0.039456 | 3.3232 | 6 | 1.42 | 1 | 2.84 | 10.9856 | 3.3232 | 11.0272 | 399.6599 | 402.4494 | 8.7608 | 8.297 | 65.6259 | 62.1517 | 500.6307 | 34.7816 | 183.0446 | 98.5979 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.83438 | -0.00039021 | 276.4732 | 284.1356 | 6.6085 | 1.1761 | 0.77861 | 7.8968 | -0.40017 | 7.1544 | 1.0165 | 0.96723 | 0.81807 | 0.19839 | 0.63563 | 40.0418 | 1.0091 | 103.3689 | 403.4811 | -0.0055606
5 | 08:17:46 | 2014-11-19 | bw | 0 | 350 | tlat | 0 | 1147.5 | 0 | 12.8671 | -0.43068 | 433.3488 | 0.74175 | -0.14886 | 3.2599 | 4 | 1.8591 | 1 | 3.7183 | 11.114 | 3.2599 | 11.1526 | 399.7774 | 389.2666 | 8.7838 | 9.3709 | 65.2427 | 69.6031 | 500.6598 | 720.731 | 560.0955 | 98.602 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2516 | 0.00074175 | 276.4099 | 284.264 | 136.9389 | 1.7085 | 0.77513 | 7.8612 | -1.5097 | 7.1869 | 1.0187 | -0.4871 | 0.92399 | 0.094733 | -0.29881 | 42.729 | 1.1132 | 121.9084 | 384.5949 | 0.040786
6 | 08:19:59 | 2014-11-19 | bw | 0 | 250 | tlat | 0 | 1278 | 0 | 6.9991 | -0.31787 | 425.7022 | 0.42437 | -0.11786 | 3.546 | 5 | 1.6396 | 1 | 3.2791 | 10.9733 | 3.546 | 10.9952 | 399.751 | 392.5943 | 8.7969 | 9.2168 | 65.9542 | 69.1026 | 500.6321 | 530.3585 | 573.1363 | 98.604 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0013 | 0.00042437 | 276.696 | 284.1233 | 100.7681 | 1.6341 | 0.79096 | 8.0215 | -1.1952 | 7.2597 | 1.0238 | -0.35199 | 0.90881 | 0.11499 | -0.21665 | 41.9759 | 1.0843 | 116.6433 | 389.7128 | 0.020949
7 | 08:22:55 | 2014-11-19 | bw | 0 | 200 | tlat | 0 | 1457 | 0 | 2.4287 | -0.2009 | 415.7678 | 0.17447 | -0.079322 | 3.8421 | 5.5 | 1.5298 | 1 | 3.0596 | 11.1134 | 3.8421 | 11.1367 | 399.724 | 396.9795 | 8.8052 | 8.9952 | 65.4046 | 66.8156 | 500.5946 | 105.384 | 369.1624 | 98.603 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.91017 | 0.00017447 | 276.9921 | 284.2634 | 20.023 | 0.92936 | 0.80763 | 8.1907 | -0.80446 | 7.4778 | 1.0392 | -0.21502 | 0.88695 | 0.15224 | -0.13304 | 40.996 | 1.0473 | 110.603 | 395.9079 | 0.006785
8 | 08:33:45 | 2014-11-19 | bw | 0 | 300 | scal | 0 | 2104 | 0 | 5.4867 | -0.6037 | 409.9762 | 0.14944 | -0.021019 | 4.4879 | 2 | 2.2983 | 1 | 4.5965 | 12.4517 | 4.4879 | 12.3523 | 399.1442 | 396.9283 | 8.7241 | 8.7832 | 59.3253 | 59.7277 | 500.5765 | 1096.7271 | 1228.6923 | 98.6081 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5029 | 0.00014944 | 277.6379 | 285.6017 | 208.3781 | 2.1865 | 0.84508 | 8.5701 | -0.21316 | 8.4698 | 1.1118 | -0.69498 | 0.8661 | 0.24567 | -0.42512 | 40.427 | 1.0329 | 102.8883 | 395.3169 | 0.01428
9 | 08:35:22 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 2205.5 | 0 | 3.3733 | 49.174 | 396.0491 | 0.23196 | 0.0059141 | 5.0828 | 3 | 2.0787 | 1 | 4.1574 | 12.6926 | 5.0828 | 12.6221 | 399.3807 | 397.3038 | 8.7355 | 8.8733 | 58.4737 | 59.396 | 500.5839 | 548.6094 | 616.3718 | 98.6114 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6686 | 0.00023196 | 278.2328 | 285.8426 | 104.2358 | 1.4431 | 0.88092 | 8.9333 | 0.059974 | 8.8877 | 1.1437 | 3.8333 | 0.87501 | 0.26865 | 2.7619 | 39.055 | 0.99684 | 99.9472 | 396.2084 | 0.0085094
10 | 08:37:47 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 2352 | 0 | 3.0096 | 0.9442 | 390.3386 | 0.178 | 0.023101 | 5.3829 | 4 | 1.8591 | 1 | 3.7183 | 12.8935 | 5.3829 | 12.8582 | 399.1534 | 396.692 | 8.7464 | 8.8874 | 57.7821 | 58.7133 | 500.582 | 155.5065 | 579.4072 | 98.6128 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2515 | 0.000178 | 278.5329 | 286.0435 | 29.5462 | 0.90123 | 0.89951 | 9.1216 | 0.23426 | 9.1382 | 1.1632 | 0.75299 | 0.87641 | 0.28675 | 0.48473 | 38.4924 | 0.98398 | 97.9333 | 395.5993 | 0.0074506
11 | 08:41:07 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 2549.5 | 0 | 11.5452 | -2.136 | 401.15 | 0.47483 | -0.012091 | 4.8381 | 1.5 | 2.408 | 1 | 4.8161 | 13.3643 | 4.8381 | 13.238 | 399.2141 | 395.6983 | 8.7631 | 8.9041 | 56.1427 | 57.0461 | 500.5935 | 1237.5206 | 1285.3643 | 98.6186 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3373 | 0.00047483 | 277.9881 | 286.5143 | 235.1289 | 2.2312 | 0.86602 | 8.7815 | -0.12261 | 9.1012 | 1.1603 | -3.8385 | 0.87811 | 0.28215 | -2.1524 | 39.5609 | 1.0138 | 102.5314 | 392.4621 | 0.030162
12 | 08:42:53 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 2659 | 0 | 5.8977 | 0.53819 | 377.2147 | 0.21466 | 0.043538 | 5.6475 | 2 | 2.2983 | 1 | 4.5965 | 13.5103 | 5.6475 | 13.3988 | 399.1681 | 396.7776 | 8.7643 | 8.8493 | 55.6143 | 56.1538 | 500.5479 | 143.5106 | 378.7883 | 98.6119 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5027 | 0.00021466 | 278.7975 | 286.6603 | 27.267 | 0.7405 | 0.91618 | 9.2908 | 0.44151 | 9.5789 | 1.1982 | 0.48178 | 0.87264 | 0.32553 | 0.30572 | 37.1979 | 0.9507 | 95.707 | 395.0454 | 0.014288
13 | 08:45:00 | 2014-11-19 | bw | 0 | 150 | scal | 0 | 2787.5 | 0 | 0.31249 | 0.040842 | 384.3362 | 0.026679 | 0.063534 | 6.097 | 33 | -4.5083 | 1 | -9.0165 | 13.7311 | 6.097 | 13.6873 | 399.0672 | 396.9373 | 8.7653 | 8.9397 | 54.8307 | 55.9211 | 500.5615 | 90.6952 | 121.6407 | 98.6173 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.15169 | 2.6679e-05 | 279.247 | 286.8811 | 17.2321 | -0.40785 | 0.94514 | 9.5839 | 0.64425 | 9.9141 | 1.2254 | 0.041028 | 0.8816 | 0.34382 | 0.025626 | 37.9022 | 0.96825 | 93.1841 | 396.984 | 0.00073351
14 | 08:49:07 | 2014-11-19 | bw | 0 | 100 | sac/stab | 0 | 3020.5 | 0 | 10.8007 | -3.5706 | 397.4752 | 2.4132 | -0.017074 | 5.8898 | 1.5 | 2.408 | 1 | 4.8161 | 14.305 | 5.8898 | 14.2665 | 399.0736 | 395.5511 | 8.904 | 9.6201 | 53.6661 | 57.9826 | 500.573 | 671.4091 | 745.6406 | 98.6232 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3372 | 0.0024132 | 279.0398 | 287.455 | 127.5677 | 0.77793 | 0.93169 | 9.447 | -0.17312 | 10.0974 | 1.2406 | -13.8065 | 0.94877 | 0.29179 | -6.1108 | 39.2003 | 1.0049 | 107.1541 | 392.5236 | 0.029484
15 | 08:50:54 | 2014-11-19 | bw | 0 | 50 | sac/stab | 0 | 3137 | 0 | 6.1353 | -14.3094 | 394.3594 | 1.0281 | 0.015925 | 6.1709 | 2.5 | 2.1885 | 1 | 4.377 | 14.4731 | 6.1709 | 14.4449 | 398.9427 | 395.6754 | 8.9625 | 9.471 | 53.4333 | 56.4653 | 500.5843 | 334.3545 | 464.183 | 98.6215 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0023 | 0.0010281 | 279.3209 | 287.6231 | 63.5274 | 0.81803 | 0.94997 | 9.6325 | 0.16148 | 10.322 | 1.2593 | 6.3058 | 0.93405 | 0.32528 | 4.9705 | 38.8923 | 0.99667 | 100.7459 | 393.7831 | 0.015697
16 | 08:52:11 | 2014-11-19 | b1.5w | 0 | 50 | sac/sta1b | 0 | 3224.5 | 0 | 14.5052 | -1.9727 | 399.1633 | 0.97676 | -0.026572 | 5.5293 | 2.5 | 2.1885 | 1 | 4.377 | 14.7424 | 5.5293 | 14.6476 | 399.1824 | 391.7466 | 8.9999 | 9.4831 | 52.7335 | 55.5649 | 500.5406 | 1374.7913 | 1533.0428 | 98.625 | 12.8011 | -0.66844 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0022 | 0.00097676 | 278.6793 | 287.8924 | 261.2103 | 2.5319 | 0.9087 | 9.2137 | -0.26943 | 10.1359 | 1.2438 | -3.5914 | 0.93527 | 0.30848 | -2.0078 | 39.3675 | 1.0189 | 105.3738 | 387.2727 | 0.039468
17 | 08:54:06 | 2014-11-19 | bw | 0 | 150 | sac/sta1b | 0 | 3323.5 | 0 | 25.1717 | -3.3893 | 396.2473 | 3.7 | -0.031577 | 6.4461 | 1.5 | 2.408 | 1 | 4.8161 | 15.1781 | 6.4461 | 15.0603 | 399.2285 | 391.2516 | 9.0395 | 10.137 | 51.4999 | 57.7526 | 500.5559 | 397.0117 | 638.7477 | 98.6239 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.337 | 0.0037 | 279.5961 | 288.3281 | 75.4322 | -0.0117 | 0.96818 | 9.8169 | -0.32018 | 10.8121 | 1.3011 | -11.4407 | 0.99975 | 0.30139 | -5.3303 | 39.0794 | 1.0128 | 111.1202 | 384.1957 | 0.072804
18 | 08:55:27 | 2014-11-19 | bw | 0 | 100 | sac/sta1b | 0 | 3412.5 | 0 | 8.2365 | -7.1947 | 393.7498 | 1.5776 | 0.013783 | 6.7189 | 2.5 | 2.1885 | 1 | 4.377 | 15.5265 | 6.7189 | 15.4409 | 398.977 | 394.5525 | 9.0833 | 9.8634 | 50.6034 | 54.9497 | 500.5648 | 338.969 | 935.0278 | 98.621 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0023 | 0.0015776 | 279.8689 | 288.6765 | 64.4041 | 0.67283 | 0.98653 | 10.0032 | 0.13976 | 11.1227 | 1.3283 | 11.1758 | 0.97274 | 0.35553 | 11.0353 | 38.832 | 0.99797 | 102.192 | 392.0121 | 0.021472
19 | 08:57:17 | 2014-11-19 | bw | 0 | 50 | sac/sta1b | 0 | 3521 | 0 | 11.1191 | 30.8097 | 387.654 | 1.3978 | 0.03725 | 7.2081 | 3 | 2.0787 | 1 | 4.1574 | 15.8185 | 7.2081 | 15.7438 | 399.0957 | 392.1034 | 9.1377 | 9.9671 | 49.9629 | 54.4977 | 500.5702 | 267.5414 | 794.3782 | 98.6197 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6686 | 0.0013978 | 280.3581 | 288.9685 | 50.8329 | 0.64293 | 1.0202 | 10.3448 | 0.37771 | 11.5133 | 1.3631 | 3.6631 | 0.98295 | 0.38016 | 2.6215 | 38.2303 | 0.98865 | 99.5614 | 388.4928 | 0.028496
20 | 09:11:38 | 2014-11-19 | bw | 0 | 150 | sac/sta1b | 0 | 4381.5 | 0 | 38.9825 | -3.103 | 403.7722 | 7.3296 | -0.088448 | 7.0199 | 1 | 2.5178 | 1 | 5.0357 | 16.1821 | 7.0199 | 16.0913 | 401.9294 | 393.5653 | 9.6619 | 11.1099 | 51.6127 | 59.3479 | 500.5573 | 1205.9858 | 1256.1409 | 98.6126 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 112115 | 5.0056 | 0.0073296 | 280.1699 | 289.3321 | 229.1373 | -0.021005 | 1.0071 | 10.213 | -0.89692 | 11.601 | 1.371 | -8.0848 | 1.0956 | 0.27546 | -4.1055 | 39.817 | 1.0259 | 123.1287 | 383.1145 | 0.12529
21 | 09:13:27 | 2014-11-19 | bw | 0 | 100 | sac/sta1b | 0 | 4494.5 | 0 | 14.8594 | -1.5957 | 402.056 | 4.0646 | -0.15788 | 6.9155 | 2.5 | 2.1885 | 1 | 4.377 | 16.4421 | 6.9155 | 16.3557 | 398.9082 | 390.6959 | 9.7353 | 11.741 | 51.1508 | 61.6888 | 500.6971 | 1107.7777 | 1258.1509 | 98.6131 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 112115 | 2.0028 | 0.0040646 | 280.0655 | 289.5921 | 210.4778 | 1.0341 | 0.99994 | 10.14 | -1.601 | 11.6788 | 1.3781 | -2.5111 | 1.1578 | 0.22028 | -1.4499 | 39.648 | 1.0291 | 125.1215 | 386.1128 | 0.048152
22 | 09:15:05 | 2014-11-19 | bw | 0 | 50 | sac/sta1b | 0 | 4590.5 | 0 | 5.8897 | -2.9955 | 395.5163 | 2.4832 | -0.02259 | 8.1636 | 3 | 2.0787 | 1 | 4.1574 | 16.6578 | 8.1636 | 16.6083 | 398.2271 | 394.1107 | 9.7997 | 11.2712 | 50.7881 | 58.4141 | 500.5641 | 152.1396 | 352.6854 | 98.6142 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 112115 | 1.6685 | 0.0024832 | 281.3136 | 289.8078 | 28.9065 | 0.039955 | 1.0889 | 11.0421 | -0.22908 | 12.4107 | 1.4462 | -10.7188 | 1.1115 | 0.33468 | -4.8877 | 39.0035 | 1.0036 | 107.5072 | 392.1982 | 0.016145
23 | 09:18:08 | 2014-11-19 | bw | 0 | 100 | sac/sta1b | 0 | 4767.5 | 0 | 44.0242 | -4.2832 | 394.7239 | 7.929 | -0.026971 | 8.3957 | 1 | 2.5178 | 1 | 5.0357 | 17.25 | 8.3957 | 17.1155 | 399.3521 | 389.9398 | 9.925 | 11.4908 | 49.5429 | 57.3588 | 500.5847 | 1039.4208 | 1063.4476 | 98.6156 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 112115 | 5.0058 | 0.007929 | 281.5457 | 290.4 | 197.4899 | -0.4526 | 1.1062 | 11.2173 | -0.27349 | 12.8228 | 1.4858 | -28.6624 | 1.1332 | 0.35263 | -9.8525 | 38.9259 | 1.0123 | 116.5033 | 378.1375 | 0.13564
24 | 09:19:55 | 2014-11-19 | bw | 0 | 50 | sac/sta1b | 0 | 4878.5 | 0 | 16.5756 | -8.244 | 393.0757 | 4.7426 | 0.039909 | 9.1713 | 1.5 | 2.408 | 1 | 4.8161 | 17.6411 | 9.1713 | 17.5405 | 400.2705 | 394.7427 | 10.0118 | 11.4167 | 48.7564 | 55.5979 | 500.5863 | 408.1971 | 203.0601 | 98.6143 | 12.8011 | -0.66844 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 112115 | 3.3372 | 0.0047426 | 282.3213 | 290.7911 | 77.5575 | -0.34232 | 1.1658 | 11.8214 | 0.4047 | 13.4062 | 1.5435 | 11.5825 | 1.1259 | 0.41767 | 11.064 | 38.7629 | 0.99578 | 104.8664 | 390.0964 | 0.044559
1 | 09:34:25 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 228.5 | 0 | 8.0836 | 2.469 | 388.9433 | 3.7999 | 0.22343 | 10.9813 | 1 | 2.5178 | 1 | 5.0357 | 18.9674 | 10.9813 | 18.9304 | 399.6732 | 397.7562 | 10.3266 | 11.0774 | 46.2759 | 49.6403 | 500.519 | 607.4608 | 647.3865 | 98.6182 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0052 | 0.0037999 | 284.1313 | 292.1174 | 115.4176 | 0.21659 | 1.3159 | 13.343 | 2.2656 | 14.9744 | 1.7086 | 1.6567 | 1.0924 | 0.61612 | 1.0869 | 38.3569 | 0.97784 | 88.4657 | 395.589 | 0.018077
2 | 09:35:43 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 314.5 | 0 | 2.4381 | 0.85223 | 391.261 | 1.8142 | 0.24767 | 11.487 | 2.5 | 2.1885 | 1 | 4.377 | 19.0631 | 11.487 | 19.0479 | 399.7486 | 398.17 | 10.3906 | 11.2865 | 46.2859 | 50.2769 | 500.5346 | 81.8172 | 543.4788 | 98.6191 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0021 | 0.0018142 | 284.637 | 292.2131 | 15.5453 | 0.1134 | 1.3607 | 13.7979 | 2.5114 | 15.2751 | 1.7419 | 0.71334 | 1.1131 | 0.62884 | 0.45653 | 38.5858 | 0.98265 | 84.5716 | 397.4181 | 0.0051884
3 | 09:37:05 | 2014-11-19 | bw | 0 | 150 | scal | 0 | 395 | 0 | 3.5043 | 0.84446 | 387.7512 | 1.6265 | 0.22566 | 11.3746 | 3 | 2.0787 | 1 | 4.1574 | 19.1236 | 11.3746 | 19.1329 | 399.4524 | 396.9649 | 10.4438 | 11.4076 | 46.3469 | 50.6239 | 500.5036 | 200.0698 | 261.7957 | 98.6179 | 16.1142 | -0.57439 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6683 | 0.0016265 | 284.5246 | 292.2736 | 38.0133 | 0.39734 | 1.3506 | 13.6958 | 2.2882 | 15.2491 | 1.739 | 0.70189 | 1.125 | 0.61402 | 0.44959 | 38.2392 | 0.97679 | 85.9367 | 395.827 | 0.007608
4 | 09:38:52 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 502 | 0 | 2.537 | 0.35215 | 384.4336 | 0.92898 | 0.27576 | 11.259 | 1.5 | 2.408 | 1 | 4.8161 | 19.3151 | 11.259 | 19.3072 | 399.3089 | 398.4377 | 10.52 | 10.7954 | 46.1296 | 47.3372 | 500.5446 | 471.9836 | 682.1593 | 98.6133 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.337 | 0.00092898 | 284.409 | 292.4651 | 89.6769 | 0.98761 | 1.3403 | 13.5918 | 2.7964 | 15.287 | 1.7433 | 0.32816 | 1.0646 | 0.67868 | 0.20713 | 37.9103 | 0.96485 | 80.591 | 397.7266 | 0.0051406
5 | 09:40:21 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 593 | 0 | 7.7907 | 2.8735 | 388.164 | 2.6555 | 0.14626 | 10.7224 | 2 | 2.2983 | 1 | 4.5965 | 19.5373 | 10.7224 | 19.5133 | 399.2467 | 395.7137 | 10.5844 | 11.6332 | 45.7731 | 50.3084 | 500.5159 | 1142.2347 | 1082.3293 | 98.6091 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5026 | 0.0026555 | 283.8724 | 292.6873 | 217.0246 | 1.4919 | 1.2934 | 13.1164 | 1.4832 | 15.1298 | 1.7257 | 1.7681 | 1.1471 | 0.57859 | 1.1698 | 38.2765 | 0.98092 | 92.9545 | 393.4256 | 0.018407
6 | 09:41:52 | 2014-11-19 | bw | 0 | 150 | scal | 0 | 675.5 | 0 | 7.1104 | 1.0859 | 381.1265 | 2.0711 | 0.23171 | 11.722 | 2.5 | 2.1885 | 1 | 4.377 | 19.6797 | 11.722 | 19.6633 | 399.225 | 395.2647 | 10.6435 | 11.6659 | 45.6219 | 50.0043 | 500.5234 | 185.1374 | 362.8706 | 98.6062 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0021 | 0.0020711 | 284.872 | 292.8297 | 35.1761 | 0.21641 | 1.382 | 14.0157 | 2.3498 | 15.7008 | 1.7901 | 0.87007 | 1.1503 | 0.63979 | 0.55979 | 37.5814 | 0.96423 | 86.3925 | 393.0716 | 0.015628
7 | 09:43:20 | 2014-11-19 | bw | 0 | 100 | scal | 0 | 768 | 0 | 5.3072 | 0.76377 | 381.1707 | 1.5755 | 0.23768 | 11.7656 | 3 | 2.0787 | 1 | 4.1574 | 19.7702 | 11.7656 | 19.7827 | 399.0756 | 395.5209 | 10.7126 | 11.6459 | 45.66 | 49.6382 | 500.5002 | 184.4398 | 216.0095 | 98.6052 | 16.1142 | -0.57439 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6683 | 0.0015755 | 284.9156 | 292.9202 | 35.0436 | 0.4175 | 1.386 | 14.0563 | 2.4104 | 15.7679 | 1.7978 | 0.64523 | 1.1483 | 0.64948 | 0.41247 | 37.5854 | 0.96372 | 85.3248 | 393.7976 | 0.011499
8 | 09:47:16 | 2014-11-19 | bw | 0 | 150 | tlat | 0 | 999 | 0 | 0.17895 | 0.093123 | 393.9486 | 0.23902 | 0.25529 | 11.3358 | 2.5 | 2.1885 | 1 | 4.377 | 19.8603 | 11.3358 | 19.8694 | 398.8736 | 398.7366 | 10.9552 | 11.0733 | 46.4347 | 46.9352 | 500.4903 | 894.65 | 1229.8307 | 98.6063 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.002 | 0.00023902 | 284.4858 | 293.0103 | 169.9835 | 2.0251 | 1.3472 | 13.6622 | 2.5889 | 15.598 | 1.7784 | 0.091183 | 1.0919 | 0.68649 | 0.05716 | 38.8458 | 0.98799 | 81.2127 | 398.6814 | 0.00036452
9 | 09:49:34 | 2014-11-19 | bw | 0 | 100 | tlat | 0 | 1146.5 | 0 | 0.036397 | 0.017581 | 395.2843 | 0.049905 | 0.27762 | 11.6267 | 3.5 | 1.9689 | 1 | 3.9378 | 19.928 | 11.6267 | 19.9411 | 400.4627 | 400.4232 | 11.078 | 11.1125 | 46.7574 | 46.903 | 500.4736 | 1108.9709 | 128.6835 | 98.6039 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4299 | 4.9905e-05 | 284.7767 | 293.078 | 210.7045 | 2.6522 | 1.3734 | 13.9281 | 2.8155 | 15.7774 | 1.7989 | 0.017503 | 1.0957 | 0.70318 | 0.010946 | 38.9766 | 0.98717 | 79.6198 | 400.4108 | 7.2374e-05
10 | 09:51:37 | 2014-11-19 | bw | 0 | 200 | tlat | 0 | 1268.5 | 0 | 8.0784 | 1.8397 | 386.4055 | 2.1077 | 0.15616 | 11.2461 | 2 | 2.2983 | 1 | 4.5965 | 20.0733 | 11.2461 | 20.0346 | 400.3654 | 396.803 | 11.1659 | 11.9981 | 46.7056 | 50.1863 | 500.4964 | 1570.6187 | 1731.9259 | 98.6025 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5025 | 0.0021077 | 284.3961 | 293.2233 | 298.4175 | 2.3205 | 1.3392 | 13.5818 | 1.5837 | 15.6597 | 1.7854 | 1.3138 | 1.183 | 0.60238 | 0.85634 | 38.1005 | 0.9738 | 91.5646 | 394.4304 | 0.018754
11 | 09:53:36 | 2014-11-19 | bw | 0 | 150 | tlat | 0 | 1385.5 | 0 | 10.5276 | 1.184 | 374.9003 | 1.8478 | 0.19506 | 12.059 | 3 | 2.0787 | 1 | 4.1574 | 20.4511 | 12.059 | 20.4037 | 400.5362 | 393.7892 | 11.2593 | 12.3533 | 46.0086 | 50.4789 | 500.4599 | 1199.9595 | 1566.3644 | 98.6004 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6682 | 0.0018478 | 285.209 | 293.6011 | 227.9923 | 2.0042 | 1.4131 | 14.3316 | 1.9783 | 16.255 | 1.8546 | 0.92157 | 1.218 | 0.63659 | 0.59494 | 36.9653 | 0.95203 | 89.1107 | 390.3707 | 0.024031
12 | 09:55:07 | 2014-11-19 | bw | 0 | 100 | tlat | 0 | 1479 | 0 | 2.8081 | 0.28562 | 379.9415 | 0.85212 | 0.31015 | 12.7542 | 3 | 2.0787 | 1 | 4.1574 | 20.707 | 12.7542 | 20.7172 | 400.4517 | 398.5648 | 11.3511 | 11.8558 | 45.6574 | 47.6877 | 500.445 | 108.5324 | 831.2841 | 98.6001 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6682 | 0.00085212 | 285.9042 | 293.857 | 20.6212 | 0.5691 | 1.4791 | 15.0013 | 3.1455 | 16.7306 | 1.9116 | 0.26726 | 1.169 | 0.74262 | 0.1686 | 37.4623 | 0.95327 | 80.1127 | 397.6529 | 0.0056573
13 | 10:09:12 | 2014-11-19 | bw | 0 | 300 | tlat | 0 | 2324 | 0 | 16.351 | -8.7031 | 382.273 | 3.4442 | 0.051486 | 13.8818 | 4 | 1.8591 | 1 | 3.7183 | 21.2836 | 13.8818 | 21.2014 | 399.6651 | 385.5356 | 12.9128 | 15.6225 | 50.1357 | 60.6566 | 500.479 | 218.881 | 1413.8271 | 98.61 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.2512 | 0.0034442 | 287.0318 | 294.4336 | 41.5874 | -0.30173 | 1.592 | 16.1446 | 0.52212 | 17.5827 | 2.0175 | 6.4918 | 1.5405 | 0.47701 | 5.4169 | 37.6959 | 0.99154 | 102.4513 | 379.599 | 0.04413
14 | 10:11:43 | 2014-11-19 | bw | 0 | 250 | tlat | 0 | 2451 | 0 | 18.12 | -1.66 | 393.1705 | 3.8673 | -0.11882 | 13.0231 | 4.5 | 1.7493 | 1 | 3.4987 | 21.7676 | 13.0231 | 21.6731 | 399.5641 | 381.9427 | 13.0514 | 16.4715 | 49.1936 | 62.0848 | 500.4545 | 1476.0873 | 1609.1222 | 98.6078 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1121 | 0.0038673 | 286.1731 | 294.9176 | 280.4566 | 2.0232 | 1.5054 | 15.2665 | -1.2049 | 17.3954 | 1.9938 | -3.1586 | 1.6242 | 0.3696 | -1.7474 | 38.7697 | 1.0294 | 115.2603 | 374.951 | 0.055701
15 | 10:15:05 | 2014-11-19 | bw | 0 | 200 | tlat | 0 | 2660.5 | 0 | 6.4071 | 0.048804 | 178.7986 | 0.18493 | 0.37346 | 14.7662 | 5 | 1.6396 | 1 | 3.2791 | 22.749 | 14.7662 | 22.6487 | 399.7538 | 393.2803 | 13.1261 | 13.3084 | 46.6073 | 47.2546 | 500.4881 | 809.9744 | 882.0423 | 98.6095 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.001 | 0.00018493 | 287.9162 | 295.899 | 153.8951 | 2.4463 | 1.6858 | 17.0957 | 3.7872 | 18.7576 | 2.172 | 0.048089 | 1.3123 | 0.85971 | 0.030119 | 17.6312 | 0.45463 | 77.8347 | 390.6425 | 0.012766
16 | 10:17:56 | 2014-11-19 | bw | 0 | 350 | tlat | 0 | 2839 | 0 | 20.9172 | -20.4858 | 379.867 | 5.6568 | 0.10513 | 15.1789 | 3 | 2.0787 | 1 | 4.1574 | 23.4869 | 15.1789 | 23.3983 | 399.5162 | 385.6706 | 13.1544 | 16.4892 | 44.671 | 55.9957 | 500.4944 | 1345.9048 | 1316.3137 | 98.6134 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.6683 | 0.0056568 | 288.3289 | 296.6369 | 255.7219 | 0.81803 | 1.7312 | 17.5553 | 1.0661 | 19.3329 | 2.2514 | 5.2159 | 1.6261 | 0.62535 | 3.9772 | 37.46 | 0.98495 | 101.5729 | 378.8783 | 0.056077
17 | 10:20:04 | 2014-11-19 | bw | 0 | 300 | tlat | 0 | 2968 | 0 | 16.4584 | -5.1979 | 379.1808 | 4.3068 | 0.046969 | 15.4448 | 5 | 1.6396 | 1 | 3.2791 | 23.7959 | 15.4448 | 23.6917 | 399.2539 | 381.1709 | 13.1536 | 17.3816 | 43.8438 | 57.9367 | 500.4715 | 1283.0281 | 1342.177 | 98.6117 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0009 | 0.0043068 | 288.5948 | 296.9459 | 243.7753 | 1.5235 | 1.761 | 17.8579 | 0.4763 | 19.6204 | 2.292 | 8.883 | 1.714 | 0.57798 | 9.0927 | 37.3916 | 0.99478 | 104.6398 | 374.3951 | 0.045999
18 | 10:21:59 | 2014-11-19 | bw | 0 | 250 | tlat | 0 | 3080 | 0 | 14.5445 | 2.6367 | 367.9177 | 2.9121 | 0.19314 | 15.5404 | 5 | 1.6396 | 1 | 3.2791 | 24.0638 | 15.5404 | 23.9806 | 399.5912 | 383.9418 | 13.1465 | 16.0096 | 43.1189 | 52.5095 | 500.4194 | 1333.9572 | 1476.3969 | 98.6085 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0008 | 0.0029121 | 288.6904 | 297.2138 | 253.4519 | 2.297 | 1.7718 | 17.9683 | 1.9587 | 19.8021 | 2.318 | 1.4615 | 1.5787 | 0.73933 | 0.97598 | 36.2798 | 0.95826 | 93.8533 | 377.9539 | 0.036117
19 | 10:25:45 | 2014-11-19 | bw | 0 | 200 | tlat | 0 | 3310.5 | 0 | 5.7128 | 0.1965 | 341.3724 | 1.008 | 0.52715 | 16.7687 | 5 | 1.6396 | 1 | 3.2791 | 25.0075 | 16.7687 | 24.9308 | 399.551 | 393.4466 | 13.0944 | 14.0874 | 40.5892 | 43.6671 | 500.4 | 839.9985 | 883.1807 | 98.6052 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0008 | 0.001008 | 289.9187 | 298.1575 | 159.5997 | 2.1675 | 1.9162 | 19.4334 | 5.346 | 20.8881 | 2.4788 | 0.18539 | 1.3891 | 1.0897 | 0.11682 | 33.6611 | 0.86765 | 73.6034 | 391.0947 | 0.010751
20 | 10:31:06 | 2014-11-19 | bw | 0 | 350 | scal | 0 | 3621.5 | 0 | 16.0357 | 1.414 | 369.2226 | 6.3021 | 0.55314 | 17.2791 | 1 | 2.5178 | 1 | 5.0357 | 25.2675 | 17.2791 | 25.2371 | 398.813 | 395.1107 | 13.2217 | 14.4629 | 40.353 | 44.1412 | 500.3908 | 580.5785 | 379.5051 | 98.6028 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.0039 | 0.0063021 | 290.4291 | 298.4175 | 110.3099 | -0.56968 | 1.9792 | 20.0727 | 5.6098 | 21.2733 | 2.5382 | 1.104 | 1.4261 | 1.1121 | 0.71245 | 36.4064 | 0.93448 | 77.7963 | 390.8117 | 0.031921
21 | 10:33:15 | 2014-11-19 | bw | 0 | 300 | scal | 0 | 3764 | 0 | 12.1846 | 1.8778 | 375.9652 | 6.1524 | 0.44685 | 17.3931 | 2 | 2.2983 | 1 | 4.5965 | 25.3087 | 17.3931 | 25.2843 | 398.5336 | 392.6982 | 13.2662 | 15.6865 | 40.3883 | 47.757 | 500.4138 | 573.1889 | 280.56 | 98.5997 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5021 | 0.0061524 | 290.5431 | 298.4587 | 108.9059 | -0.5849 | 1.9935 | 20.2185 | 4.532 | 21.3509 | 2.5503 | 1.3332 | 1.5467 | 1.0036 | 0.86949 | 37.0701 | 0.95739 | 83.7954 | 389.1195 | 0.026239
22 | 10:35:40 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 3906.5 | 0 | 11.9999 | 1.8134 | 374.9003 | 5.0193 | 0.38481 | 17.3524 | 3 | 2.0787 | 1 | 4.1574 | 25.1483 | 17.3524 | 25.1243 | 400.1475 | 391.7744 | 13.3038 | 16.264 | 40.8905 | 49.9892 | 500.3971 | 954.2567 | 962.1186 | 98.5979 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.668 | 0.0050193 | 290.5024 | 298.2983 | 181.3088 | 0.38915 | 1.9884 | 20.1669 | 3.9029 | 21.2503 | 2.5346 | 1.2626 | 1.6036 | 0.93099 | 0.82518 | 36.9644 | 0.95693 | 86.2748 | 387.8777 | 0.026691
23 | 10:38:19 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 4067 | 0 | 10.4223 | 1.1194 | 371.2972 | 3.554 | 0.39489 | 17.034 | 3.5 | 1.9689 | 1 | 3.9378 | 25.072 | 17.034 | 25.0659 | 400.4969 | 392.2321 | 13.3134 | 15.76 | 41.1053 | 48.6595 | 500.4018 | 1000.3713 | 1002.3901 | 98.5956 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.4297 | 0.003554 | 290.184 | 298.222 | 190.0705 | 1.0879 | 1.9488 | 19.7652 | 4.0052 | 21.053 | 2.5041 | 0.8716 | 1.5539 | 0.95021 | 0.56265 | 36.6083 | 0.94663 | 83.9361 | 388.659 | 0.022508
24 | 10:40:57 | 2014-11-19 | bw | 0 | 300 | scal | 0 | 4224 | 0 | 22.4843 | 1.8288 | 366.2382 | 6.9901 | 0.5048 | 17.0906 | 1 | 2.5178 | 1 | 5.0357 | 25.4166 | 17.0906 | 25.3526 | 400.1233 | 395.0782 | 13.3411 | 14.7174 | 40.3515 | 44.5145 | 500.3991 | 1400.9639 | 1389.5242 | 98.5879 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 5.004 | 0.0069901 | 290.2406 | 298.5666 | 266.1831 | 0.3536 | 1.9558 | 19.8377 | 5.1203 | 21.2536 | 2.5351 | 1.3416 | 1.451 | 1.0841 | 0.87189 | 36.1066 | 0.927 | 80.7326 | 389.0504 | 0.046658
26 | 10:42:48 | 2014-11-19 | bw | 0 | 250 | scal | 0 | 4336.5 | 0 | 13.7637 | 1.2055 | 368.0245 | 5.777 | 0.58519 | 18.4416 | 2 | 2.2983 | 1 | 4.5965 | 25.8068 | 18.4416 | 25.7611 | 400.3826 | 393.9712 | 13.3922 | 15.6652 | 39.577 | 46.2942 | 500.3478 | 716.6586 | 771.4738 | 98.5824 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5017 | 0.005777 | 291.5916 | 298.9568 | 136.1651 | -0.2863 | 2.1295 | 21.6013 | 5.9361 | 22.1242 | 2.6737 | 0.95506 | 1.5443 | 1.1294 | 0.61529 | 36.2807 | 0.93414 | 77.8162 | 389.9288 | 0.027468
27 | 10:44:35 | 2014-11-19 | bw | 0 | 200 | scal | 0 | 4445.5 | 0 | 12.9753 | 1.1384 | 367.0776 | 5.2453 | 0.56156 | 18.5357 | 2.5 | 2.1885 | 1 | 4.377 | 26.0259 | 18.5357 | 26.0067 | 400.3123 | 392.8001 | 13.4542 | 16.0329 | 39.2472 | 46.7694 | 500.377 | 628.9023 | 622.9724 | 98.5812 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0015 | 0.0052453 | 291.6857 | 299.1759 | 119.4914 | -0.23209 | 2.1421 | 21.7293 | 5.6964 | 22.2808 | 2.6993 | 0.90343 | 1.5805 | 1.1188 | 0.58191 | 36.1869 | 0.93451 | 78.7953 | 388.7981 | 0.026296
28 | 10:54:24 | 2014-11-19 | bw | 0 | 150 | sac/stab | 0 | 4997.5 | 0 | 6.3858 | 0.96094 | 380.8459 | 4.2642 | 0.51916 | 18.0198 | 2 | 2.2983 | 1 | 4.5965 | 25.1055 | 18.0198 | 25.0975 | 399.8644 | 396.636 | 14.0937 | 15.7711 | 43.4206 | 48.5887 | 500.3817 | 239.9639 | 269.4693 | 98.579 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5019 | 0.0042642 | 291.1698 | 298.2555 | 45.5931 | -0.49925 | 2.0739 | 21.0376 | 5.2664 | 21.5626 | 2.5836 | 0.79478 | 1.5547 | 1.0288 | 0.5094 | 37.5434 | 0.96019 | 78.9069 | 394.7605 | 0.012764
29 | 10:56:38 | 2014-11-19 | bw | 0 | 100 | sac/stab | 0 | 5164 | 0 | 5.7557 | 0.95301 | 382.7474 | 4.021 | 0.49303 | 17.7171 | 2 | 2.2983 | 1 | 4.5965 | 24.7469 | 17.7171 | 24.7469 | 400.1653 | 397.2262 | 14.0579 | 15.64 | 44.2441 | 49.2235 | 500.3646 | 174.3096 | 247.5513 | 98.5733 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.5018 | 0.004021 | 290.8671 | 297.8969 | 33.1188 | -0.51981 | 2.0347 | 20.6416 | 5.0017 | 21.232 | 2.5317 | 0.78935 | 1.5417 | 0.99005 | 0.50583 | 37.7287 | 0.96355 | 79.5593 | 395.5358 | 0.011577
30 | 10:58:36 | 2014-11-19 | bw | 0 | 50 | sac/stab | 0 | 5282 | 0 | 3.6481 | 0.4064 | 378.42 | 2.127 | 0.55606 | 17.9399 | 3 | 2.0787 | 1 | 4.1574 | 24.7876 | 17.9399 | 24.806 | 400.1994 | 397.5053 | 14.0371 | 15.2928 | 44.0694 | 48.0118 | 500.3936 | 124.384 | 242.7348 | 98.569 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.668 | 0.002127 | 291.0899 | 297.9376 | 23.633 | 0.044453 | 2.0635 | 20.9342 | 5.6414 | 21.3638 | 2.5523 | 0.37021 | 1.5074 | 1.0449 | 0.23438 | 37.3005 | 0.95199 | 74.9987 | 396.3207 | 0.0069035
31 | 11:01:00 | 2014-11-19 | bw | 0 | 100 | sac/stab | 0 | 5424.5 | 0 | 7.6147 | 2.5481 | 387.0231 | 8.1178 | 0.47111 | 18.149 | 1.5 | 2.408 | 1 | 4.8161 | 24.8762 | 18.149 | 24.8706 | 400.1223 | 396.8737 | 14.039 | 16.4326 | 43.8406 | 51.3153 | 500.3572 | 235.3362 | 268.3753 | 98.564 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 3.3357 | 0.0081178 | 291.299 | 298.0262 | 44.7139 | -1.7787 | 2.0908 | 21.2123 | 4.7797 | 21.5126 | 2.5757 | 1.6664 | 1.6197 | 0.95599 | 1.096 | 38.1465 | 0.97518 | 84.9812 | 394.7392 | 0.016393
32 | 11:03:01 | 2014-11-19 | bw | 0 | 50 | sac/stab | 0 | 5551 | 0 | 1.8699 | 1.6722 | 392.5919 | 5.2207 | 0.42318 | 18.277 | 3 | 2.0787 | 1 | 4.1574 | 24.8137 | 18.277 | 24.8456 | 400.0164 | 397.6507 | 14.0141 | 17.0906 | 43.9252 | 53.5681 | 500.3866 | 32.7908 | 73.3947 | 98.5607 | 16.7386 | -0.57648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.668 | 0.0052207 | 291.427 | 297.9637 | 6.2302 | -1.2927 | 2.1076 | 21.3842 | 4.2936 | 21.5453 | 2.5808 | 1.1926 | 1.6845 | 0.89635 | 0.7774 | 38.6941 | 0.98728 | 85.4004 | 397.0435 | 0.004022