## tres rios m4n 7-14_.xls
OPEN 6.1.4
Thr Jul 14 2011 08:49:39
Unit= | PSC-3149
LightSource= | Sun+Sky | 1 | 0.19
Config= | /User/Configs/UserPrefs/Tres Rios official.xml
Remark=
Obs | HHMMSS | transect | quad | section | plant sp | aux2 | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:54:48 | m4n | 27 | t | tlat | 0 | 300 | 0 | 8.3366 | 0.25116 | 327.8363 | 2.6887 | 1.0863 | 24.591 | 4 | 1.8591 | 1 | 3.7183 | 24.9501 | 24.591 | 24.9721 | 399.9059 | 390.5224 | 18.026 | 20.6583 | 55.5058 | 63.6113 | 400.1314 | 318.8012 | 63.304 | 97.6178 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0003 | 0.0026887 | 297.741 | 298.1001 | 60.5722 | -0.50414 | 3.103 | 31.7869 | 11.1285 | 24.7705 | 3.1364 | 0.23527 | 2.0166 | 1.1198 | 0.14839 | 32.0027 | 0.83948 | 66.3223 | 387.4957 | 0.014269
2 | 08:55:54 | m4n | 27 | b | tlat | 0 | 390 | 0 | -0.35514 | 0.031937 | 411.3819 | 0.34029 | 1.0249 | 22.9633 | 4.5 | 1.7493 | 1 | 3.4987 | 24.8052 | 22.9633 | 24.8847 | 400.1789 | 400.4251 | 17.9468 | 18.3225 | 55.7419 | 56.9088 | 400.1319 | 11.1501 | 12.9799 | 97.6175 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88918 | 0.00034029 | 296.1133 | 297.9552 | 2.1185 | 0.078256 | 2.8135 | 28.8213 | 10.4988 | 23.8842 | 2.9742 | 0.031649 | 1.7886 | 1.1856 | 0.019806 | 40.1581 | 1.0274 | 63.0309 | 400.5621 | -0.00055883
4 | 09:00:45 | m4n | 27 | b | stab | 0 | 681.5 | 0 | -12.3923 | 0.061776 | 726.8194 | 0.83766 | 1.3129 | 24.7559 | 4.5 | 1.7493 | 1 | 3.4987 | 25.2274 | 24.7559 | 25.2144 | 400.0137 | 413.5619 | 17.7268 | 18.6514 | 53.6923 | 56.4926 | 400.0996 | 9.4123 | 12.1355 | 97.6219 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88911 | 0.00083766 | 297.9059 | 298.3774 | 1.7883 | -0.29383 | 3.1337 | 32.1004 | 13.449 | 24.9917 | 3.1781 | 0.060704 | 1.8208 | 1.3573 | 0.038035 | 70.9535 | 1.7575 | 57.7584 | 418.3436 | -0.017109
5 | 09:03:53 | m4n | 27 | t | stab | 0 | 860.5 | 0 | 19.538 | 0.99747 | 346.8172 | 10.253 | 1.1781 | 25.4429 | 1.5 | 2.408 | 1 | 4.8161 | 25.6081 | 25.4429 | 25.5671 | 399.6838 | 390.857 | 17.6119 | 21.3735 | 52.1512 | 63.2896 | 400.1214 | 1096.4384 | 377.187 | 97.6223 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.6675 | 0.010253 | 298.5929 | 298.7581 | 208.3233 | -1.7889 | 3.2646 | 33.4413 | 12.0678 | 25.5255 | 3.2807 | 0.82633 | 2.0865 | 1.1941 | 0.52951 | 33.8571 | 0.88733 | 69.2626 | 385.3802 | 0.035115
6 | 09:26:03 | m4n | 26 | t | stab | 0 | 2188 | 0 | 17.1192 | 0.60694 | 333.1878 | 8.5713 | 1.5082 | 26.824 | 1.5 | 2.408 | 1 | 4.8161 | 26.4799 | 26.824 | 26.3863 | 399.9438 | 392.2668 | 17.6891 | 20.835 | 49.7516 | 58.5996 | 400.1794 | 581.0753 | 1037.7313 | 97.6312 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.6679 | 0.0085713 | 299.974 | 299.6299 | 110.4043 | -2.0057 | 3.5423 | 36.2827 | 15.4477 | 26.6519 | 3.5066 | 0.53902 | 2.0341 | 1.4725 | 0.34239 | 32.5295 | 0.84939 | 61.0775 | 387.4681 | 0.026985
7 | 09:28:20 | m4n | 26 | b | stab | 0 | 2327 | 0 | -2.4121 | 0.056453 | 458.9173 | 0.93701 | 1.5999 | 26.1595 | 3.5 | 1.9689 | 1 | 3.9378 | 26.6588 | 26.1595 | 26.663 | 399.4947 | 401.2758 | 17.6971 | 18.5016 | 49.2527 | 51.4917 | 400.1119 | 6.4577 | 13.2272 | 97.6326 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1432 | 0.00093701 | 299.3095 | 299.8088 | 1.227 | -0.30429 | 3.4062 | 34.8883 | 16.3867 | 26.4091 | 3.4568 | 0.055655 | 1.8064 | 1.6505 | 0.034855 | 44.8053 | 1.1436 | 52.4248 | 402.1027 | -0.0031448
8 | 09:30:53 | m4n | 26 | t | tlat | 0 | 2481 | 0 | 15.2639 | 0.47621 | 321.8016 | 6.0898 | 1.3511 | 26.6926 | 3 | 2.0787 | 1 | 4.1574 | 26.7667 | 26.6926 | 26.7617 | 399.2753 | 386.0683 | 17.6991 | 22.1638 | 48.9474 | 61.2946 | 400.1297 | 978.4044 | 889.7531 | 97.6342 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.3338 | 0.0060898 | 299.8426 | 299.9167 | 185.8968 | -0.69056 | 3.5151 | 36.0023 | 13.8384 | 26.7297 | 3.5227 | 0.42727 | 2.1639 | 1.3588 | 0.27105 | 31.4188 | 0.83354 | 64.4797 | 381.1118 | 0.025825
9 | 09:32:34 | m4n | 26 | b | tlat | 0 | 2589.5 | 0 | -1.4329 | 0.06764 | 424.5139 | 1.0667 | 1.5262 | 25.9146 | 4 | 1.8591 | 1 | 3.7183 | 26.5241 | 25.9146 | 26.6079 | 399.6579 | 400.6631 | 17.7078 | 18.7542 | 49.6769 | 52.6124 | 400.1309 | 17.383 | 24.1594 | 97.6365 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0003 | 0.0010667 | 299.0646 | 299.6741 | 3.3028 | -0.34265 | 3.3572 | 34.3852 | 15.631 | 26.2194 | 3.4183 | 0.066431 | 1.8311 | 1.5872 | 0.041627 | 41.448 | 1.0595 | 54.135 | 401.1834 | -0.0019336
10 | 09:49:10 | m4n | 26 | t | tdom | 0 | 3578.5 | 0 | 3.204 | 0.27279 | 367.1697 | 3.8479 | 1.4262 | 26.5447 | 3 | 2.0787 | 1 | 4.1574 | 26.7011 | 26.5447 | 26.7161 | 399.6602 | 396.1152 | 18.2538 | 21.0779 | 50.6871 | 58.5292 | 400.1342 | 997.5168 | 979.5524 | 97.6546 | 23.2121 | -0.23672 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.3338 | 0.0038479 | 299.6947 | 299.8511 | 189.5282 | 0.1828 | 3.4846 | 35.6824 | 14.6045 | 26.6229 | 3.5006 | 0.25599 | 2.0584 | 1.4423 | 0.16143 | 35.8558 | 0.92693 | 60.4692 | 395.0748 | 0.004904
11 | 09:50:41 | m4n | 26 | b | tdom | 0 | 3673.5 | 0 | -1.3533 | 0.096128 | 413.0536 | 1.4931 | 1.5115 | 26.2321 | 3.5 | 1.9689 | 1 | 3.9378 | 26.7631 | 26.2321 | 26.8305 | 399.7154 | 400.3763 | 18.2708 | 19.5514 | 50.5515 | 54.0946 | 400.1154 | 56.06 | 54.5952 | 97.6582 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.1432 | 0.0014931 | 299.3821 | 299.9131 | 10.6514 | -0.43489 | 3.4209 | 35.0292 | 15.4778 | 26.4976 | 3.4749 | 0.093837 | 1.9094 | 1.5655 | 0.05885 | 40.3381 | 1.0317 | 55.6574 | 400.8403 | -0.0018791
12 | 09:55:31 | m4n | 18 | t | tlat | 0 | 3948.5 | 0 | 11.2834 | 0.44221 | 333.9091 | 5.2107 | 1.2492 | 26.8162 | 4 | 1.8591 | 1 | 3.7183 | 27.0773 | 26.8162 | 27.106 | 399.6664 | 386.3731 | 18.3754 | 23.4626 | 49.9142 | 63.7327 | 400.0999 | 603.4478 | 595.6934 | 97.6649 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0002 | 0.0052107 | 299.9662 | 300.2273 | 114.6551 | -1.0458 | 3.5407 | 36.2536 | 12.791 | 26.9467 | 3.568 | 0.39521 | 2.2915 | 1.2765 | 0.25084 | 32.6112 | 0.86421 | 67.4976 | 382.2764 | 0.019923
13 | 09:57:21 | m4n | 18 | b | tlat | 0 | 4077 | 0 | -2.5049 | 0.059777 | 459.5472 | 0.91038 | 1.4735 | 26.0351 | 5 | 1.6396 | 1 | 3.2791 | 27.0394 | 26.0351 | 27.1173 | 399.4423 | 402.1152 | 18.4177 | 19.5332 | 50.1414 | 53.1783 | 400.0882 | 6.7887 | 8.7269 | 97.6668 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.80018 | 0.00091038 | 299.1851 | 300.1894 | 1.2899 | -0.28398 | 3.3813 | 34.6205 | 15.0873 | 26.5372 | 3.483 | 0.058707 | 1.9077 | 1.5753 | 0.036786 | 44.8825 | 1.1428 | 56.0099 | 403.1465 | -0.0034801
14 | 10:00:08 | m4n | 18 | t | stab | 0 | 4231 | 0 | 23.1738 | 1.2223 | 340.8768 | 12.4493 | 1.2205 | 27.1755 | 2 | 2.2983 | 1 | 4.5965 | 27.5252 | 27.1755 | 27.4797 | 399.3644 | 385.3826 | 18.4596 | 24.5299 | 48.8446 | 64.9066 | 400.1136 | 1205.6647 | 1361.8599 | 97.6661 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0006 | 0.012449 | 300.3255 | 300.6752 | 229.0763 | -2.4333 | 3.6162 | 37.0264 | 12.4965 | 27.3503 | 3.6535 | 0.96556 | 2.3957 | 1.2577 | 0.62227 | 33.2921 | 0.88452 | 72.4928 | 378.5765 | 0.044375
15 | 10:03:25 | m4n | 18 | b | stab | 0 | 4424.5 | 0 | -2.2571 | 0.085786 | 430.1225 | 1.6297 | 1.8358 | 27.6647 | 2 | 2.2983 | 1 | 4.5965 | 27.8617 | 27.6647 | 27.8774 | 399.3697 | 400.172 | 18.5066 | 19.3055 | 48.0165 | 50.0893 | 400.1086 | 4.2892 | 4.828 | 97.6684 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0005 | 0.0016297 | 300.8147 | 301.0117 | 0.81494 | -0.52934 | 3.7213 | 38.1014 | 18.7959 | 27.7632 | 3.7428 | 0.084215 | 1.8855 | 1.8572 | 0.052773 | 42.0094 | 1.0748 | 50.1414 | 400.8349 | -0.0028235
17 | 10:19:58 | m4n | 18 | t | tdom | 0 | 5432 | 0 | 10.9028 | 0.35915 | 322.9957 | 5.3008 | 1.5371 | 28.8505 | 4.5 | 1.7493 | 1 | 3.4987 | 28.7453 | 28.8505 | 28.693 | 399.4858 | 384.9293 | 19.2721 | 25.084 | 47.4988 | 61.8233 | 400.1277 | 1175.6987 | 1560.3075 | 97.671 | 23.2121 | -0.23672 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88917 | 0.0053008 | 302.0005 | 301.8953 | 223.3828 | -0.11427 | 3.9871 | 40.822 | 15.738 | 28.7979 | 3.975 | 0.32572 | 2.45 | 1.525 | 0.20633 | 31.5473 | 0.8391 | 63.8451 | 380.7224 | 0.018283
18 | 10:22:10 | m4n | 18 | b | tdom | 0 | 5549 | 0 | -3.154 | 0.069122 | 462.5306 | 1.3466 | 1.8794 | 28.4632 | 4 | 1.8591 | 1 | 3.7183 | 29.0118 | 28.4632 | 29.0344 | 399.4392 | 402.051 | 19.3541 | 20.6725 | 46.9705 | 50.17 | 400.1182 | 18.966 | 21.8375 | 97.6707 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.0003 | 0.0013466 | 301.6132 | 302.1618 | 3.6035 | -0.4589 | 3.8985 | 39.9149 | 19.2424 | 28.7375 | 3.9611 | 0.067861 | 2.0191 | 1.942 | 0.042525 | 45.1757 | 1.1504 | 51.1927 | 403.1961 | -0.0040045
19 | 10:25:42 | m4n | 15 | t | tlat | 0 | 5769.5 | 0 | 17.909 | 0.49198 | 300.2808 | 6.4299 | 1.4171 | 29.3076 | 5 | 1.6396 | 1 | 3.2791 | 29.289 | 29.3076 | 29.2619 | 399.3444 | 373.9606 | 19.5923 | 27.407 | 46.7919 | 65.4554 | 400.1274 | 1356.0199 | 1069.1609 | 97.6691 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.80025 | 0.0064299 | 302.4576 | 302.439 | 257.6438 | -0.27171 | 4.0939 | 41.9162 | 14.5092 | 29.2983 | 4.0917 | 0.4278 | 2.6768 | 1.4149 | 0.27248 | 29.3282 | 0.80297 | 68.8203 | 366.5876 | 0.033621
20 | 10:27:17 | m4n | 15 | b | tlat | 0 | 5872 | 0 | -1.3473 | 0.062119 | 424.0413 | 1.0448 | 1.6231 | 27.3797 | 4.5 | 1.7493 | 1 | 3.4987 | 29.2848 | 27.3797 | 29.3444 | 399.0218 | 400.0669 | 19.7026 | 20.853 | 47.0665 | 49.8146 | 400.1588 | 5.8683 | 17.6769 | 97.6691 | 23.2121 | -0.23672 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88924 | 0.0010448 | 300.5297 | 302.4348 | 1.115 | -0.22105 | 3.6598 | 37.4709 | 16.618 | 28.3323 | 3.869 | 0.061035 | 2.0367 | 1.8323 | 0.038243 | 41.4157 | 1.0599 | 55.1158 | 400.5868 | -0.0018538
21 | 10:31:52 | m4n | 15 | b | stab | 0 | 6142.5 | 0 | -0.54249 | 0.01372 | 448.3246 | 0.28922 | 2.0029 | 28.7846 | 3 | 2.0787 | 1 | 4.1574 | 29.3087 | 28.7846 | 29.3504 | 398.8948 | 399.2149 | 19.9482 | 20.1607 | 47.5874 | 48.0943 | 400.1376 | 10.8495 | 30.4365 | 97.6684 | 21.6622 | -0.23081 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.3338 | 0.00028922 | 301.9346 | 302.4587 | 2.0614 | -0.03758 | 3.9719 | 40.6674 | 20.5067 | 29.0467 | 4.0326 | 0.013675 | 1.9691 | 2.0636 | 0.0085508 | 43.7872 | 1.123 | 48.1639 | 399.3911 | -0.0006542
22 | 10:36:41 | m4n | 15 | t | stab | 0 | 6426.5 | 0 | 32.617 | 1.2465 | 322.1737 | 19.336 | 1.8375 | 30.9158 | 1.5 | 2.408 | 1 | 4.8161 | 30.417 | 30.9158 | 30.2984 | 399.0348 | 384.0247 | 20.104 | 27.1553 | 44.9991 | 60.7823 | 400.1554 | 1657.7286 | 1816.364 | 97.6705 | 21.6622 | -0.23081 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.6677 | 0.019336 | 304.0658 | 303.567 | 314.9684 | -4.0017 | 4.4898 | 45.9684 | 18.8131 | 30.6664 | 4.4263 | 0.99022 | 2.6523 | 1.774 | 0.63773 | 31.4669 | 0.83894 | 66.2547 | 374.8818 | 0.057646
23 | 11:02:15 | m4n | 9 | b | stab | 0 | 7956 | 0 | 1.1917 | 0.038968 | 337.4249 | 0.83571 | 2.041 | 30.0931 | 1.5 | 2.408 | 1 | 4.8161 | 31.0378 | 30.0931 | 31.0316 | 399.9956 | 399.4237 | 22.6527 | 22.9588 | 48.935 | 49.5962 | 400.1106 | 30.858 | 35.8982 | 97.6662 | 21.6622 | -0.23081 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.6674 | 0.00083571 | 303.2431 | 304.1878 | 5.863 | -0.14424 | 4.2833 | 43.8564 | 20.8975 | 30.5655 | 4.4008 | 0.038655 | 2.2423 | 2.1585 | 0.024187 | 32.955 | 0.84478 | 51.0989 | 399.0896 | 0.0015258
24 | 11:06:04 | m4n | 9 | t | tlat | 0 | 8189 | 0 | 12.5303 | 0.41199 | 319.9521 | 6.6323 | 1.6894 | 31.4122 | 4.5 | 1.7493 | 1 | 3.4987 | 31.5208 | 31.4122 | 31.4752 | 400.4473 | 383.4938 | 22.7554 | 29.9911 | 47.8231 | 63.0297 | 400.1075 | 1644.65 | 1307.718 | 97.6639 | 21.6622 | -0.23081 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88913 | 0.0066323 | 304.5622 | 304.6708 | 312.4835 | 0.20883 | 4.6185 | 47.2897 | 17.2986 | 31.4665 | 4.6328 | 0.36859 | 2.929 | 1.7037 | 0.23391 | 31.2478 | 0.83431 | 65.9582 | 378.6589 | 0.021826
26 | 11:34:06 | m4n | 9 | t | stab | 0 | 9863.5 | 0 | 21.6644 | 0.81036 | 325.7722 | 13.7359 | 1.8677 | 32.5017 | 2 | 2.2983 | 1 | 4.5965 | 32.711 | 32.5017 | 32.6392 | 399.5943 | 386.1147 | 24.5288 | 31.1804 | 48.187 | 61.2541 | 400.1312 | 1722.234 | 1772.2386 | 97.6485 | 21.6622 | -0.23081 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0007 | 0.013736 | 305.6517 | 305.861 | 327.2245 | -2.1156 | 4.9124 | 50.3068 | 19.1263 | 32.6064 | 4.9414 | 0.68891 | 3.0447 | 1.8967 | 0.44005 | 31.8112 | 0.84372 | 66.306 | 379.7518 | 0.037827
27 | 11:37:50 | m4n | 9 | t | scal | 0 | 10088.5 | 0 | 15.5712 | 0.74346 | 333.8055 | 12.8084 | 1.8956 | 33.6992 | 3 | 2.0787 | 1 | 4.1574 | 34.1603 | 33.6992 | 34.046 | 399.2145 | 383.8531 | 25.1202 | 34.3934 | 45.4999 | 62.2964 | 400.1153 | 1863.1259 | 1089.8574 | 97.6462 | 21.6622 | -0.23081 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 1.3337 | 0.012808 | 306.8492 | 307.3103 | 353.9939 | -1.7193 | 5.254 | 53.8067 | 19.4134 | 33.9298 | 5.3221 | 0.63068 | 3.3584 | 1.9637 | 0.40296 | 32.5949 | 0.86962 | 67.9815 | 378.7968 | 0.027945
28 | 11:40:11 | m4n | 9 | b | scal | 0 | 10232 | 0 | 0.43168 | 0.033525 | 360.2891 | 0.91734 | 2.59 | 33.4517 | 4.5 | 1.7493 | 1 | 3.4987 | 34.5067 | 33.4517 | 34.474 | 398.6863 | 397.7905 | 25.5385 | 26.5428 | 45.3736 | 47.1579 | 400.1261 | 30.2311 | 43.2718 | 97.6439 | 21.6622 | -0.23081 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.88917 | 0.00091734 | 306.6017 | 307.6567 | 5.7439 | -0.21048 | 5.1818 | 53.068 | 26.5252 | 33.9792 | 5.3368 | 0.033207 | 2.5917 | 2.7451 | 0.020783 | 35.18 | 0.90573 | 48.4386 | 397.6239 | 0.00052587
29 | 11:42:54 | m4n | 9 | t | sac | 0 | 10390.5 | 0 | 23.3629 | 0.51108 | 291.2636 | 11.7762 | 2.3907 | 34.4146 | 2 | 2.2983 | 1 | 4.5965 | 35.0119 | 34.4146 | 34.9053 | 398.9659 | 385.0212 | 25.8133 | 31.5143 | 44.5939 | 54.4427 | 400.1091 | 1573.9639 | 1618.4039 | 97.6433 | 21.6622 | -0.23081 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 2.0005 | 0.011776 | 307.5646 | 308.1619 | 299.0531 | -1.6283 | 5.4678 | 55.998 | 24.4837 | 34.7133 | 5.5593 | 0.45994 | 3.0772 | 2.4821 | 0.29166 | 28.44 | 0.75649 | 58.852 | 378.1595 | 0.036359
30 | 11:44:50 | m4n | 9 | b | sac | 0 | 10512.5 | 0 | -1.9336 | 0.062971 | 431.2885 | 1.8749 | 2.8363 | 34.8336 | 5 | 1.6396 | 1 | 3.2791 | 35.3774 | 34.8336 | 35.3011 | 400.0381 | 401.5138 | 25.9923 | 28.2692 | 44.0043 | 47.859 | 400.0841 | 17.7751 | 50.4134 | 97.6421 | 21.6622 | -0.23081 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.19 | 111115 | 0.80017 | 0.0018749 | 307.9836 | 308.5274 | 3.3773 | -0.74788 | 5.5965 | 57.3166 | 29.0474 | 35.1055 | 5.6814 | 0.061784 | 2.7603 | 2.9212 | 0.03872 | 42.1119 | 1.0742 | 48.0531 | 402.3098 | -0.0023095